## About
BAU Heat Rate by Electricity Fuel
Source: | All Preexisting Electricity Sources
Energy Information Administration
2022
Forms 923 and 860 (with data for 2020)
https://www.eia.gov/electricity/data/eia923/
https://www.eia.gov/electricity/data/eia860/
Page 1 Generation and Fuel Data (923), Page 3_1_Generator Operable tab (860)
Some Newly Built Sources
Lazard
2021
Lazard's Levelized Cost of Energy Analysis - Version 15
https://www.lazard.com/media/451905/lazards-levelized-cost-of-energy-version-150-vf.pdf
p.18 "Levelized Cost of Energy - Key Assumptions
Notes
We use EIA data from the year 2020, because the 2021 Form 923 does not include data for MMBTU fuel
used in nuclear plants.
We filter the existing plant calculations with the following assumptions:
Include CHP Plants? | FALSE
Include Non-Utilty Plants? | FALSE
For all historical vintages with no existing plants, we use the average value for existing plants of that type.

## Cross-Page Data
Form 860 Prime Mover Codes |  | Form 860 Energy Source Codes |  |  | Cross-walk for 2-check fuels
Prime Mover Code | Prime Mover Description | Code | Energy Source Description | Corresponding Model Subscript | Fuel Type | Primer Mover | Model Energy Source
BA | Energy Storage, Battery | AB | Agriculture Crop Byproducts/Straw/Energy Crops | biomass | NG | CA | natural gas combined cycle
CE | Energy Storage, Compressed Air | ANT | Anthracite Coal | hard coal | NG | CC | natural gas combined cycle
CP | Energy Storage, Concentrated Solar Power | BFG | Blast-Furnace Gas | other | NG | CE | other
FW | Energy Storage, Flywheel | BIT | Bituminous Coal | hard coal | NG | CS | natural gas combined cycle
PS | Energy Storage, Reversible Hydraulic Turbine (Pumped Storage) | BLQ | Black Liquor | biomass | NG | CT | natural gas combined cycle
ES | Energy Storage, Other (specify in SCHEDULE 7) | CUR | Water, Current | hydro | NG | FC | other
ST | Steam Turbine, including nuclear, geothermal and solar steam (does not include combined cycle) | DFO | Disillate Fuel Oil (all Diesel, and No. 1, No. 2, and No. 4 Fuel Oils) | heavy or residual fuel oil | NG | GT | natural gas peaker
GT | Combustion (Gas) Turbine (does not include the combustion turbine part of a combined cycle; see code CT, below) | GEO | Geothermal | geothermal | NG | IC | natural gas peaker
IC | Internal Combustion Engine (diesel, piston, reciprocating) | JF | Jet Fuel | petroleum | NG | OT | other
CA | Combined Cycle Steam Part | KER | Kerosene | other | NG | ST | natural gas steam turbine
CT | Combined Cycle Combustion Turbine Part | LFG | Landfill Gas | biomass | SUN | CA | solar thermal
CS | Combined Cycle Single Shaft (combustion turbine and steam turbine share a single generator) | LIG | Lignite | lignite | SUN | CP | solar thermal
CC | Combined Cycle Total Unit (use only for plants/generators that are in planning stage, for which specific generator details cannot be provided) | MWH | Megawatt Hour (MWh) | other | SUN | PV | solar pv
HA | Hydrokinetic, Axial Flow Turbine | MSB | Biogenic Municipal Solid Waste | municipal solid waste | SUN | ST | solar thermal
HB | Hydrokinetic, Wave Buoy | MSN | Non-biogenic Municipal Solid Waste | municipal solid waste
HK | Hydrokinetic, Other (specify in SCHEDULE 7) | MSW | Municipal Solid Waste | municipal solid waste
HY | Hydroelectric Turbine (includes turbines associated with delivery of water by pipeline) | NA | Not Available at this Time | other
BT | Turbines Used in a Binary Cycle (including those used for geothermal applications) | NG | Natural Gas | natural gas
PV | Photovoltaic | NUC | Nuclear (Uranium, Plutonium, Thorium) | nuclear
WT | Wind Turbine, Onshore | OBG | Other Biomass Gases (Digester Gas, Methane, and other Biomass Gases) | biomass
WS | Wind Turbine, Offshore | OBL | Other Biomass Liquids (Fish Oil, Liquid Acetonitrite Waste, Medical Waste, Tall Oil, ethanol, Waste Alcohol, and other Biomass Liquids not specified) | biomass
FC | Fuel Cell | OBS | Other Biomass Solids (Animal Manure and Waste, Solid Byproducts, and Other Solid Biomass not specified) | biomass
OT | Other (specify in SCHEDULE 7) | OG | Other Gas (Coke-Oven, Coal Processes, Butane, Refinery, Other Process) | other
|  | OTH | Other (Batteries, Chemicals. Hydrogen, Pitch, Sulfur, Miscellaneous technologies) | other
|  | PC | Petroleum Coke | petroleum
|  | PG | Propane | other
|  | PUR | Purchased Steam | other
|  | RC | Refined Coal | hard coal
|  | RFO | Residual Fuel Oil (Include No. 5, and No. 6 Fuel Oil, and Bunker C Fuel Oil) | heavy or residual fuel oil
|  | SC | Coal-based Synfuel. Including briquettes, pellets, or extrusions, which are formed by binding materials or processes that recycle materials. | hard coal
|  | SGP | Synthesis Gas from Petroleum Coke | other
|  | SGC | Coal-Derived Synthetic Gas | natural gas
|  | SLW | Sludge waste | biomass
|  | SUB | Subbituminous Coal | hard coal
|  | SUN | Solar (Photovoltaic, Thermal) | solar
|  | TDF | Tires | other
|  | TID | Water, Tides | hydro
|  | WAT | Water, Conventional or Pumped Storage | hydro
|  | WC | Waste/Other Coal (Culm, Gob, Coke, and Breeze) | hard coal
|  | WDL | Woos Waste Liquids (Red Liquor, Sludge Wood, Spent Sulfite Liquor, and other Wood Related Liquids not specified) | biomass
|  | WDS | Wood/Wood Waste Solids (Paper Pellets, Railroad Ties, Utility Poles, Wood Chips, and Other Wood Solids) | biomass
|  | WH | Waste Heat | other
|  | WND | Wind | wind
|  | WO | Oil-Other, and Waste Oil (Butane (liquid), Crude Oil, Liquid Byproducts, Propane (liquid), Oil Waste, Re-Refined Motor Oil, Sludge Oil, Tar Oil) | crude oil
|  | WV | Water, Waves | hydro

## Calculations
Average Values for Existing Plants
hard coal | 10637734.1143
natural gas steam turbine | 11322734.4781
natural gas combined cycle | 7207111.5643
nuclear | 10446655.4348
hydro | 8934429.5503
onshore wind | 0
solar PV | 8767000.1828
solar thermal | 8767000.8995
biomass | 13773082.2811
geothermal | 8767000.4629
petroleum | 10839985.7967
natural gas peaker | 11510228.1878
lignite | 11911123.6517
offshore wind | 0
crude oil | 8419209.9969
heavy or residual fuel oil | 11786617.1988
municipal solid waste | 19185222.9177
Check
| Min | Max | Min % of Avg | Max % of Avg
hard coal | 8796913.9147 | 20019993.2423 | 0.82695 | 1.882
natural gas steam turbine | 8076912.0178 | 23921428.5714 | 0.71334 | 2.1127
natural gas combined cycle | 5513414.1324 | 15338164.2512 | 0.765 | 2.1282
nuclear | 10445978.025 | 10500937.4416 | 0.99994 | 1.0052
hydro | 0 | 0 | 0 | 0
onshore wind | 0 | 0 | 0 | 0
solar PV | 0 | 0 | 0 | 0
solar thermal | 0 | 0 | 0 | 0
biomass | 9545915.8532 | 36307218.3776 | 0.69308 | 2.6361
geothermal | 0 | 0 | 0 | 0
petroleum | 10412346.962 | 21093750 | 0.96055 | 1.9459
natural gas peaker | 4784688.9952 | 73611923.9505 | 0.41569 | 6.3953
lignite | 11339668.7893 | 14198975.2349 | 0.95202 | 1.1921
offshore wind | 0 | 0 | 0 | 0
crude oil | 7872225.7221 | 21255631.5538 | 0.93503 | 2.5247
heavy or residual fuel oil | 3733333.3333 | 49203983.2443 | 0.31674 | 4.1746
municipal solid waste | 17349353.134 | 26834754.173 | 0.90431 | 1.3987

## BHRbEF
Heat Rate (BTU/(MW*hour)) | Vintage1891 | Vintage1892 | Vintage1893 | Vintage1894 | Vintage1895 | Vintage1896 | Vintage1897 | Vintage1898 | Vintage1899 | Vintage1900 | Vintage1901 | Vintage1902 | Vintage1903 | Vintage1904 | Vintage1905 | Vintage1906 | Vintage1907 | Vintage1908 | Vintage1909 | Vintage1910 | Vintage1911 | Vintage1912 | Vintage1913 | Vintage1914 | Vintage1915 | Vintage1916 | Vintage1917 | Vintage1918 | Vintage1919 | Vintage1920 | Vintage1921 | Vintage1922 | Vintage1923 | Vintage1924 | Vintage1925 | Vintage1926 | Vintage1927 | Vintage1928 | Vintage1929 | Vintage1930 | Vintage1931 | Vintage1932 | Vintage1933 | Vintage1934 | Vintage1935 | Vintage1936 | Vintage1937 | Vintage1938 | Vintage1939 | Vintage1940 | Vintage1941 | Vintage1942 | Vintage1943 | Vintage1944 | Vintage1945 | Vintage1946 | Vintage1947 | Vintage1948 | Vintage1949 | Vintage1950 | Vintage1951 | Vintage1952 | Vintage1953 | Vintage1954 | Vintage1955 | Vintage1956 | Vintage1957 | Vintage1958 | Vintage1959 | Vintage1960 | Vintage1961 | Vintage1962 | Vintage1963 | Vintage1964 | Vintage1965 | Vintage1966 | Vintage1967 | Vintage1968 | Vintage1969 | Vintage1970 | Vintage1971 | Vintage1972 | Vintage1973 | Vintage1974 | Vintage1975 | Vintage1976 | Vintage1977 | Vintage1978 | Vintage1979 | Vintage1980 | Vintage1981 | Vintage1982 | Vintage1983 | Vintage1984 | Vintage1985 | Vintage1986 | Vintage1987 | Vintage1988 | Vintage1989 | Vintage1990 | Vintage1991 | Vintage1992 | Vintage1993 | Vintage1994 | Vintage1995 | Vintage1996 | Vintage1997 | Vintage1998 | Vintage1999 | Vintage2000 | Vintage2001 | Vintage2002 | Vintage2003 | Vintage2004 | Vintage2005 | Vintage2006 | Vintage2007 | Vintage2008 | Vintage2009 | Vintage2010 | Vintage2011 | Vintage2012 | Vintage2013 | Vintage2014 | Vintage2015 | Vintage2016 | Vintage2017 | Vintage2018 | Vintage2019 | Vintage2020 | Vintage2021 | Vintage2022 | Vintage2023 | Vintage2024 | Vintage2025 | Vintage2026 | Vintage2027 | Vintage2028 | Vintage2029 | Vintage2030 | Vintage2031 | Vintage2032 | Vintage2033 | Vintage2034 | Vintage2035 | Vintage2036 | Vintage2037 | Vintage2038 | Vintage2039 | Vintage2040 | Vintage2041 | Vintage2042 | Vintage2043 | Vintage2044 | Vintage2045 | Vintage2046 | Vintage2047 | Vintage2048 | Vintage2049 | Vintage2050 | Vintage2051 | Vintage2052 | Vintage2053 | Vintage2054 | Vintage2055 | Vintage2056 | Vintage2057 | Vintage2058 | Vintage2059 | Vintage2060 | Vintage2061 | Vintage2062 | Vintage2063 | Vintage2064 | Vintage2065 | Vintage2066 | Vintage2067 | Vintage2068 | Vintage2069 | Vintage2070 | Vintage2071 | Vintage2072 | Vintage2073 | Vintage2074 | Vintage2075 | Vintage2076 | Vintage2077 | Vintage2078 | Vintage2079 | Vintage2080 | Vintage2081 | Vintage2082 | Vintage2083 | Vintage2084 | Vintage2085 | Vintage2086 | Vintage2087 | Vintage2088 | Vintage2089 | Vintage2090 | Vintage2091 | Vintage2092 | Vintage2093 | Vintage2094 | Vintage2095 | Vintage2096 | Vintage2097 | Vintage2098 | Vintage2099 | Vintage2100
hard coal | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10090422.4232 | 10295986.3138 | 10253010.6162 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10976462.3017 | 9483467.2534 | 10889868.9573 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10417146.9814 | 10538158.3082 | 13117691.8723 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10690908.3015 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10441198.4107 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 10637734.1143 | 11649525.9676 | 10637734.1143 | 11346164.5858 | 20019993.2423 | 11047142.1364 | 13988159.557 | 9913267.815 | 10302196.1538 | 10904381.4083 | 10926882.833 | 11319552.7234 | 10570165.4643 | 10345788.4137 | 11421896.3746 | 12287923.1849 | 10997275.6912 | 10663451.5587 | 11320698.6171 | 11011813.119 | 10713978.2375 | 17652094.5106 | 10136686.3679 | 10712129.1632 | 10887683.8722 | 10478494.5083 | 11488085.6993 | 11027215.906 | 10087994.4917 | 10637734.1143 | 10585297.2352 | 11400378.8724 | 11891126.044 | 10802583.53 | 10693560.9705 | 11135636.3583 | 10489755.4805 | 10699655.8624 | 10637734.1143 | 10363147.4139 | 14319972.156 | 9547364.6371 | 13782809.8125 | 12582118.2426 | 10637734.1143 | 10662774.0174 | 12768856.0254 | 10637734.1143 | 10637734.1143 | 10017249.3899 | 10433378.8529 | 11007714.6743 | 10567958.3591 | 12342663.9668 | 10648341.9682 | 10637734.1143 | 13999592.6062 | 10637734.1143 | 10487747.7664 | 10637734.1143 | 10233171.2068 | 8796913.9147 | 9431442.1255 | 9802924.2514 | 10637734.1143 | 10125809.5402 | 10637734.1143 | 11868486.1954 | 10637734.1143 | 11275570.6122 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000 | 10375000
natural gas steam turbine | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11231394.4993 | 11322734.4781 | 10474794.5746 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 12795879.6042 | 9528674.56 | 8396205.9092 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11720219.1668 | 11831895.8774 | 11322734.4781 | 11322734.4781 | 14076850.5294 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11031718.3126 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11022651.2394 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 18226136.0283 | 11322734.4781 | 11322734.4781 | 10366279.9902 | 11902899.3559 | 13350299.7856 | 11793993.9339 | 12568544.0129 | 12504911.1465 | 9878880.354 | 12272440.6904 | 11975145.383 | 12057030.8436 | 11997249.6543 | 11084398.0094 | 10919398.6064 | 11322734.4781 | 10986979.286 | 11784734.9251 | 11097969.2394 | 12271579.3564 | 11149967.6149 | 11741594.4003 | 11198777.4951 | 11674439.9136 | 11766438.8268 | 12347940.7954 | 14929784.7826 | 23921428.5714 | 13173997.388 | 11485628.9372 | 11322734.4781 | 11969807.4199 | 11559545.8659 | 12901667.6109 | 23562126.7677 | 19461938.0292 | 11379791.4826 | 11481922.8293 | 10920131.8673 | 18051827.5914 | 13827224.1252 | 14731940.9247 | 9351867.0476 | 13891332.2911 | 17174673.0037 | 11322734.4781 | 20482919.561 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 10494768.952 | 11141495.9569 | 20493344.3946 | 12459990.8147 | 11691977.7148 | 8076912.0178 | 14950347.2542 | 13289608.8503 | 13056523.5384 | 11322734.4781 | 20286807.6816 | 8793621.4002 | 9465212.3715 | 12327032.3762 | 11322734.4781 | 10203363.3686 | 11322734.4781 | 11317941.4537 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781 | 11322734.4781
natural gas combined cycle | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 6820063.9048 | 7188929.6841 | 7041217.3075 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7362342.574 | 6799439.506 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7841698.4047 | 7222641.9282 | 7448227.1165 | 7207111.5643 | 7029246.7464 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7275826.5455 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 6961940.2491 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7002534.3134 | 7207111.5643 | 8985584.2527 | 7207111.5643 | 7207111.5643 | 7207111.5643 | 7075689.3547 | 7248537.5702 | 7220187.6468 | 7241399.8706 | 8043583.6301 | 7585594.4479 | 6944502.0663 | 5513414.1324 | 8891103.6058 | 7881545.6318 | 7043642.0565 | 7388463.4043 | 9286138.7042 | 8770238.9221 | 7207111.5643 | 7388500.9349 | 7397868.0057 | 6873465.1751 | 7608368.2569 | 9181268.7583 | 7247021.7193 | 7454970.33 | 7207111.5643 | 8467513.1576 | 7434799.6428 | 7777788.3702 | 6954319.9664 | 7022499.0621 | 7423452.0952 | 7878239.0464 | 7099761.5969 | 7265155.0023 | 8568812.6584 | 8561896.2998 | 8523838.9216 | 9602143.634 | 8948202.5009 | 7535274.8047 | 7287868.1888 | 15338164.2512 | 7223566.027 | 7102621.0977 | 7334519.9839 | 7122664.4385 | 7412005.069 | 7389734.0206 | 7296466.1474 | 7218266.767 | 7236867.5119 | 7362045.5065 | 8379109.1499 | 7271736.3534 | 7461223.8917 | 7452857.6852 | 7252430.1552 | 8123877.165 | 6937131.8442 | 7256746.0707 | 6889376.9318 | 6700300.9485 | 7131108.2357 | 6809627.4101 | 6998722.044 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000 | 6525000
nuclear | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10445978.2322 | 10445978.1107 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10445978.1682 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10445978.2412 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10445978.3112 | 10445978.2266 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10445978.2547 | 10445978.2361 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10500937.4416 | 10445978.212 | 10446655.4348 | 10445978.5062 | 10446655.4348 | 10445978.2615 | 10445978.2798 | 10445978.025 | 10447106.5393 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10445978.2081 | 10446655.4348 | 10445978.3032 | 10445978.2222 | 10453066.0016 | 10446655.4348 | 10446128.5818 | 10445978.1581 | 10446655.4348 | 10445978.164 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10447620.1609 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10445978.3139 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10445978.2091 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348 | 10446655.4348
hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
onshore wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biomass | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 16077648.3021 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 9545915.8532 | 13773082.2811 | 11092123.4267 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 14698921.7415 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 12465639.9261 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13095699.8186 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 36307218.3776 | 12036431.4462 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 14100814.5953 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 14985485.0303 | 13773082.2811 | 13773082.2811 | 10717707.7956 | 13773082.2811 | 12356879.4722 | 18650010.2922 | 13773082.2811 | 13773082.2811 | 13545029.64 | 12023494.4361 | 13321270.962 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 16977824.9277 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 15486128.8209 | 15704862.9958 | 15887685.2866 | 16186361.0233 | 15272205.4617 | 14299972.0011 | 15282477.2056 | 13678350.9743 | 14160923.6079 | 16374604.1163 | 17168541.5394 | 11944717.3621 | 13524951.3083 | 12697035.4673 | 11765020.9836 | 12311336.7472 | 11841001.0129 | 16801448.8303 | 17114255.6306 | 13773082.2811 | 13383733.2126 | 13781865.4775 | 10167753.4715 | 10988390.4817 | 11489470.8056 | 14857314.9076 | 12222213.4536 | 13131593.1687 | 11546796.2397 | 11343768.8825 | 13635057.8092 | 11333240.8793 | 13554668.1106 | 14650915.2939 | 11817744.3581 | 14130423.3625 | 13814259.2466 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811
geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 16149635.0365 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 11976152.5567 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 12095096.5354 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 15193548.3871 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10767907.2106 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 15663032.2979 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10496115.5936 | 10839985.7967 | 14045246.4267 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10412346.962 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 21093750 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10839985.7967 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000
natural gas peaker | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 12329892.7031 | 10739079.3463 | 12830127.0265 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11964226.8496 | 14234223.7163 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11939843.4432 | 10279307.0011 | 11090301.0454 | 11510228.1878 | 10833077.8839 | 11510228.1878 | 13235279.2826 | 11510228.1878 | 12386466.4391 | 11153345.8005 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 12877297.6185 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 11510228.1878 | 14111486.2 | 4784688.9952 | 10685830.339 | 73611923.9505 | 10630846.458 | 11510228.1878 | 11179434.105 | 57915727.4146 | 11174508.9967 | 19722555.8197 | 16900607.5888 | 20518921.8872 | 12254871.9004 | 10822969.5117 | 15286811.66 | 12493943.7665 | 12521008.9736 | 10814345.0079 | 10522944.4355 | 9962273.0488 | 12027180.2982 | 10003395.5499 | 11589745.8697 | 12119759.0712 | 11538050.7874 | 13295500.8975 | 11716055.9496 | 11651105.2484 | 12207996.9341 | 11064417.4308 | 11052065.2795 | 15627702.2961 | 9717508.1757 | 47493475.7629 | 8919836.8451 | 10321646.2246 | 10671505.2693 | 10960213.7252 | 11473555.113 | 11469390.8033 | 11909396.9217 | 12938372.4533 | 12596461.2897 | 13151018.5069 | 11804390.6401 | 11159112.5591 | 11391415.7919 | 13293922.6462 | 9871934.0518 | 11716024.4533 | 11871326.0343 | 13389545.8452 | 11765229.8873 | 11461681.0545 | 11123133.7191 | 10954008.6912 | 11380755.1366 | 10623868.1203 | 10896192.0345 | 10984468.2154 | 8131608.6043 | 10844276.2184 | 7718433.8254 | 10943272.6173 | 9334415.4462 | 10261659.326 | 12226402.5478 | 10949272.8508 | 10889401.8966 | 8985327.6028 | 9923255.3852 | 9217746.2613 | 10450913.492 | 11158425.7001 | 10292402.8022 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000 | 8900000
lignite | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11674382.256 | 11339668.7893 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11551804.2962 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11392221.8234 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 14198975.2349 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 12783135.2685 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 12842611.2517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11684358.3636 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 13282894.8612 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11911123.6517 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608 | 11616938.9608
offshore wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
crude oil | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 10520227.0345 | 8419209.9969 | 8419209.9969 | 10429332.5909 | 8419209.9969 | 8419209.9969 | 15791480.4142 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 7872225.7221 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 9594957.7681 | 8419209.9969 | 11406925.5221 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 21255631.5538 | 11939057.9846 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 9156063.7318 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969 | 8419209.9969
heavy or residual fuel oil | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 10317108.0925 | 11059799.6545 | 11026635.479 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11038830.7453 | 18028366.6282 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 8900000 | 11221722.5976 | 10485157.4986 | 13532662.1408 | 14077720.2073 | 19034035.2402 | 9944444.4444 | 13460459.899 | 11786617.1988 | 13120460.6139 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 3733333.3333 | 11786617.1988 | 9764258.5551 | 10759615.3846 | 10854959.4899 | 22500000 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 10405488.012 | 11818482.0203 | 9680300.0536 | 25555099.9137 | 11831718.3583 | 7037037.037 | 14019774.474 | 11786617.1988 | 12429424.2445 | 15914992.9119 | 13099150.7311 | 13141155.7047 | 11893264.2115 | 12137911.1433 | 12771946.0985 | 11851421.2953 | 17324616.8701 | 11642112.4253 | 10989420.8425 | 46051522.1219 | 49203983.2443 | 12167278.5382 | 12835792.7477 | 16435687.1554 | 14701869.4196 | 11568165.5257 | 12763255.3998 | 17720043.0284 | 12433650.5368 | 11694809.6827 | 18106409.2985 | 13783815.5924 | 40624293.5953 | 12826607.0154 | 12862264.8456 | 12365787.4425 | 15716226.3765 | 10507456.8458 | 13732436.7406 | 11854966.7225 | 16625246.4128 | 10501151.3987 | 27185865.7204 | 11058704.4654 | 15881780.4504 | 11269079.3418 | 9230263.7934 | 11406707.8164 | 14283050.466 | 18617606.0984 | 10036211.0766 | 11497130.5953 | 12301587.3016 | 11786617.1988 | 9404213.2147 | 10420465.5004 | 11453775.8053 | 11588549.1163 | 11579526.0265 | 11895789.8226 | 8435682.8349 | 10127181.2061 | 11218423.7313 | 10916628.7631 | 9370250.4554 | 9444359.7613 | 9019422.1325 | 13336944.1277 | 9469386.665 | 9543039.9494 | 10885196.3746 | 11700141.4427 | 7285699.1616 | 6713383.7922 | 15570263.3099 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988 | 11786617.1988
municipal solid waste | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 18140104.7418 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 20534035.7599 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 22882641.3171 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 26834754.173 | 19185222.9177 | 19696398.1931 | 19185222.9177 | 22014647.2364 | 20746472.5143 | 23278119.9375 | 19804430.1175 | 17349353.134 | 18568680.833 | 18920724.2007 | 19185222.9177 | 19185222.9177 | 21171150.7596 | 19158650.2168 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 19185222.9177 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811 | 13773082.2811