## About
DCpUC Decommissioning Cost per Unit Capacity
Sources: | coal, petroleum, NG, wind, solar
Resources for the Future
2017
Decommissioning US Power Plants: Decisions, Costs, and Key Issues
https://www.rff.org/documents/578/RFF20Rpt20Decommissioning20Power20Plants.pdf
Page 3, Table 1
nuclear
Callan Institute
2017
2017 Nuclear Decommissioning Funding Study
https://www.callan.com/wp-content/uploads/2017/09/Callan-2017-NDT-Survey.pdf
Pages 5-6
hydro
M. Cubed (for California Energy Commission)
2006
Economic Modeling of Relicensing and Decommissioning Options for the Klamath Basin Hydroelectric Project
https://www.energy.ca.gov/2006publications/CEC-700-2006-010/CEC-700-2006-010.PDF
Page 5, Table ES-2
Notes
Currency Conversion
0.95661 | 2012 USD per 2016 USD
1.1756 | 2012 USD per 2005 USD
For CCS plants, we adjust the costs based on the ratio of CCS equipped CAPEX vs. CAPEX for the non-CCS equipped equivalents
(see file elec/CCaMC).
We do the same for small modular reactors.

## Data
RFF Data (Mean) | thousand 2016 USD/MW | 2012 USD/MW
offshore wind | 212 | 202802.1183
coal | 117 | 111923.8106
concentrated solar power | 94 | 89921.694
solar photovoltaic | 57 | 54526.9846
onshore wind | 51 | 48787.302
petroleum | 31 | 29655.0267
natural gas | 15 | 14349.2065
Callan Data | 2016 USD/kW | 2012 USD/MW
investor-owned nuclear | 847 | 810251.8593
public utility-owned nuclear | 702 | 671542.8633
nuclear (average) | 774.5 | 740897.3613
M. Cubed Data
hydro plant capacity (MW) | 169
mean cost est (million 2005 USD) | 94
cost per unit cap (2005 USD/MW) | 556213.0178
cost per unit cap (2012 USD/MW) | 653882.087
CCS CAPEX
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
hard coal | 2103947.1326 | 2103947.1326 | 2058678.3176 | 2013514.779 | 1968456.5166 | 1923187.7017 | 1878024.163 | 1832755.3481 | 1787591.8094 | 1742428.2708 | 1697264.7321 | 1651995.9172 | 1606832.3785 | 1561668.8399 | 1516505.3012 | 1496186.9726 | 1476079.1967 | 1455866.1444 | 1435653.0922 | 1415440.0399 | 1395226.9877 | 1375013.9354 | 1354800.8831 | 1334587.8309 | 1314374.7786 | 1294161.7263 | 1273843.3978 | 1253735.6218 | 1233417.2932 | 1213309.5173
natural gas combined cycle | 1088381.5097 | 1088381.5097 | 1059692.5495 | 1030908.9062 | 1002219.9461 | 973530.9859 | 944842.0257 | 916058.3824 | 887369.4222 | 858680.462 | 829896.8188 | 801207.8586 | 772518.8984 | 743829.9382 | 715046.295 | 703779.0136 | 692606.4152 | 681339.1338 | 670071.8525 | 658804.5711 | 647631.9727 | 636364.6913 | 625097.4099 | 613924.8115 | 602657.5301 | 591390.2488 | 580217.6504 | 568950.369 | 557683.0876 | 546510.4892
biomass | 1289895.798 | 1424324.1264 | 1558752.4548 | 1693180.7832 | 1796492.5482 | 1852795.252 | 1874191.2899 | 1881812.3785 | 1887554.655 | 1892600.823 | 1905769.0332 | 1916724.9767 | 1923267.4697 | 1930862.8541 | 1937772.6115 | 1948062.5376 | 1958121.3905 | 1965944.3727 | 1977867.6286 | 1986058.7633 | 1991682.6658 | 2001284.5249 | 2007869.0973 | 2016326.5934 | 2026393.7739 | 2035925.2316 | 2044107.6791 | 2053831.5934 | 2065027.9764 | 2090069.7248
lignite | 2438353.2876 | 2438353.2876 | 2385889.3439 | 2333547.4095 | 2281327.4842 | 2228863.5405 | 2176521.6061 | 2124057.6624 | 2071715.728 | 2019373.7935 | 1967031.859 | 1914567.9154 | 1862225.9809 | 1809884.0464 | 1757542.112 | 1733994.3419 | 1710690.5902 | 1687264.8293 | 1663839.0684 | 1640413.3076 | 1616987.5467 | 1593561.7858 | 1570136.0249 | 1546710.264 | 1523284.5032 | 1499858.7423 | 1476310.9722 | 1453007.2205 | 1429459.4505 | 1406155.6987
small modular reactor | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623 | 588408.9623
Non-CCS CAPEX
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
hard coal | 3007428.4582 | 3007428.4582 | 2991110.6295 | 2974687.5246 | 2958264.4196 | 2941946.591 | 2925523.486 | 2909205.6573 | 2892782.5524 | 2876464.7237 | 2860041.6188 | 2843723.7901 | 2827300.6852 | 2810982.8565 | 2794559.7515 | 2767819.5678 | 2740974.1078 | 2714128.6477 | 2687388.464 | 2660543.004 | 2633802.8203 | 2606957.3602 | 2580217.1765 | 2553371.7165 | 2526631.5328 | 2499786.0727 | 2473045.889 | 2446200.429 | 2419460.2452 | 2392614.7852
natural gas combined cycle | 1087150.6302 | 1087150.6302 | 1076735.4961 | 1066415.0451 | 1055999.911 | 1045584.777 | 1035169.6429 | 1024849.1919 | 1014434.0578 | 1004018.9238 | 993698.4727 | 983283.3387 | 972868.2046 | 962453.0705 | 952132.6195 | 944273.9274 | 936415.2354 | 928651.2263 | 920792.5343 | 913028.5253 | 905169.8332 | 897311.1411 | 889547.1321 | 881688.44 | 873829.748 | 866065.7389 | 858207.0469 | 850348.3548 | 842584.3458 | 834725.6537
biomass | 4567459.2943 | 4415131.4446 | 4262803.595 | 4110475.7454 | 3989264.4591 | 3915062.2341 | 3875766.675 | 3850246.0652 | 3826604.2675 | 3803658.5783 | 3774170.2163 | 3746894.1211 | 3724031.4765 | 3700115.9404 | 3676886.0312 | 3650275.9534 | 3623896.9488 | 3599753.8149 | 3571510.4073 | 3546999.1209 | 3525055.0667 | 3499133.0559 | 3476228.3318 | 3451450.684 | 3425063.3518 | 3399211.7424 | 3374709.1432 | 3348665.0772 | 7950962.5122 | 7911207.6997
lignite | 3485435.9953 | 3485435.9953 | 3466524.5738 | 3447491.1431 | 3428457.7123 | 3409546.2908 | 3390512.8601 | 3371601.4385 | 3352568.0078 | 3333656.5863 | 3314623.1556 | 3295711.734 | 3276678.3033 | 3257766.8818 | 3238733.451 | 3207743.1215 | 3176630.7829 | 3145518.4442 | 3114528.1147 | 3083415.776 | 3052425.4465 | 3021313.1079 | 2990322.7784 | 2959210.4397 | 2928220.1102 | 2897107.7715 | 2866117.442 | 2835005.1033 | 2804014.7738 | 2772902.4352
small modular reactor | 7998667.6914 | 7732140.6127 | 7465613.5341 | 7199086.4554 | 6868265.0672 | 6741015.3155 | 6673383.0517 | 6629468.9954 | 6588789.5438 | 6549310.0088 | 6498563.3748 | 6451626.9149 | 6412930.1204 | 6371775.6103 | 6331801.8069 | 6286007.2992 | 6240610.871 | 6199064.5876 | 6150456.5821 | 6108276.4111 | 6070517.1302 | 6025908.0192 | 5986493.7983 | 5943855.2652 | 5898443.8204 | 5853955.9456 | 5811790.1239 | 5768517.8432 | 6253823.2431 | 6176247.46
Decomissioning Cost Multiplier
hard coal | 0.41162
natural gas combined cycle | 0.50028
biomass | 0.22022
lignite | 0.41162
small modular reactor | 0.068523

## DCpUC
Electricity Source | Decommissioning Cost ($/MW)
hard coal | 111923.8106
natural gas steam turbine | 14349.2065
natural gas combined cycle | 14349.2065
nuclear | 740897.3613
hydro | 653882.087
onshore wind | 48787.302
solar PV | 54526.9846
solar thermal | 89921.694
biomass | 111923.8106
geothermal | 48787.302
petroleum | 29655.0267
natural gas peaker | 14349.2065
lignite | 111923.8106
offshore wind | 202802.1183
crude oil | 29655.0267
heavy or residual fuel oil | 29655.0267
municipal solid waste | 111923.8106
hard coal w CCS | 157993.9488
natural gas combined cycle w CCS | 21527.869
biomass w CCS | 136571.4631
lignite w CCS | 111924.2222
small modular reactor | 791665.5872
hydrogen | 14349.2065