## About
EoCtUH Efficiency of Conversion to Usable Heat
Source: | Usable Heat Efficiency
International Energy Agency
2014
CHP/DHC Country Scorecard: United States
http://www.iea.org/publications/insights/insightpublications/US_CountryScorecard_FINAL.pdf
Page 37, Table 2, Sub-table 4
Heat Pump Efficiency (Coefficient of Peformance)
European Heat Pump Association
2018
Large Scale Heat Pumps in Europe: 16 Examples of Realized Projects
https://www.ehpa.org/fileadmin/red/03._Media/03.02_Studies_and_reports/Large_heat_pumps_in_Europe_MDN_II_final4_small.pdf
Note:
Efficiencies are provided for CHP systems (and include usable heat and electricity).
We use these as a stand-in for the efficiencies of district heating systems
(about half of which are CHP systems), because we do not
have data specifically on efficiencies of district heating systems.
We don't have the efficiency of the total installed base, so we use
average the efficiencies of the available years' newly installed systems.
While this might be above-average (since many district heating systems
are very old), these systems do not have a "lifetime" and thus must
receive periodic upgrades and replacement parts, so some of them may
have efficiencies comparable to newer systems.
Heat Pump Representation and Electricity
Heat pumps are represented by using an efficiency greater than 1
for the "electricity" fuel type in this variable.

## Data
CHP overall efficiency (ratio)
2000 | 2006 | 2008 | 2009 | 2010 | 2011 | 2012
0.65 | 0.7 | 0.73 | 0.71 | 0.68 | 0.71 | 0.73
Average of the years above
0.70143
Heat Pumps
Project number | COP | Use
1 | 4.4 | district heating system
2 | 3.1 | district heating system
3 | 3.05 | district heating system
4 | 6.7 | paper factory
5 | 5.3 | district heating system
6 | 3.4 | district heating system
7 | 4.8 | university
8 | 6.8 | hospital
9 | 4.8 | concrete plant
10 | 4.9 | office building (ice storage)
11 | 5 | office building
12 | 4.4 | district heating system
13 | 3.4 | food processing
14 | 2 | district heating system
15 | 2.6 | university
16 | 4.5 | chipboard factory
Avgerage of all district heating system heat pumps | 3.6643
Heat generated by a heat pump is still lost in the distribution network, so the overall
efficiency of the heat pump systems is the COP multiplied by the efficiency ratio above.
Heat pump district heat final delivered efficiency | 2.5702

## EoCtUH
Efficiency (dimensionless)
electricity | 2.5702
coal | 0.70143
natural gas | 0.70143
biomass | 0.70143
petroleum diesel | 0.70143
heat | 0.70143
crude oil | 0.70143
heavy or residual fuel oil | 0.70143
LPG propane or butane | 0.70143
hydrogen | 0.70143
green hydrogen | 0.70143
low carbon hydrogen | 0.70143