## About
BPHC BAU Pumped Hydro Capacity
BPHC Pumped Hydro Charging and Discharging Hours per Day
Source: | Pumped Hydro Capacity
Energy Information Administration
2021 and 2022
Annual Energy Outlook 2021 and 2022
https://www.eia.gov/outlooks/aeo/tables_side.php
Table 9, Row "Pumped Storage"
Hours per Day Charging and Discharging
Several sources provide similar values:
Braun and Hoffmann
2016
Intraday Optimization of Pumped Hydro Power Plants in the German Electricity Market
https://pdf.sciencedirectassets.com/277910/1-s2.0-S1876610216X00033/1-s2.0-S1876610215030453/main.pdf
7-9 hours: Page 2, last paragraph
National Hydropower Association
2021
2021 Pumped Storage Report
https://www.hydro.org/wp-content/uploads/2021/09/2021-Pumped-Storage-Report-NHA.pdf
8 hours: Page 30, column 2, first paragraph
6 hours: Page 9, figure 3
Notes:
"Pumped Hydro Charging and Discharging Hours per Day" refers to the number of hours per day,
typically, a pumped hydro plant my charge (by pumping water) or discharge (by releasing water)
at its full capacity (rated in MW). For example, if a pumped hydro plant can charge and discharge
for 8 hours per day, it does so at its full MW rating in all 16 of those hours. It does not divide up its
megawatts among those hours. Keep this in mind when specifying pumped hydro MW capacities
in this variable. (Essentially, this assumes that within a given day, pumped hydro is limited by
its maximum possible pumping or generating rate, not by the quantity of water in its upper or lower reservoir.)
In the real world, pumped hydro plants may chage for slightly more hours and at a
slightly lower MW rating than they discharge, but we simplify this to represent it as the same number
of hours charging and discharging and the same MW rating when charging and discharging.
Unit Conversion
gigawatts to megawatts
1000

## AEO Table 9 2023
| noIRA.d020623a | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
|  | Report | Annual Energy Outlook 2023
|  | Scenario | noIRA |  |  | No Inflation Reduction Act
|  | Datekey | d020623a
|  | Release Date |  | March 2023
EGC000 | 9. Electricity Generating Capacity | [29 empty] | Average
| (gigawatts) | [29 empty] | Annual
Change
| Net Summer Capacity 1/ | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2022–2050
Electric Power Sector 2/
Power Only 3/
EGC000:ba_CoalSteam | Coal 4/ | 197.8458 | 188.1638 | 184.1845 | 164.6453 | 154.7213 | 144.7324 | 131.8326 | 120.8064 | 115.1764 | 113.3974 | 110.8814 | 110.1194 | 106.9116 | 105.2956 | 105.2956 | 104.0476 | 99.2586 | 97.0786 | 92.8316 | 92.4916 | 91.1306 | 91.1306 | 91.1306 | 91.1306 | 91.1306 | 91.1306 | 91.0506 | 91.0506 | 91.0506 | -2.734%
EGC000:ba_OtherFossilSt | Oil and Natural Gas Steam 4, 5/ | 74.1969 | 72.3499 | 64.7864 | 58.6828 | 56.4645 | 57.0635 | 57.5915 | 57.149 | 57.603 | 58.168 | 57.83 | 56.8164 | 56.2984 | 55.3489 | 55.2509 | 55.2509 | 55.2509 | 55.2509 | 55.2509 | 55.2084 | 55.2084 | 55.2084 | 55.2084 | 55.2084 | 55.2084 | 55.2084 | 54.7837 | 54.7837 | 54.7837 | -1.077%
EGC000:ba_CombinedCycle | Combined Cycle | 257.7643 | 260.8362 | 258.2577 | 264.4909 | 272.53 | 275.0789 | 278.0209 | 281.7201 | 285.4676 | 289.022 | 297.0803 | 300.5486 | 302.8736 | 303.7441 | 308.0477 | 310.9537 | 312.5293 | 313.8872 | 317.3297 | 320.2828 | 320.5464 | 322.2556 | 323.1671 | 327.1341 | 329.7358 | 333.5546 | 337.3485 | 339.7578 | 342.5159 | 1.02%
EGC000:ba_CombustionTur | Combustion Turbine/Diesel | 143.2784 | 146.7922 | 152.3465 | 159.5514 | 168.4169 | 178.2802 | 189.3779 | 195.1702 | 201.9443 | 204.9653 | 213.3019 | 217.3661 | 222.031 | 227.4444 | 232.639 | 238.1106 | 246.1075 | 251.7136 | 258.4548 | 265.9079 | 274.2062 | 282.5429 | 292.9636 | 301.2363 | 309.1108 | 314.5937 | 321.0738 | 327.8716 | 334.4431 | 3.074%
EGC000:ba_NuclearPower | Nuclear Power 6/ | 94.7766 | 97.0046 | 97.0496 | 95.9276 | 94.8096 | 94.8096 | 93.4086 | 93.4086 | 93.4086 | 93.4086 | 92.1616 | 92.1616 | 90.9366 | 90.9366 | 90.9366 | 90.9366 | 89.9691 | 89.9691 | 89.9691 | 89.9691 | 89.9691 | 89.9691 | 89.9691 | 89.9691 | 88.8037 | 88.8037 | 88.8037 | 88.8037 | 88.8037 | -0.2322%
EGC000:ba_PumpedStorage | Pumped Storage | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 23.0077 | 0%
EGC000:ba_DiurnalStorag | Diurnal Storage | 6.3204 | 9.7828 | 12.4307 | 14.1727 | 14.6897 | 15.2117 | 15.8455 | 16.632 | 17.3353 | 19.0485 | 19.3271 | 19.8808 | 20.1198 | 20.3667 | 20.4956 | 20.71 | 22.1901 | 22.3356 | 23.3262 | 23.813 | 23.9341 | 24.2318 | 24.3075 | 26.2748 | 27.6331 | 28.608 | 29.8915 | 32.8915 | 34.6284 | 6.263%
EGC000:ba_FuelCells | Fuel Cells | 0.2657 | 0.2903 | 0.2903 | 0.32575 | 0.32575 | 0.32575 | 0.32575 | 0.32575 | 0.32575 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.32465 | 0.7182%
EGC000:ba_RenewableSour | Renewable Sources 7/ | 307.6963 | 340.7155 | 381.8048 | 406.399 | 430.7765 | 446.5271 | 458.84 | 468.7289 | 484.5278 | 516.9249 | 545.1558 | 553.5098 | 565.1261 | 582.1503 | 603.0497 | 618.1613 | 640.8426 | 666.2964 | 689.2651 | 703.4984 | 715.2543 | 725.8369 | 737.9638 | 756.1911 | 774.359 | 792.1508 | 808.9883 | 823.5468 | 841.218 | 3.657%
EGC000:ba_DistributedGe | Distributed Generation (Natural Gas) 8/ | 0 | 0 | 0.79768 | 0.89568 | 1.0704 | 1.4138 | 1.8293 | 2.2708 | 2.808 | 3.2897 | 3.9318 | 4.5871 | 5.3615 | 6.1926 | 7.1054 | 8.0491 | 9.1255 | 10.2515 | 11.5571 | 12.9677 | 14.5053 | 16.2054 | 17.9412 | 19.6312 | 21.4195 | 23.3917 | 25.5006 | 27.7211 | 29.8529 | --
EGC000:ba_Total | Total | 1105.1522 | 1138.943 | 1174.9559 | 1188.0988 | 1216.8124 | 1236.4507 | 1250.0797 | 1259.2195 | 1281.6045 | 1321.5566 | 1363.0022 | 1378.3223 | 1392.991 | 1414.8115 | 1446.153 | 1469.552 | 1498.606 | 1530.1152 | 1561.3169 | 1587.4713 | 1608.0868 | 1630.7131 | 1655.9836 | 1690.1079 | 1720.7333 | 1750.7739 | 1780.7731 | 1809.759 | 1840.6285 | 1.839%
Combined Heat and Power 9/
EGC000:ca_CoalSteam | Coal | 1.6969 | 1.6969 | 1.4529 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | 1.3929 | -0.7026%
EGC000:ca_OtherFossilSt | Oil and Natural Gas Steam 5/ | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0%
EGC000:ca_CombinedCycle | Combined Cycle | 21.2834 | 21.1979 | 21.1979 | 21.1979 | 21.1979 | 21.1979 | 21.1979 | 21.1979 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | 21.1048 | -0.0301%
EGC000:ca_CombustionTur | Combustion Turbine/Diesel | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 3.0799 | 0%
EGC000:ca_RenewableSour | Renewable Sources 7/ | 0.87754 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.87954 | 0.0081%
EGC000:ca_Total | Total | 27.5095 | 27.426 | 27.182 | 27.122 | 27.122 | 27.122 | 27.122 | 27.122 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | 27.0289 | -0.0629%
Cumulative Planned Additions 10/
EGC000:da_CoalSteam | Coal | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:da_OtherFossilSt | Oil and Natural Gas Steam 5/ | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:da_CombinedCycle | Combined Cycle | -- | 3.0719 | 3.7167 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | 4.2627 | --
EGC000:da_CombustionTur | Combustion Turbine/Diesel | -- | 2.143 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | 3.2776 | --
EGC000:da_NuclearPower | Nuclear Power | -- | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | --
EGC000:da_PumpedStorage | Pumped Storage | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:da_DiurnalStorag | Diurnal Storage | -- | 3.4624 | 6.1103 | 6.6643 | 7.1863 | 7.7083 | 8.2303 | 8.7523 | 9.2743 | 9.5133 | 9.7523 | 9.9913 | 10.2303 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | 10.4693 | --
EGC000:da_FuelCells | Fuel Cells | -- | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | 0.0246 | --
EGC000:da_RenewableSour | Renewable Sources 7/ | -- | 33.0051 | 63.5307 | 66.6482 | 68.6737 | 68.6737 | 69.7737 | 69.7737 | 75.7737 | 75.7737 | 75.7737 | 75.7737 | 80.9737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | 89.1737 | --
EGC000:da_DistributedGe | Distributed Generation 8/ | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:da_Total | Total | -- | 43.935 | 78.8879 | 83.1054 | 85.6529 | 86.1749 | 87.7969 | 88.3189 | 94.8409 | 95.0799 | 95.3189 | 95.5579 | 100.9969 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | 109.4359 | --
Cumulative Unplanned Additions 10/
EGC000:ea_CoalSteam | Coal | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_OtherFossilSt | Oil and Natural Gas Steam 5/ | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_CombinedCycle | Combined Cycle | -- | 0 | 0 | 6.6557 | 14.8117 | 17.9487 | 20.8907 | 24.6149 | 28.4641 | 32.128 | 40.5574 | 44.0257 | 46.5612 | 47.6107 | 52.0476 | 55.1331 | 56.8597 | 58.3566 | 63.2657 | 66.2188 | 68.0935 | 69.8026 | 71.4332 | 75.4002 | 78.0019 | 81.8206 | 85.6146 | 88.0239 | 90.782 | --
EGC000:ea_CombustionTur | Combustion Turbine/Diesel | -- | 2.2274 | 8.2578 | 15.7957 | 25.218 | 35.698 | 46.7958 | 52.5881 | 59.3659 | 62.4499 | 71.5281 | 75.7084 | 80.3733 | 85.8037 | 91.0434 | 96.5149 | 104.5119 | 110.1179 | 116.8592 | 124.5212 | 132.8516 | 141.1882 | 151.609 | 159.8816 | 168.0114 | 173.6792 | 180.1594 | 186.9571 | 193.6894 | --
EGC000:ea_NuclearPower | Nuclear Power | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_PumpedStorage | Pumped Storage | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_DiurnalStorag | Diurnal Storage | -- | 0 | 0 | 1.188 | 1.188 | 1.188 | 1.2998 | 1.5643 | 1.7456 | 3.2198 | 3.2693 | 3.584 | 3.584 | 3.5919 | 3.7208 | 3.9352 | 5.4153 | 5.5608 | 6.5514 | 7.0492 | 7.3703 | 7.668 | 7.7437 | 9.711 | 11.0693 | 12.0442 | 13.3277 | 16.3277 | 18.0646 | --
EGC000:ea_FuelCells | Fuel Cells | -- | 0 | 0 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | 0.035453 | --
EGC000:ea_RenewableSour | Renewable Sources 7/ | -- | 0.16909 | 10.7544 | 32.2336 | 54.7137 | 70.4824 | 82.002 | 92.0308 | 101.9606 | 134.5407 | 162.7716 | 171.2473 | 177.6657 | 186.5513 | 207.4787 | 222.5902 | 245.2865 | 270.7404 | 293.709 | 307.9423 | 319.6981 | 330.2809 | 342.4886 | 360.7758 | 378.9464 | 396.7412 | 413.5786 | 428.1522 | 445.8234 | --
EGC000:ea_DistributedGe | Distributed Generation 8/ | -- | 0 | 0.79768 | 0.89568 | 1.0704 | 1.4138 | 1.8293 | 2.2708 | 2.808 | 3.2897 | 3.9318 | 4.5871 | 5.3615 | 6.1926 | 7.1054 | 8.0491 | 9.1255 | 10.2515 | 11.5571 | 12.9677 | 14.5053 | 16.2054 | 17.9412 | 19.6312 | 21.4195 | 23.3917 | 25.5006 | 27.7211 | 29.8529 | --
EGC000:ea_Total | Total | -- | 2.3965 | 19.8098 | 56.8042 | 97.0373 | 126.7663 | 152.8529 | 173.1043 | 194.3796 | 235.6635 | 282.0936 | 299.188 | 313.5811 | 329.7857 | 361.4314 | 386.2579 | 421.2344 | 455.0627 | 491.9778 | 518.7346 | 542.5544 | 565.1807 | 591.2511 | 625.4353 | 657.4839 | 687.7124 | 718.2162 | 747.2175 | 778.248 | --
EGC000:ea_CumulativeEle | Cumulative Electric Power Sector Additions 10 | -- | 46.3315 | 98.6977 | 139.9096 | 182.6902 | 212.9412 | 240.6498 | 261.4232 | 289.2205 | 330.7434 | 377.4125 | 394.7459 | 414.578 | 439.2216 | 470.8673 | 495.6938 | 530.6703 | 564.4986 | 601.4138 | 628.1705 | 651.9904 | 674.6166 | 700.687 | 734.8712 | 766.9199 | 797.1483 | 827.6522 | 856.6534 | 887.6839 | --
Cumulative Retirements 11/
EGC000:fa_CoalSteam | Coal | -- | 9.6819 | 13.9052 | 31.465 | 41.389 | 49.1959 | 60.7667 | 71.1999 | 76.1289 | 76.1289 | 78.6449 | 79.4069 | 82.6147 | 84.2307 | 84.2307 | 85.4787 | 90.2677 | 92.4477 | 96.6947 | 97.0347 | 98.3957 | 98.3957 | 98.3957 | 98.3957 | 98.3957 | 98.3957 | 98.4757 | 98.4757 | 98.4757 | --
EGC000:fa_OtherFossilSt | Oil and Natural Gas Steam 5/ | -- | 1.847 | 9.4105 | 17.5535 | 19.7718 | 21.3548 | 22.1558 | 23.1913 | 23.4383 | 24.6523 | 24.9903 | 26.0039 | 26.5219 | 27.4714 | 27.5694 | 27.5694 | 27.5694 | 27.5694 | 27.5694 | 27.6119 | 27.6119 | 27.6119 | 27.6119 | 27.6119 | 27.6119 | 27.6119 | 28.0366 | 28.0366 | 28.0366 | --
EGC000:fa_CombinedCycle | Combined Cycle | -- | 0.0855 | 3.3088 | 4.2774 | 4.3943 | 4.9823 | 4.9823 | 5.0073 | 5.2021 | 5.3116 | 5.6826 | 5.6826 | 5.8932 | 6.0722 | 6.2055 | 6.385 | 6.536 | 6.675 | 8.1416 | 8.1416 | 9.7527 | 9.7527 | 10.4717 | 10.4717 | 10.4717 | 10.4717 | 10.4717 | 10.4717 | 10.4717 | --
EGC000:fa_CombustionTur | Combustion Turbine/Diesel | -- | 0.8567 | 2.4673 | 2.8003 | 3.3572 | 3.9739 | 3.9739 | 3.9739 | 3.9777 | 4.0407 | 4.7823 | 4.8984 | 4.8984 | 4.9154 | 4.9604 | 4.9604 | 4.9604 | 4.9604 | 4.9604 | 5.1694 | 5.2014 | 5.2014 | 5.2014 | 5.2014 | 5.4566 | 5.6416 | 5.6416 | 5.6416 | 5.8024 | --
EGC000:fa_NuclearPower | Nuclear Power | -- | 0 | 0 | 1.122 | 2.24 | 2.24 | 3.641 | 3.641 | 3.641 | 3.641 | 4.888 | 4.888 | 6.113 | 6.113 | 6.113 | 6.113 | 7.0805 | 7.0805 | 7.0805 | 7.0805 | 7.0805 | 7.0805 | 7.0805 | 7.0805 | 8.2459 | 8.2459 | 8.2459 | 8.2459 | 8.2459 | --
EGC000:fa_PumpedStorage | Pumped Storage | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:fa_DiurnalStorag | Diurnal Storage | -- | 0 | 0 | 0 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.0149 | 0.0149 | 0.0149 | 0.0149 | 0.0149 | 0.0149 | 0.0149 | 0.0149 | 0.0149 | 0.0259 | 0.2259 | 0.2259 | 0.2259 | 0.2259 | 0.2259 | 0.2259 | 0.2259 | 0.2259 | 0.2259 | --
EGC000:fa_FuelCells | Fuel Cells | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | --
EGC000:fa_RenewableSour | Renewable Sources 7/ | -- | 0.153 | 0.1747 | 0.1772 | 0.3052 | 0.3234 | 0.6301 | 0.77 | 0.9008 | 1.0839 | 1.0839 | 1.2056 | 1.2076 | 1.2691 | 1.297 | 1.297 | 1.312 | 1.312 | 1.312 | 1.312 | 1.312 | 1.312 | 1.3929 | 1.4529 | 1.4555 | 1.4585 | 1.4585 | 1.4735 | 1.4735 | --
EGC000:fa_Total | Total | -- | 12.6241 | 29.2665 | 57.3954 | 71.4625 | 82.0753 | 96.1548 | 107.7884 | 113.2938 | 114.8645 | 120.088 | 122.1014 | 127.2648 | 130.0878 | 130.392 | 131.8194 | 137.7419 | 140.061 | 145.7746 | 146.3771 | 149.5812 | 149.5812 | 150.3811 | 150.4411 | 151.8643 | 152.0523 | 152.557 | 152.572 | 152.7328 | --
EGC000:ga_TotalElectric | Total Electric Power Sector Capacity | 1132.6617 | 1166.369 | 1202.1379 | 1215.2208 | 1243.9344 | 1263.5728 | 1277.2018 | 1286.3416 | 1308.6334 | 1348.5856 | 1390.0311 | 1405.3512 | 1420.0199 | 1441.8405 | 1473.1819 | 1496.5809 | 1525.6349 | 1557.1442 | 1588.3458 | 1614.5002 | 1635.1157 | 1657.7421 | 1683.0126 | 1717.1368 | 1747.7622 | 1777.8029 | 1807.802 | 1836.788 | 1867.6575 | 1.802%
End-Use Generators 12/
EGC000:ha_Coal | Coal | 1.6363 | 1.6175 | 1.5975 | 1.5809 | 1.573 | 1.5638 | 1.5543 | 1.5447 | 1.5344 | 1.5256 | 1.5174 | 1.5086 | 1.5004 | 1.4923 | 1.4831 | 1.4746 | 1.4659 | 1.4567 | 1.4486 | 1.4411 | 1.4332 | 1.4252 | 1.4163 | 1.4073 | 1.3984 | 1.3901 | 1.3818 | 1.3737 | 1.3657 | -0.6436%
EGC000:ha_Petroleum | Petroleum | 0.53329 | 0.53282 | 0.53226 | 0.53188 | 0.53187 | 0.5318 | 0.53174 | 0.53167 | 0.53157 | 0.53154 | 0.53153 | 0.5315 | 0.53149 | 0.53149 | 0.53143 | 0.5314 | 0.53136 | 0.5313 | 0.5313 | 0.53133 | 0.53134 | 0.53136 | 0.5313 | 0.53124 | 0.53119 | 0.53118 | 0.53118 | 0.53119 | 0.5312 | -0.0141%
EGC000:ha_NaturalGas | Natural Gas | 19.2768 | 19.5131 | 19.689 | 19.8403 | 20.1213 | 20.3337 | 20.554 | 20.7788 | 21.0054 | 21.2508 | 21.5068 | 21.7712 | 22.0446 | 22.3322 | 22.6149 | 22.9118 | 23.2041 | 23.4835 | 23.7857 | 24.1043 | 24.4339 | 24.7663 | 25.0926 | 25.4202 | 25.7551 | 26.1026 | 26.461 | 26.8296 | 27.2154 | 1.239%
EGC000:ha_OtherGaseousF | Other Gaseous Fuels 13/ | 2.3581 | 2.3815 | 2.3815 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 2.4016 | 0.0653%
EGC000:ha_RenewableSour | Renewable Sources 7/ | 54.9258 | 61.3872 | 66.8409 | 72.0415 | 75.9056 | 80.293 | 84.5358 | 89.5947 | 94.016 | 98.8029 | 103.2308 | 109.0244 | 114.0314 | 119.1335 | 124.9128 | 129.9491 | 136.2608 | 142.3796 | 148.5387 | 154.817 | 161.4447 | 167.836 | 174.352 | 181.2926 | 189.6123 | 197.1322 | 204.9196 | 212.602 | 220.5334 | 5.09%
EGC000:ha_Other | Other 14/ | 0.3808 | 0.3808 | 0.3808 | 0.3808 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4308 | 0.4416%
EGC000:ha_Total | Total | 79.1111 | 85.8129 | 91.422 | 96.7769 | 100.9642 | 105.5546 | 110.0082 | 115.2823 | 119.9198 | 124.9433 | 129.619 | 135.668 | 140.9403 | 146.3218 | 152.3747 | 157.6993 | 164.2946 | 170.6836 | 177.1366 | 183.7262 | 190.6756 | 197.3913 | 204.2246 | 211.4837 | 220.1295 | 227.9884 | 236.126 | 244.1689 | 252.4781 | 4.232%
EGC000:ia_CumulativeCap | Cumulative Capacity Additions 10/ | -- | 6.85 | 12.5429 | 17.9149 | 22.1104 | 26.7101 | 31.1733 | 36.457 | 41.1048 | 46.1371 | 50.821 | 56.8789 | 62.1594 | 67.549 | 73.6112 | 78.9444 | 85.5483 | 91.9465 | 98.4077 | 105.0048 | 111.9621 | 118.6858 | 125.5281 | 132.7963 | 141.4509 | 149.3183 | 157.464 | 165.515 | 173.8322 | --
1/ Net summer capacity is the steady hourly output that generating equipment is expected to supply to
system load (exclusive of auxiliary power), as demonstrated by tests during summer peak demand.
2/ Includes electricity-only and combined-heat-and-power plants that have a regulatory status.
3/ Includes plants that only produce electricity and that have a regulatory status. Includes capacity increases (uprates) at existing units.
4/ total coal, oil, and natural gas steam capacity account for the conversion of coal capacity to natural gas steam capacity, but the conversions
are not included explicitly as additions or retirements. No planned conversions are assumed. The totals reflect any conversions projected by
the model.
5/ includes oil-, natural gas-, and dual-fired capacity.
6/ Nuclear capacity includes 0.05 gigawatts of uprates.
7/ Includes conventional hydroelectric, geothermal, wood, wood waste, all municipal waste, landfill gas,
other biomass, solar, and wind power. Facilities co-firing biomass and coal are classified as coal.
8/ Primarily peak-load capacity fueled by natural gas.
9/ Includes combined-heat-and-power plants whose primary business is to sell electricity and heat to the public
(that is, those that report North American Industry Classification System code 22 or that have a regulatory status).
10/ Cumulative additions after December 31, 2022.
11/ Cumulative retirements after December 31, 2022.
12/ Includes combined-heat-and-power plants and electricity-only plants in the commercial and industrial sectors that have a non-regulatory
status. Also includes small on-site generating systems in the residential, commercial, and industrial sectors used primarily for own-use generation,
but which may also sell some power to the grid. Solar photovoltaic capacity portion of Renewable Sources in gigawatts direct current;
other technologies in gigawatts alternating current.
13/ Includes refinery gas and still gas.
14/ Includes batteries, chemicals, hydrogen, pitch, purchased steam, sulfur, and miscellaneous technologies.
- - = Not applicable.
Note: Totals may not equal sum of components due to independent rounding.
Data source: 2022: U.S. Energy Information Administration (EIA), Short-Term Energy Outlook, November 2022 and EIA,
AEO2023 National Energy Modeling System run noIRA.d020623a. Projections: EIA, AEO2023 National Energy Modeling System run noIRA.d020623a.

## AEO Table 9 2022
| ref2022.d011222a | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
|  | Report | Annual Energy Outlook 2022
|  | Scenario | ref2022 |  |  | Reference
|  | Datekey | d011222a
|  | Release Date |  | March 2022
EGC000 | 9. Electricity Generating Capacity | [30 empty] | Average
| (gigawatts) | [30 empty] | Annual
Change
| Net Summer Capacity 1/ | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2021–2050
Electric Power Sector 2/
Power Only 3/
EGC000:ba_CoalSteam | Coal 4/ | 207.2408 | 197.4274 | 188.4364 | 180.9913 | 158.0625 | 149.1044 | 140.9525 | 128.0769 | 120.3329 | 115.6119 | 114.7949 | 112.2789 | 111.5169 | 107.4931 | 105.8771 | 105.4371 | 105.0981 | 104.0311 | 103.6921 | 101.9271 | 101.5871 | 101.5871 | 101.5871 | 101.5871 | 99.0731 | 99.0731 | 99.0731 | 99.0731 | 99.0731 | 99.0731 | -2.513%
EGC000:ba_OtherFossilSt | Oil and Natural Gas Steam 4, 5/ | 73.7758 | 71.5554 | 66.1538 | 58.844 | 52.7815 | 49.4538 | 47.3012 | 46.4876 | 45.0481 | 43.4172 | 42.3252 | 42.0822 | 41.3401 | 40.8401 | 39.8906 | 39.823 | 39.644 | 39.644 | 39.644 | 39.644 | 39.644 | 39.644 | 39.644 | 39.644 | 39.644 | 39.644 | 39.644 | 39.644 | 39.644 | 39.644 | -2.119%
EGC000:ba_CombinedCycle | Combined Cycle | 249.7643 | 257.8427 | 261.252 | 266.8622 | 280.6602 | 287.979 | 301.0809 | 305.6385 | 313.1915 | 318.4412 | 325.4524 | 330.9314 | 338.6617 | 342.3029 | 346.1772 | 351.4152 | 354.7451 | 357.5139 | 359.1801 | 361.2347 | 365.2222 | 367.818 | 369.6676 | 373.8059 | 377.9839 | 383.1305 | 384.9094 | 389.7557 | 393.9668 | 396.3995 | 1.605%
EGC000:ba_CombustionTur | Combustion Turbine/Diesel | 141.1348 | 151.7483 | 164.5 | 169.6191 | 183.5147 | 188.0463 | 193.9077 | 196.7215 | 201.4963 | 205.862 | 209.1738 | 213.2044 | 217.8725 | 221.5682 | 226.0258 | 230.426 | 234.036 | 240.1353 | 244.1333 | 251.8583 | 257.1212 | 261.8261 | 270.6004 | 277.5591 | 283.9805 | 293.8516 | 306.1904 | 312.0043 | 318.3679 | 332.2491 | 2.996%
EGC000:ba_NuclearPower | Nuclear Power 6/ | 95.4873 | 97.0148 | 97.0588 | 97.1096 | 96.0187 | 94.9319 | 92.796 | 85.999 | 85.0595 | 85.1456 | 85.2842 | 85.3806 | 79.2981 | 79.3862 | 78.6005 | 78.7331 | 78.7598 | 78.7866 | 78.7866 | 78.8303 | 78.9892 | 79.1042 | 79.2152 | 79.3111 | 79.4149 | 79.469 | 79.5231 | 79.5568 | 79.5975 | 79.6599 | -0.623%
EGC000:ba_PumpedStorage | Pumped Storage | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 0%
EGC000:ba_DiurnalStorag | Diurnal Storage | 3.968 | 6.5094 | 8.3917 | 9.0665 | 10.1125 | 10.6755 | 11.6831 | 12.2887 | 13.006 | 14.1501 | 14.3891 | 16.0786 | 16.3176 | 16.5566 | 16.8073 | 16.8961 | 17.118 | 17.2217 | 17.535 | 17.9426 | 18.7511 | 18.9772 | 19.379 | 21.1884 | 21.3143 | 21.5566 | 21.5566 | 22.0214 | 22.2718 | 22.3714 | 6.145%
EGC000:ba_FuelCells | Fuel Cells | 0.2231 | 0.2527 | 0.2527 | 0.25592 | 0.25737 | 0.25737 | 0.25737 | 0.25737 | 0.25737 | 0.25737 | 0.25627 | 0.25627 | 0.25627 | 0.25627 | 0.25627 | 0.25627 | 0.25728 | 0.25728 | 0.25728 | 0.25728 | 0.25728 | 0.25728 | 0.25728 | 0.25728 | 0.25728 | 0.25728 | 0.25728 | 0.25728 | 0.2583 | 0.2583 | 0.5064%
EGC000:ba_RenewableSour | Renewable Sources 7/ | 285.2788 | 310.0785 | 341.6559 | 380.8976 | 402.9222 | 414.6612 | 442.2916 | 450.6849 | 462.0407 | 476.9123 | 487.2426 | 499.5891 | 512.0085 | 540.6906 | 576.1453 | 590.0985 | 595.5423 | 598.9563 | 601.6469 | 605.6053 | 611.1896 | 617.5526 | 622.0207 | 631.2593 | 640.6328 | 647.9456 | 657.7811 | 666.3328 | 672.7659 | 676.1671 | 3.02%
EGC000:ba_DistributedGe | Distributed Generation (Natural Gas) 8/ | 0 | 0 | 0.77404 | 0.88372 | 0.99212 | 1.1164 | 1.3172 | 1.537 | 1.7408 | 1.962 | 2.2219 | 2.5917 | 2.9523 | 3.3186 | 3.8291 | 4.4202 | 5.0528 | 5.6823 | 6.3358 | 6.9705 | 7.604 | 8.2706 | 8.982 | 9.7182 | 10.4752 | 11.2883 | 12.1736 | 13.0074 | 13.9163 | 14.8552 | --
EGC000:ba_Total | Total | 1079.889 | 1115.4454 | 1151.4915 | 1187.5463 | 1208.338 | 1219.2422 | 1254.604 | 1250.7078 | 1265.1893 | 1284.776 | 1304.1566 | 1325.4093 | 1343.2401 | 1375.4287 | 1416.6254 | 1440.5216 | 1453.2697 | 1465.2448 | 1474.2274 | 1487.2863 | 1503.382 | 1518.0533 | 1534.3694 | 1557.3467 | 1575.7922 | 1599.2322 | 1624.1249 | 1644.6689 | 1662.8779 | 1683.694 | 1.543%
Combined Heat and Power 9/
EGC000:ca_CoalSteam | Coal | 1.6835 | 1.6835 | 1.6835 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | -0.5385%
EGC000:ca_OtherFossilSt | Oil and Natural Gas Steam 5/ | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0%
EGC000:ca_CombinedCycle | Combined Cycle | 21.3512 | 21.3512 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | -0.029%
EGC000:ca_CombustionTur | Combustion Turbine/Diesel | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 0%
EGC000:ca_RenewableSour | Renewable Sources 7/ | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0%
EGC000:ca_Total | Total | 27.4584 | 27.4584 | 27.2798 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | -0.0535%
Cumulative Planned Additions 10/
EGC000:da_CoalSteam | Coal | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:da_OtherFossilSt | Oil and Natural Gas Steam 5/ | -- | 0 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | --
EGC000:da_CombinedCycle | Combined Cycle | -- | 8.0784 | 12.3492 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | --
EGC000:da_CombustionTur | Combustion Turbine/Diesel | -- | 1.8994 | 3.405 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | --
EGC000:da_NuclearPower | Nuclear Power | -- | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | --
EGC000:da_PumpedStorage | Pumped Storage | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:da_DiurnalStorag | Diurnal Storage | -- | 1.7702 | 3.6525 | 4.2985 | 4.8795 | 5.4285 | 5.9775 | 6.5265 | 7.0755 | 7.6245 | 7.8635 | 8.1025 | 8.3415 | 8.5805 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | --
EGC000:da_FuelCells | Fuel Cells | -- | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | --
EGC000:da_RenewableSour | Renewable Sources 7/ | -- | 24.8118 | 40.9991 | 41.0591 | 42.5591 | 44.0591 | 44.0591 | 46.0591 | 46.0591 | 53.1591 | 53.1591 | 53.1591 | 53.1591 | 58.3591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | --
EGC000:da_DistributedGe | Distributed Generation 8/ | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:da_Total | Total | -- | 38.8174 | 62.9984 | 64.7674 | 66.8484 | 68.8974 | 69.4464 | 71.9954 | 72.5444 | 80.1934 | 80.4324 | 80.6714 | 80.9104 | 86.3494 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | --
Cumulative Unplanned Additions 10/
EGC000:ea_CoalSteam | Coal | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_OtherFossilSt | Oil and Natural Gas Steam 5/ | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_CombinedCycle | Combined Cycle | -- | 0 | 0 | 7.8127 | 22.8215 | 30.4152 | 44.0166 | 48.5741 | 56.1271 | 61.5386 | 68.5499 | 74.0289 | 82.2821 | 86.1192 | 90.1761 | 96.2306 | 99.5605 | 102.5413 | 104.2075 | 106.7641 | 110.7515 | 113.8584 | 115.708 | 119.8463 | 124.0244 | 129.171 | 130.9499 | 135.7962 | 140.0073 | 142.44 | --
EGC000:ea_CombustionTur | Combustion Turbine/Diesel | -- | 9.5154 | 21.3059 | 25.9873 | 39.9885 | 45.1193 | 51.6854 | 54.4992 | 59.2898 | 63.659 | 67.1158 | 71.8879 | 76.556 | 80.3476 | 84.8236 | 89.9599 | 93.5867 | 99.686 | 103.684 | 111.43 | 116.9018 | 121.6388 | 130.413 | 137.3717 | 143.8802 | 153.7513 | 166.0901 | 171.9068 | 178.2704 | 192.1516 | --
EGC000:ea_NuclearPower | Nuclear Power | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_PumpedStorage | Pumped Storage | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_DiurnalStorag | Diurnal Storage | -- | 0.77117 | 0.77117 | 0.80101 | 1.266 | 1.28 | 1.7386 | 1.7952 | 1.9635 | 2.5586 | 2.5586 | 4.0091 | 4.0091 | 4.0091 | 4.0208 | 4.1096 | 4.3335 | 4.4372 | 4.7505 | 5.1581 | 5.9666 | 6.1927 | 6.5945 | 8.4039 | 8.5298 | 8.7721 | 8.7721 | 9.2369 | 9.4873 | 9.5869 | --
EGC000:ea_FuelCells | Fuel Cells | -- | 0 | 0 | 0.003218 | 0.004671 | 0.004671 | 0.004671 | 0.004671 | 0.004671 | 0.004671 | 0.004671 | 0.004671 | 0.004671 | 0.004671 | 0.004671 | 0.004671 | 0.005677 | 0.005677 | 0.005677 | 0.005677 | 0.005677 | 0.005677 | 0.005677 | 0.005677 | 0.005677 | 0.005677 | 0.005677 | 0.005677 | 0.006696 | 0.006696 | --
EGC000:ea_RenewableSour | Renewable Sources 7/ | -- | 0 | 15.4115 | 54.613 | 75.2276 | 85.5159 | 113.2269 | 119.8937 | 131.4022 | 139.2619 | 149.5921 | 161.9386 | 174.3581 | 197.8551 | 225.1099 | 239.0631 | 244.5079 | 247.9219 | 250.6225 | 254.5809 | 260.1652 | 266.5282 | 270.9962 | 280.3148 | 289.6881 | 297.0037 | 306.8421 | 315.3938 | 321.8434 | 325.3062 | --
EGC000:ea_DistributedGe | Distributed Generation 8/ | -- | 0 | 0.77404 | 0.88372 | 0.99212 | 1.1164 | 1.3172 | 1.537 | 1.7408 | 1.962 | 2.2219 | 2.5917 | 2.9523 | 3.3186 | 3.8291 | 4.4202 | 5.0528 | 5.6823 | 6.3358 | 6.9705 | 7.604 | 8.2706 | 8.982 | 9.7182 | 10.4752 | 11.2883 | 12.1736 | 13.0074 | 13.9163 | 14.8552 | --
EGC000:ea_Total | Total | -- | 10.2866 | 38.2626 | 90.1009 | 140.3002 | 163.4516 | 211.9892 | 226.304 | 250.528 | 268.9848 | 290.043 | 314.461 | 340.1621 | 371.6543 | 407.9643 | 433.788 | 447.047 | 460.2744 | 469.6059 | 484.9091 | 501.3948 | 516.4943 | 532.6996 | 555.6609 | 576.6035 | 599.9921 | 624.8339 | 645.3469 | 663.5317 | 684.3466 | --
EGC000:ea_CumulativeEle | Cumulative Electric Power Sector Additions 10 | -- | 49.104 | 101.261 | 154.8683 | 207.1486 | 232.349 | 281.4356 | 298.2994 | 323.0724 | 349.1782 | 370.4754 | 395.1324 | 421.0725 | 458.0037 | 502.7527 | 528.5764 | 541.8354 | 555.0628 | 564.3943 | 579.6975 | 596.1832 | 611.2827 | 627.488 | 650.4493 | 671.3919 | 694.7805 | 719.6223 | 740.1353 | 758.3201 | 779.135 | --
Cumulative Retirements 11/
EGC000:fa_CoalSteam | Coal | -- | 9.8133 | 18.8043 | 26.4934 | 49.4222 | 58.3803 | 66.5322 | 79.4078 | 87.1518 | 91.8728 | 92.6898 | 95.2058 | 95.9678 | 99.9916 | 101.6076 | 102.0476 | 102.3866 | 103.4536 | 103.7926 | 105.5576 | 105.8976 | 105.8976 | 105.8976 | 105.8976 | 108.4116 | 108.4116 | 108.4116 | 108.4116 | 108.4116 | 108.4116 | --
EGC000:fa_OtherFossilSt | Oil and Natural Gas Steam 5/ | -- | 2.2204 | 7.957 | 15.2668 | 21.3293 | 24.657 | 26.8096 | 27.6232 | 29.0627 | 30.6936 | 31.7856 | 32.0286 | 32.7707 | 33.2707 | 34.2202 | 34.2878 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | 34.4668 | --
EGC000:fa_CombinedCycle | Combined Cycle | -- | 0 | 1.0402 | 3.7886 | 4.9993 | 5.2744 | 5.7737 | 5.7737 | 5.7737 | 5.9356 | 5.9356 | 5.9356 | 6.4585 | 6.6543 | 6.837 | 7.6536 | 7.6536 | 7.8656 | 7.8656 | 8.3676 | 8.3676 | 8.8787 | 8.8787 | 8.8787 | 8.8787 | 8.8787 | 8.8787 | 8.8787 | 8.8787 | 8.8787 | --
EGC000:fa_CombustionTur | Combustion Turbine/Diesel | -- | 0.8013 | 1.3457 | 1.4249 | 1.5305 | 2.1297 | 2.8344 | 2.8344 | 2.8502 | 2.8537 | 2.9987 | 3.7403 | 3.7403 | 3.8361 | 3.8546 | 4.5906 | 4.6074 | 4.6074 | 4.6074 | 4.6284 | 4.8374 | 4.8694 | 4.8694 | 4.8694 | 4.9564 | 4.9564 | 4.9564 | 4.9592 | 4.9592 | 4.9592 | --
EGC000:fa_NuclearPower | Nuclear Power | -- | 0.7685 | 0.7685 | 0.7685 | 1.8905 | 3.0085 | 5.1795 | 12.0117 | 12.9962 | 12.9962 | 12.9962 | 12.9962 | 19.1712 | 19.1712 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | 20.1352 | --
EGC000:fa_PumpedStorage | Pumped Storage | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:fa_DiurnalStorag | Diurnal Storage | -- | 0 | 0 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | --
EGC000:fa_FuelCells | Fuel Cells | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | --
EGC000:fa_RenewableSour | Renewable Sources 7/ | -- | 0.0121 | 0.0335 | 0.0533 | 0.1433 | 0.1927 | 0.2732 | 0.5468 | 0.6994 | 0.7875 | 0.7875 | 0.7875 | 0.7875 | 0.8025 | 0.8025 | 0.8025 | 0.8035 | 0.8035 | 0.8135 | 0.8135 | 0.8135 | 0.8135 | 0.8135 | 0.8934 | 0.8934 | 0.896 | 0.899 | 0.899 | 0.9156 | 0.9771 | --
EGC000:fa_Total | Total | -- | 13.6156 | 29.9492 | 47.7965 | 79.3162 | 93.6436 | 107.4037 | 128.1987 | 138.5351 | 145.1405 | 147.1956 | 150.6962 | 158.8982 | 163.7286 | 167.4593 | 169.5194 | 170.0572 | 171.3362 | 171.6852 | 173.9732 | 174.5222 | 175.0653 | 175.0653 | 175.1452 | 177.7462 | 177.7488 | 177.7518 | 177.7546 | 177.7712 | 177.8327 | --
EGC000:ga_TotalElectric | Total Electric Power Sector Capacity | 1107.3474 | 1142.9038 | 1178.7712 | 1214.582 | 1235.3738 | 1246.278 | 1281.6398 | 1277.7435 | 1292.2251 | 1311.8118 | 1331.1924 | 1352.4451 | 1370.2759 | 1402.4645 | 1443.6611 | 1467.5574 | 1480.3054 | 1492.2805 | 1501.2632 | 1514.322 | 1530.4177 | 1545.0891 | 1561.4052 | 1584.3824 | 1602.828 | 1626.2679 | 1651.1606 | 1671.7047 | 1689.9137 | 1710.7297 | 1.511%
End-Use Generators 12/
EGC000:ha_Coal | Coal | 1.7377 | 1.7325 | 1.7228 | 1.709 | 1.6889 | 1.6761 | 1.6621 | 1.6488 | 1.6351 | 1.6217 | 1.6086 | 1.5963 | 1.5841 | 1.5723 | 1.5612 | 1.5506 | 1.5402 | 1.5303 | 1.5207 | 1.5109 | 1.5019 | 1.4938 | 1.4858 | 1.477 | 1.469 | 1.462 | 1.4551 | 1.4479 | 1.44 | 1.4335 | -0.6614%
EGC000:ha_Petroleum | Petroleum | 0.53763 | 0.53776 | 0.53767 | 0.53745 | 0.53689 | 0.53659 | 0.53627 | 0.53599 | 0.5357 | 0.53539 | 0.53508 | 0.53478 | 0.53449 | 0.53418 | 0.5339 | 0.53364 | 0.53339 | 0.53315 | 0.53295 | 0.53271 | 0.53251 | 0.53233 | 0.53215 | 0.53192 | 0.53173 | 0.53162 | 0.53151 | 0.53144 | 0.53125 | 0.53117 | -0.0417%
EGC000:ha_NaturalGas | Natural Gas | 18.6825 | 18.9739 | 19.2102 | 19.3881 | 19.5183 | 19.6945 | 19.8573 | 20.0183 | 20.1711 | 20.3228 | 20.4758 | 20.6137 | 20.7566 | 20.8973 | 21.0392 | 21.1836 | 21.3346 | 21.4855 | 21.6398 | 21.7966 | 21.9556 | 22.1312 | 22.3086 | 22.4731 | 22.6504 | 22.8438 | 23.042 | 23.2426 | 23.4288 | 23.643 | 0.8153%
EGC000:ha_OtherGaseousF | Other Gaseous Fuels 13/ | 2.6622 | 2.6622 | 2.6856 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 0.0559%
EGC000:ha_RenewableSour | Renewable Sources 7/ | 47.0062 | 51.6502 | 56.3008 | 60.3268 | 63.2741 | 66.7741 | 69.5751 | 72.2878 | 75.4222 | 77.5952 | 80.1773 | 82.9674 | 86.2438 | 89.2436 | 91.1634 | 94.2058 | 97.9691 | 101.1261 | 104.8226 | 109.3928 | 113.5996 | 118.5178 | 123.0613 | 127.4194 | 132.5412 | 137.9917 | 143.0979 | 148.5697 | 154.264 | 159.4989 | 4.303%
EGC000:ha_Other | Other 14/ | 0.8858 | 0.8858 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.1895%
EGC000:ha_Total | Total | 71.5121 | 76.4423 | 81.3928 | 85.6028 | 88.6597 | 92.3228 | 95.2723 | 98.1324 | 101.4056 | 103.7166 | 106.4382 | 109.3536 | 112.7605 | 115.8888 | 117.9393 | 121.1151 | 125.0187 | 128.3165 | 132.1576 | 136.8744 | 141.2311 | 146.3166 | 151.0294 | 155.543 | 160.8338 | 166.4706 | 171.7679 | 177.4332 | 183.3056 | 188.7481 | 3.403%
EGC000:ia_CumulativeCap | Cumulative Capacity Additions 10/ | -- | 4.936 | 9.9024 | 14.148 | 17.3056 | 21.0617 | 24.1008 | 27.0179 | 30.3533 | 32.7872 | 35.5776 | 38.5502 | 42.0307 | 45.2289 | 47.534 | 50.7636 | 54.7277 | 58.0805 | 61.9747 | 66.7317 | 71.1419 | 76.2686 | 81.0065 | 85.5686 | 90.8961 | 96.5571 | 101.8757 | 107.5567 | 113.4865 | 118.9557 | --
1/ Net summer capacity is the steady hourly output that generating equipment is expected to supply to
system load (exclusive of auxiliary power), as demonstrated by tests during summer peak demand.
2/ Includes electricity-only and combined heat and power plants that have a regulatory status.
3/ Includes plants that only produce electricity and that have a regulatory status. Includes capacity increases (uprates) at existing units.
4/ Total coal and oil and natural gas steam capacity account for the conversion of coal capacity to gas steam capacity, but the conversions
are not included explicitly as additions or retirements. No planned conversions are assumed. The totals reflect any conversions projected by
the model.
5/ Includes oil-, gas-, and dual-fired capacity.
6/ Nuclear capacity includes 2.1 gigawatts of uprates.
7/ Includes conventional hydroelectric, geothermal, wood, wood waste, all municipal waste, landfill gas,
other biomass, solar, and wind power. Facilities co-firing biomass and coal are classified as coal.
8/ Primarily peak-load capacity fueled by natural gas.
9/ Includes combined heat and power plants whose primary business is to sell electricity and heat to the public
(i.e., those that report North American Industry Classification System code 22 or that have a regulatory status).
10/ Cumulative additions after December 31, 2021.
11/ Cumulative retirements after December 31, 2021.
12/ Includes combined heat and power plants and electricity-only plants in the commercial and industrial sectors that have a non-regulatory
status; and small on-site generating systems in the residential, commercial, and industrial sectors used primarily for own-use generation,
but which may also sell some power to the grid.
13/ Includes refinery gas and still gas.
14/ Includes batteries, chemicals, hydrogen, pitch, purchased steam, sulfur, and miscellaneous technologies.
- - = Not applicable.
Note: Totals may not equal sum of components due to independent rounding.
Sources: 2021: U.S. Energy Information Administration (EIA), Short-Term Energy Outlook, November 2021 and EIA,
AEO2022 National Energy Modeling System run ref2022.d011222a. Projections: EIA, AEO2022 National Energy Modeling System run ref2022.d011222a.

## AEO Table 9 2021
| highogs.d120120a | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
|  | Report | Annual Energy Outlook 2021
|  | Scenario | ref2021 |  |  | Reference case
|  | Datekey | d113020a
|  | Release Date |  | January 2021
EGC000 | 9. Electricity Generating Capacity | [31 empty] | Compound
| (gigawatts) | [31 empty] | Growth
2020-2050
| Net Summer Capacity 1/ | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | (percent)
Electric Power Sector 2/
Power Only 3/
EGC000:ba_CoalSteam | Coal 4/ | 217.3199 | 212.9165 | 208.2042 | 187.9456 | 177.849 | 111.6237 | 107.4985 | 99.0946 | 95.7936 | 93.3041 | 90.7721 | 89.3541 | 86.5151 | 84.8961 | 82.7603 | 81.1443 | 81.1443 | 80.8053 | 78.6853 | 78.3463 | 78.3463 | 78.0063 | 78.0063 | 78.0063 | 77.9853 | 75.0563 | 74.3763 | 74.3763 | 73.2663 | 73.2663 | 73.2663 | -3.559%
EGC000:ba_OtherFossilSt | Oil and Natural Gas Steam 4, 5/ | 72.6452 | 71.4501 | 66.599 | 62.0205 | 56.8395 | 69.8297 | 65.723 | 64.6805 | 63.0325 | 56.3031 | 56.2581 | 55.2846 | 55.0416 | 54.2978 | 53.7948 | 52.8243 | 51.9143 | 51.9143 | 51.9143 | 51.7883 | 51.7883 | 51.7883 | 51.7883 | 51.7883 | 51.7883 | 51.6823 | 51.6823 | 51.6823 | 51.6823 | 51.1293 | 51.1293 | -1.164%
EGC000:ba_CombinedCycle | Combined Cycle | 245.4191 | 248.7423 | 261.3423 | 266.8092 | 275.2362 | 295.5976 | 316.2475 | 340.6568 | 347.0215 | 351.84 | 356.6697 | 362.0602 | 368.0265 | 372.7322 | 377.6067 | 382.269 | 387.8067 | 394.6188 | 400.8257 | 405.3683 | 411.0444 | 416.148 | 421.7379 | 430.1592 | 439.6342 | 444.7296 | 450.2006 | 455.4233 | 462.2941 | 466.4181 | 472.562 | 2.208%
EGC000:ba_CombustionTur | Combustion Turbine/Diesel | 139.9988 | 151.966 | 157.284 | 163.1241 | 170.0527 | 186.3691 | 195.8647 | 201.5364 | 206.6529 | 210.3684 | 214.0186 | 217.9066 | 221.9084 | 224.9364 | 229.371 | 234.9454 | 239.2516 | 243.6584 | 246.7491 | 250.2475 | 255.839 | 259.136 | 265.7438 | 271.1349 | 275.7606 | 283.5457 | 289.1019 | 293.9766 | 298.9579 | 302.9755 | 310.841 | 2.695%
EGC000:ba_NuclearPower | Nuclear Power 6/ | 97.1209 | 92.4846 | 92.86 | 92.904 | 92.9548 | 91.8639 | 78.5384 | 70.4227 | 68.1009 | 61.7155 | 61.8015 | 59.6451 | 58.4568 | 57.4843 | 55.4384 | 55.6167 | 54.6272 | 52.6469 | 51.8319 | 51.8319 | 51.8756 | 52.0345 | 52.1495 | 49.8788 | 44.364 | 44.4678 | 44.5219 | 43.665 | 41.8587 | 41.8994 | 41.9618 | -2.759%
EGC000:ba_PumpedStorage | Pumped Storage | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 22.7783 | 0%
EGC000:ba_DiurnalStorag | Diurnal Storage | 3.151 | 6.9255 | 8.6238 | 9.5348 | 10.1965 | 11.0499 | 11.4673 | 11.8903 | 12.3013 | 12.7123 | 13.1233 | 13.1233 | 13.1285 | 13.1285 | 13.1285 | 16.0838 | 16.1617 | 16.1597 | 16.1597 | 16.1597 | 16.4097 | 16.4097 | 16.4097 | 16.4097 | 16.4097 | 16.6597 | 16.6597 | 16.7392 | 17.0353 | 17.2584 | 17.7776 | 5.937%
EGC000:ba_FuelCells | Fuel Cells | 0.2042 | 0.2303 | 0.2303 | 0.2314 | 0.2325 | 0.2325 | 0.2325 | 0.2325 | 0.2325 | 0.2325 | 0.2325 | 0.2314 | 0.2314 | 0.2314 | 0.2314 | 0.23244 | 0.23244 | 0.23244 | 0.23244 | 0.23244 | 0.23244 | 0.23244 | 0.23244 | 0.23244 | 0.23244 | 0.23244 | 0.23244 | 0.23345 | 0.23345 | 0.23345 | 0.23345 | 0.4472%
EGC000:ba_RenewableSour | Renewable Sources 7/ | 263.9309 | 283.6808 | 302.7062 | 334.729 | 369.977 | 389.3086 | 402.9924 | 409.7299 | 416.538 | 427.1508 | 435.9037 | 439.8544 | 445.5559 | 452.2225 | 463.2723 | 476.5266 | 486.4434 | 493.0156 | 502.824 | 508.0713 | 514.4315 | 519.5792 | 524.2912 | 531.3083 | 540.6793 | 550.0096 | 563.0054 | 580.0959 | 601.6575 | 626.5743 | 637.3163 | 2.982%
EGC000:ba_DistributedGe | Distributed Generation (Natural Gas) 8/ | 0 | 0 | 1.5577 | 2.0298 | 2.5895 | 3.7884 | 4.3696 | 5.0523 | 5.9727 | 6.8292 | 7.5519 | 8.337 | 9.1963 | 10.1022 | 11.1183 | 12.2024 | 13.4686 | 14.8282 | 16.0637 | 17.3374 | 18.6503 | 19.9959 | 21.4093 | 23.1423 | 24.9061 | 26.6912 | 28.4529 | 30.2976 | 32.2906 | 34.3087 | 36.5059 | - -
EGC000:ba_Total | Total | 1062.5685 | 1091.1744 | 1122.1857 | 1142.1067 | 1178.7061 | 1182.4419 | 1205.7122 | 1226.0745 | 1238.4241 | 1243.2341 | 1259.1097 | 1268.5752 | 1280.8389 | 1292.8097 | 1309.5 | 1334.6233 | 1353.8286 | 1370.6581 | 1388.0643 | 1402.1615 | 1421.3959 | 1436.1086 | 1454.5468 | 1474.8383 | 1494.5382 | 1515.8528 | 1541.0117 | 1569.2681 | 1602.0544 | 1636.842 | 1664.3718 | 1.507%
Combined Heat and Power 9/
EGC000:ca_CoalSteam | Coal | 1.8879 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | 1.7829 | -0.1906%
EGC000:ca_OtherFossilSt | Oil and Natural Gas Steam 5/ | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0.6218 | 0%
EGC000:ca_CombinedCycle | Combined Cycle | 21.9797 | 21.9797 | 21.9797 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | 21.8011 | -0.0272%
EGC000:ca_CombustionTur | Combustion Turbine/Diesel | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 3.1476 | 0%
EGC000:ca_RenewableSour | Renewable Sources 7/ | 0.9772 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.9792 | 0.0068%
EGC000:ca_Total | Total | 28.6142 | 28.5112 | 28.5112 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | 28.3326 | -0.033%
Cumulative Planned Additions 10/
EGC000:da_CoalSteam | Coal | - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - -
EGC000:da_OtherFossilSt | Oil and Natural Gas Steam 5/ | - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - -
EGC000:da_CombinedCycle | Combined Cycle | - - | 3.3792 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | 17.0002 | - -
EGC000:da_CombustionTur | Combustion Turbine/Diesel | - - | 3.2778 | 4.0289 | 4.0289 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | 4.5459 | - -
EGC000:da_NuclearPower | Nuclear Power | - - | 1.1 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | - -
EGC000:da_PumpedStorage | Pumped Storage | - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - -
EGC000:da_DiurnalStorag | Diurnal Storage | - - | 3.7745 | 5.4728 | 6.3838 | 7.0148 | 7.4578 | 7.8688 | 8.2798 | 8.6908 | 9.1018 | 9.5128 | 9.5128 | 9.5128 | 9.5128 | 9.5128 | 12.4628 | 12.4628 | 12.4628 | 12.4628 | 12.4628 | 12.7128 | 12.7128 | 12.7128 | 12.7128 | 12.7128 | 12.9628 | 12.9628 | 12.9628 | 12.9628 | 12.9628 | 12.9628 | - -
EGC000:da_FuelCells | Fuel Cells | - - | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | 0.0261 | - -
EGC000:da_RenewableSour | Renewable Sources 7/ | - - | 19.6509 | 29.9227 | 32.8617 | 33.4217 | 33.4217 | 33.4217 | 33.4217 | 35.4217 | 35.4217 | 42.5217 | 42.5217 | 42.5217 | 42.5217 | 47.7217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | 55.9217 | - -
EGC000:da_DistributedGe | Distributed Generation 8/ | - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - -
EGC000:da_Total | Total | - - | 31.2085 | 58.6507 | 62.5007 | 64.2087 | 64.6517 | 65.0627 | 65.4737 | 67.8847 | 68.2957 | 75.8067 | 75.8067 | 75.8067 | 75.8067 | 81.0067 | 92.1567 | 92.1567 | 92.1567 | 92.1567 | 92.1567 | 92.4067 | 92.4067 | 92.4067 | 92.4067 | 92.4067 | 92.6567 | 92.6567 | 92.6567 | 92.6567 | 92.6567 | 92.6567 | - -
Cumulative Unplanned Additions 10/
EGC000:ea_CoalSteam | Coal | - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - -
EGC000:ea_OtherFossilSt | Oil and Natural Gas Steam 5/ | - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - -
EGC000:ea_CombinedCycle | Combined Cycle | - - | 0 | 0 | 6.8555 | 16.4506 | 38.2561 | 58.906 | 83.7653 | 90.1794 | 95.042 | 100.9355 | 107.211 | 113.1773 | 117.9457 | 122.9622 | 127.6955 | 133.2332 | 140.0453 | 146.2523 | 151.4478 | 157.124 | 162.2275 | 168.3285 | 176.7498 | 186.2248 | 191.3471 | 196.8182 | 202.67 | 209.5407 | 213.7213 | 219.8652 | - -
EGC000:ea_CombustionTur | Combustion Turbine/Diesel | - - | 8.7081 | 13.3558 | 19.8334 | 26.8145 | 43.1905 | 53.9462 | 60.2505 | 65.3721 | 69.0877 | 73.1024 | 76.9904 | 81.1542 | 84.303 | 88.7561 | 94.3476 | 98.6537 | 103.0606 | 106.1638 | 109.6622 | 115.2536 | 118.7596 | 125.3995 | 130.7906 | 135.4163 | 143.2883 | 148.8446 | 153.7192 | 158.766 | 162.7837 | 170.6492 | - -
EGC000:ea_NuclearPower | Nuclear Power | - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - -
EGC000:ea_PumpedStorage | Pumped Storage | - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - -
EGC000:ea_DiurnalStorag | Diurnal Storage | - - | 0 | 0 | 0 | 0.031726 | 0.44207 | 0.44847 | 0.46053 | 0.46053 | 0.46053 | 0.46053 | 0.46053 | 0.46573 | 0.46573 | 0.46573 | 0.47096 | 0.54892 | 0.54892 | 0.54892 | 0.54892 | 0.54892 | 0.54892 | 0.54892 | 0.54892 | 0.54892 | 0.54892 | 0.54892 | 0.62841 | 0.92449 | 1.1476 | 1.6668 | - -
EGC000:ea_FuelCells | Fuel Cells | - - | 0 | 0 | 0.001097 | 0.002198 | 0.002198 | 0.002198 | 0.002198 | 0.002198 | 0.002198 | 0.002198 | 0.002198 | 0.002198 | 0.002198 | 0.002198 | 0.003243 | 0.003243 | 0.003243 | 0.003243 | 0.003243 | 0.003243 | 0.003243 | 0.003243 | 0.003243 | 0.003243 | 0.003243 | 0.003243 | 0.004245 | 0.004245 | 0.004245 | 0.004245 | - -
EGC000:ea_RenewableSour | Renewable Sources 7/ | - - | 0.10099 | 8.8666 | 37.9733 | 72.6773 | 92.0134 | 105.6973 | 112.4394 | 117.4557 | 128.1479 | 129.8009 | 133.7516 | 139.453 | 146.1196 | 151.9695 | 157.0237 | 166.9405 | 173.5128 | 183.3211 | 188.5685 | 194.9286 | 200.0763 | 204.7883 | 211.8054 | 221.2564 | 230.5866 | 243.5824 | 260.6759 | 282.2375 | 307.1695 | 317.9113 | - -
EGC000:ea_DistributedGe | Distributed Generation 8/ | - - | 0 | 1.5577 | 2.0298 | 2.5895 | 3.7884 | 4.3696 | 5.0523 | 5.9727 | 6.8292 | 7.5519 | 8.337 | 9.1963 | 10.1022 | 11.1183 | 12.2024 | 13.4686 | 14.8282 | 16.0637 | 17.3374 | 18.6503 | 19.9959 | 21.4093 | 23.1423 | 24.9061 | 26.6912 | 28.4529 | 30.2976 | 32.2906 | 34.3087 | 36.5059 | - -
EGC000:ea_Total | Total | - - | 8.8091 | 23.7801 | 66.6931 | 118.5658 | 177.6927 | 223.3697 | 261.9702 | 279.4425 | 299.5694 | 311.8533 | 326.7526 | 343.4487 | 358.9384 | 375.274 | 391.7434 | 412.8482 | 431.9989 | 452.353 | 467.5679 | 486.5087 | 501.6116 | 520.4778 | 543.0403 | 568.3558 | 592.4655 | 618.2502 | 647.9955 | 683.7634 | 719.1348 | 746.6025 | - -
EGC000:ea_CumulativeEle | Cumulative Electric Power Sector Additions 10 | - - | 40.0177 | 82.4309 | 129.1938 | 182.7745 | 242.3444 | 288.4324 | 327.4439 | 347.3272 | 367.8651 | 387.66 | 402.5593 | 419.2554 | 434.7451 | 456.2808 | 483.9002 | 505.0049 | 524.1556 | 544.5097 | 559.7247 | 578.9154 | 594.0183 | 612.8845 | 635.447 | 660.7626 | 685.1222 | 710.9069 | 740.6522 | 776.4201 | 811.7915 | 839.2593 | - -
Cumulative Retirements 11/
EGC000:fa_CoalSteam | Coal | - - | 4.5084 | 9.2207 | 29.4793 | 39.5759 | 89.7424 | 93.8676 | 102.2715 | 105.5725 | 108.062 | 110.594 | 112.012 | 114.851 | 116.47 | 118.6058 | 120.2218 | 120.2218 | 120.5608 | 122.6808 | 123.0198 | 123.0198 | 123.3598 | 123.3598 | 123.3598 | 123.3808 | 126.3098 | 126.9898 | 126.9898 | 128.0998 | 128.0998 | 128.0998 | - -
EGC000:fa_OtherFossilSt | Oil and Natural Gas Steam 5/ | - - | 1.1951 | 6.0462 | 10.6247 | 15.8057 | 18.8743 | 22.981 | 24.0235 | 25.6715 | 32.4009 | 32.4459 | 33.4194 | 33.6624 | 34.4062 | 34.9092 | 35.8797 | 36.7897 | 36.7897 | 36.7897 | 36.9157 | 36.9157 | 36.9157 | 36.9157 | 36.9157 | 36.9157 | 37.0217 | 37.0217 | 37.0217 | 37.0217 | 37.5747 | 37.5747 | - -
EGC000:fa_CombinedCycle | Combined Cycle | - - | 0.056 | 1.077 | 2.6442 | 3.8123 | 5.2564 | 5.2564 | 5.7064 | 5.7558 | 5.7999 | 6.8637 | 7.7487 | 7.7487 | 7.8114 | 7.9534 | 8.0244 | 8.0244 | 8.0244 | 8.0244 | 8.6774 | 8.6774 | 8.6774 | 9.1885 | 9.1885 | 9.1885 | 9.2155 | 9.2155 | 9.8445 | 9.8445 | 9.9011 | 9.9011 | - -
EGC000:fa_CombustionTur | Combustion Turbine/Diesel | - - | 0.0188 | 0.0996 | 0.7371 | 1.3065 | 1.3661 | 2.6262 | 3.2588 | 3.264 | 3.264 | 3.6285 | 3.6285 | 3.7905 | 3.9113 | 3.9299 | 3.9469 | 3.9469 | 3.9469 | 3.9594 | 3.9594 | 3.9594 | 4.1684 | 4.2004 | 4.2004 | 4.2004 | 4.2874 | 4.2874 | 4.2874 | 4.3529 | 4.3529 | 4.3529 | - -
EGC000:fa_NuclearPower | Nuclear Power | - - | 5.7363 | 6.5079 | 6.5079 | 6.5079 | 7.6299 | 20.9866 | 29.1374 | 31.4944 | 37.9248 | 37.9248 | 40.2199 | 41.5046 | 42.5696 | 44.7036 | 44.7036 | 45.8257 | 47.8327 | 48.6745 | 48.6745 | 48.6745 | 48.6745 | 48.6745 | 51.0562 | 56.6669 | 56.6669 | 56.6669 | 57.5779 | 59.4179 | 59.4179 | 59.4179 | - -
EGC000:fa_PumpedStorage | Pumped Storage | - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - -
EGC000:fa_DiurnalStorag | Diurnal Storage | - - | 0 | 0 | 0 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | - -
EGC000:fa_FuelCells | Fuel Cells | - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | - -
EGC000:fa_RenewableSour | Renewable Sources 7/ | - - | 0 | 0.0121 | 0.0349 | 0.0509 | 0.0554 | 0.0554 | 0.06 | 0.2323 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3117 | 0.3916 | 0.3916 | 0.3916 | 0.3946 | 0.3946 | 0.4096 | 0.4096 | - -
EGC000:fa_Total | Total | - - | 11.5146 | 22.9635 | 50.0281 | 67.0602 | 122.9255 | 145.7742 | 164.4586 | 172.0275 | 187.8003 | 191.8056 | 197.3783 | 201.907 | 205.5183 | 210.4517 | 213.1262 | 215.1583 | 217.5063 | 220.4805 | 221.5985 | 221.5985 | 222.1475 | 222.6906 | 225.0723 | 230.784 | 233.933 | 234.613 | 236.156 | 239.1715 | 239.7961 | 239.7961 | - -
EGC000:ga_TotalElectric | Total Electric Power Sector Capacity | 1091.1827 | 1119.6857 | 1150.6969 | 1170.4393 | 1207.0387 | 1210.7745 | 1234.0448 | 1254.4071 | 1266.7567 | 1271.5668 | 1287.4424 | 1296.9078 | 1309.1715 | 1321.1423 | 1337.8326 | 1362.9559 | 1382.1613 | 1398.9907 | 1416.397 | 1430.4941 | 1449.7285 | 1464.4413 | 1482.8794 | 1503.1709 | 1522.8709 | 1544.1854 | 1569.3444 | 1597.6007 | 1630.3871 | 1665.1747 | 1692.7045 | 1.474%
End-Use Generators 12/
EGC000:ha_Coal | Coal | 1.9456 | 1.9163 | 1.925 | 1.9226 | 1.927 | 1.9262 | 1.9241 | 1.9207 | 1.9166 | 1.9101 | 1.9073 | 1.9038 | 1.9006 | 1.8953 | 1.8918 | 1.8904 | 1.8876 | 1.8854 | 1.8845 | 1.8836 | 1.8799 | 1.8775 | 1.8767 | 1.8778 | 1.8753 | 1.8742 | 1.8718 | 1.8686 | 1.867 | 1.8653 | 1.8653 | -0.1404%
EGC000:ha_Petroleum | Petroleum | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0.56876 | 0%
EGC000:ha_NaturalGas | Natural Gas | 17.8404 | 18.414 | 18.7444 | 19.04 | 19.3906 | 19.7574 | 20.1383 | 20.5238 | 20.9068 | 21.2854 | 21.6557 | 22.0325 | 22.4093 | 22.7894 | 23.1823 | 23.5961 | 24.0221 | 24.4699 | 24.9437 | 25.4366 | 25.9432 | 26.4945 | 27.1066 | 27.7999 | 28.56 | 29.406 | 30.3351 | 31.3457 | 32.4473 | 33.6791 | 35.0765 | 2.279%
EGC000:ha_OtherGaseousF | Other Gaseous Fuels 13/ | 2.8464 | 2.8697 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 2.8899 | 0.0506%
EGC000:ha_RenewableSour | Renewable Sources 7/ | 40.2048 | 45.8015 | 50.1774 | 53.5869 | 56.8235 | 60.7267 | 64.0437 | 68.1813 | 71.7352 | 75.2606 | 78.7236 | 82.7295 | 86.0375 | 89.8111 | 93.5864 | 97.5058 | 102.0286 | 105.9903 | 110.2551 | 114.5419 | 118.9709 | 123.3532 | 127.818 | 132.4151 | 136.864 | 141.624 | 146.9778 | 151.496 | 155.9862 | 160.2906 | 164.9239 | 4.817%
EGC000:ha_Other | Other 14/ | 0.6358 | 0.6358 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.6858 | 0.2527%
EGC000:ha_Total | Total | 64.0417 | 70.2062 | 74.9913 | 78.694 | 82.2855 | 86.5547 | 90.2505 | 94.7702 | 98.703 | 102.6005 | 106.431 | 110.8102 | 114.4919 | 118.6402 | 122.8049 | 127.1368 | 132.0828 | 136.49 | 141.2278 | 146.0064 | 150.9384 | 155.8696 | 160.9458 | 166.2372 | 171.4437 | 177.0487 | 183.3291 | 188.8547 | 194.445 | 199.9795 | 206.01 | 3.971%
EGC000:ia_CumulativeCap | Cumulative Capacity Additions 10/ | - - | 6.1937 | 10.9788 | 14.6839 | 18.2755 | 22.5455 | 26.2446 | 30.7677 | 34.7046 | 38.6086 | 42.442 | 46.8246 | 50.5095 | 54.6632 | 58.8314 | 63.1646 | 68.1134 | 72.5229 | 77.2615 | 82.041 | 86.9767 | 91.9103 | 96.9873 | 102.2787 | 107.4876 | 113.0936 | 119.3765 | 124.9053 | 130.4972 | 136.0768 | 142.1073 | - -
1/ Net summer capacity is the steady hourly output that generating equipment is expected to supply to
system load (exclusive of auxiliary power), as demonstrated by tests during summer peak demand.
2/ Includes electricity-only and combined heat and power plants that have a regulatory status.
3/ Includes plants that only produce electricity and that have a regulatory status. Includes capacity increases (uprates) at existing units.
4/ Total coal and oil and natural gas steam capacity account for the conversion of coal capacity to gas steam capacity, but the conversions
are not included explicitly as additions or retirements. No planned conversions are assumed. The totals reflect any conversions projected by
the model.
5/ Includes oil-, gas-, and dual-fired capacity.
6/ Nuclear capacity includes 2.1 gigawatts of uprates.
7/ Includes conventional hydroelectric, geothermal, wood, wood waste, all municipal waste, landfill gas,
other biomass, solar, and wind power. Facilities co-firing biomass and coal are classified as coal.
8/ Primarily peak-load capacity fueled by natural gas.
9/ Includes combined heat and power plants whose primary business is to sell electricity and heat to the public
(i.e., those that report North American Industry Classification System code 22 or that have a regulatory status).
10/ Cumulative additions after December 31, 2020.
11/ Cumulative retirements after December 31, 2020.
12/ Includes combined heat and power plants and electricity-only plants in the commercial and industrial sectors that have a non-regulatory
status; and small on-site generating systems in the residential, commercial, and industrial sectors used primarily for own-use generation,
but which may also sell some power to the grid.
13/ Includes refinery gas and still gas.
14/ Includes batteries, chemicals, hydrogen, pitch, purchased steam, sulfur, and miscellaneous technologies.
- - = Not applicable.
Note: Totals may not equal sum of components due to independent rounding.
Sources: 2020: U.S. Energy Information Administration (EIA), Short-Term Energy Outlook, October 2020 and EIA,
AEO2021 National Energy Modeling System run highogs.d120120a. Projections: EIA, AEO2021 National Energy Modeling System run highogs.d120120a.

## BPHC
Year | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Pumped Storage Capacity (MW) | 22778.303 | 23016.205 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704 | 23007.704

## BPHC-PHCaDHpD
Unit: hours | Hours
Charging and discharging | 8