## About
DRC BAU Demand Response Capacity
DRC Potential Additional Demand Response Capacity
DRC Hours of DR Average Utility May Call Upon per Year
DRC Average DR Hours per DR Event
Sources: | 2019 Capacity and 2030 Projection
Brattle Group
2019
The National Potential for Load Flexibility
https://brattlefiles.blob.core.windows.net/files/16639_national_potential_for_load_flexibility_-_final.pdf
Slide 18
Hours of Shift DR Average Utility May Call Upon per Year and Average DR Hours per Day on Days When DR is Called Upon
U.S. Department of Energy
undated
Demand Response and Time-Variable Pricing Programs: Western States
https://www.energy.gov/eere/femp/demand-response-and-time-variable-pricing-programs-western-states
Using "California Independent System Operator (CAISO) Proxy Demand Response and Reliability Demand Response program" (under "California" section)
Curtailment Deflator
California ISO
2025
Demand Response Issues and Performance, 2024
https://www.caiso.com/documents/demand-response-issues-and-performance-2024-mar-14-2025.pdf
Page 4 (key findings), second bullet
Notes:
Demand response is defined as the potential to reduce or shift electricity usage during peak
periods in response to time-based rates or other financial incentives.
We use a Brattle analysis to estimate the potential in 2030, and scale the potential between 2019 and 2050 linearly.
We also require input data on the total number of hours of DR the average utility may call upon per year
and the typical length of each DR event in hours. These are used to apportion the DR capacity to different
days and hours correctly in the model.
We apply a curtailment multiplier to discount the amount of available capacity by the amount of DR that is available
on average when called upon. According to CAISO, "on high demand days in the summer, about 70 percent of totaldemand response capacity dispatched in real-time reported performing as scheduled"

## Data and Calculations
Brattle Capacity Projections (MW)
2019 | 2030
59000 | 198000
Deflator
0.3
DR Hours per Year and per Event
CAISO's Proxy Demand Response and Reliability Demand Response programs specifies:
Max of 48 hours of DR per 6-month period (96 per year)
Participants must be able to maintain demand reduction for at least 4 hours per DR event
Hours of Shift DR per Year
96
Hours of DR per Event
4

## DRC-BDRC
Year | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
DR Capacity (MW) | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300 | 41300

## DRC-PADRC
Year | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Potential Additional DR Capacity (MW) | 12390 | 12390 | 21235.4545 | 30080.9091 | 38926.3636 | 47771.8182 | 56617.2727 | 65462.7273 | 74308.1818 | 83153.6364 | 91999.0909 | 100844.5455 | 109690 | 118535.4545 | 127380.9091 | 136226.3636 | 145071.8182 | 153917.2727 | 162762.7273 | 171608.1818 | 180453.6364 | 189299.0909 | 198144.5455 | 206990 | 215835.4545 | 224680.9091 | 233526.3636 | 242371.8182 | 251217.2727 | 260062.7273 | 268908.1818 | 277753.6364 | 286599.0909

## DRC-ADRHpDRE
Unit: hours | Hours per Event
DR Hours per DR Event | 4