## About
ASCAPEX Annual Sustaining CAPEX by Generator Age
Sources: | Age-related sustaining CAPEX terms (coal slope; nuclear and wind adders)
U.S. Energy Information Administration (EIA), as recorded in the EPS CCaMC workbook
'Capacity Construction and Maint Costs.xlsx', 'Annual CAPEX Calcs' sheet (InputData/elec/CCaMC), read 2026-08-12
2026
n/a (see the CCaMC workbook's own About for the underlying EIA publications)
Coal and lignite (incl. CCS variants): EIA equation CAPEX(2017 $/kW-yr) = 16.53 + 0.126 x age + 5.68 x FGD -> age slope 0.126 2017-$/kW-yr per year (x0.921 GDP deflator to 2012$, x1000 to $/MW-yr); the FGD term and deflator level wash into the anchored base. Nuclear: 28 base + 39 '>30 years' adder (2021 $/kW-yr, x0.8287 to 2012$). Onshore/offshore wind: 0 base, +4 '>30yr', +4 incremental '>40yr' (2021 $/kW-yr, x0.8287).
Derivation and anchoring
Energy Innovation
2026
calibration
Notes:
Concept | Age-graded annual sustaining CAPEX (base + age slope + '>30yr' adder + incremental '>40yr' adder), replacing the flat CCaMC ACAPEXpUC constant. Needed because vintages cross the 30/40-year thresholds mid-run - a constant input cannot represent that. With oldest-first retirement, the fleet-weighted cost bar falls as old cohorts exit
Coverage | Types without documented age terms (everything except coal/lignite, nuclear, and wind) get a flat base with zero slope/adders - behavior unchanged, and the fallback for regions without vintage data. SMR and hydrogen techs are deliberately flat (no old vintages).

## ASCAPEX-base
Unit: $/MW/yr | Annual sustaining CAPEX base
hard coal | 24015.21
natural gas steam turbine | 8473.04
natural gas combined cycle | 0.00
nuclear | 55528.12
hydro | 0.00
onshore wind | 12.18
solar PV | 0.00
solar thermal | 0.00
biomass | 8473.04
geothermal | 0.00
petroleum | 8473.04
natural gas peaker | 0.00
lignite | 24015.21
offshore wind | 0.00
crude oil | 0.00
heavy or residual fuel oil | 8473.04
municipal solid waste | 8473.04
hard coal w CCS | 24015.21
natural gas combined cycle w CCS | 0.00
biomass w CCS | 8473.04
lignite w CCS | 24015.21
small modular reactor | 55528.12
hydrogen combustion turbine | 0.00
hydrogen combined cycle | 0.00

## ASCAPEX-slope
Unit: $/MW/yr per year of age | Age slope (EIA coal equation)
hard coal | 116.05
natural gas steam turbine | 0.00
natural gas combined cycle | 0.00
nuclear | 0.00
hydro | 0.00
onshore wind | 0.00
solar PV | 0.00
solar thermal | 0.00
biomass | 0.00
geothermal | 0.00
petroleum | 0.00
natural gas peaker | 0.00
lignite | 116.05
offshore wind | 0.00
crude oil | 0.00
heavy or residual fuel oil | 0.00
municipal solid waste | 0.00
hard coal w CCS | 116.05
natural gas combined cycle w CCS | 0.00
biomass w CCS | 0.00
lignite w CCS | 116.05
small modular reactor | 0.00
hydrogen combustion turbine | 0.00
hydrogen combined cycle | 0.00

## ASCAPEX-adder30
Unit: $/MW/yr | Adder for age > 30
hard coal | 0.00
natural gas steam turbine | 0.00
natural gas combined cycle | 0.00
nuclear | 32319.30
hydro | 0.00
onshore wind | 3314.80
solar PV | 0.00
solar thermal | 0.00
biomass | 0.00
geothermal | 0.00
petroleum | 0.00
natural gas peaker | 0.00
lignite | 0.00
offshore wind | 3314.80
crude oil | 0.00
heavy or residual fuel oil | 0.00
municipal solid waste | 0.00
hard coal w CCS | 0.00
natural gas combined cycle w CCS | 0.00
biomass w CCS | 0.00
lignite w CCS | 0.00
small modular reactor | 0.00
hydrogen combustion turbine | 0.00
hydrogen combined cycle | 0.00

## ASCAPEX-adder40
Unit: $/MW/yr | Incremental adder for age > 40
hard coal | 0.00
natural gas steam turbine | 0.00
natural gas combined cycle | 0.00
nuclear | 0.00
hydro | 0.00
onshore wind | 3314.80
solar PV | 0.00
solar thermal | 0.00
biomass | 0.00
geothermal | 0.00
petroleum | 0.00
natural gas peaker | 0.00
lignite | 0.00
offshore wind | 3314.80
crude oil | 0.00
heavy or residual fuel oil | 0.00
municipal solid waste | 0.00
hard coal w CCS | 0.00
natural gas combined cycle w CCS | 0.00
biomass w CCS | 0.00
lignite w CCS | 0.00
small modular reactor | 0.00
hydrogen combustion turbine | 0.00
hydrogen combined cycle | 0.00