## About
BDCL BAU Data Center Load
Sources: | Projected Demand through 2030 | Historic Demand, Projected Demand for mid and high scenarios
| EPRI | IEA
| 2026 | 2026
| Powering Intelligence 2026 | Key Questions on Energy and AI
| https://powering-intelligence.epri.com/ | https://www.iea.org/reports/key-questions-on-energy-and-ai
| U.S. National data download | Table A.4: Data centres electricity consumption by region
Low Demand Scenario
EIA
2025
Annual Energy Outlook 2026
https://www.eia.gov/outlooks/aeo/
Table 5
2030-2050 Demand for Mid and High Scenarios
Evolved Energy Research
2024
2024 U.S. Annual Decarbonization Perspective
https://www.evolved.energy/us-adp-2024
We use EPRI forecasts through 2030 for our low-, medium-, and high-demand projections.
After 2030, we use AEO for the low scenario, and Evolved Energy's Annual Decarbonization
Perspective mid- and high-growth scenarios for the EPS equivalents.
Notes on Data Center Load in AEO
AEO 2026 breaks out data center server demand explicitly, but leaves associated cooling and
ventilation baked into other commercial building end uses. We use the data center server
demand alone for the "low" scenario forecasting in EPS.
quad to TWh
293
End-use split | Each scenario's data center load is split into two end uses that the model treats separately: IT load (the 'other component' row) and facility load for cooling, ventilation and power distribution (the 'cooling and ventilation' row). The split comes from the power usage effectiveness (PUE) path on the 'End Use Split' tab. Totals are unchanged by the split.

## Low_Mid_High Scenarios
Full Time Series
Scenario | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
low | 184 | 224 | 263 | 308 | 345 | 371 | 396 | 411.4909 | 427.2792 | 443.357 | 459.6692 | 476.1683 | 492.772 | 509.4036 | 525.8573 | 541.9881 | 557.6466 | 572.7733 | 587.1286 | 600.7261 | 613.3313 | 624.9481 | 635.2981 | 644.2914 | 651.8297 | 657.857 | 663.2098
mid | 184 | 224 | 290 | 369 | 448 | 518 | 585 | 615.4 | 645.8 | 676.2 | 706.6 | 737 | 753.6 | 770.2 | 786.8 | 803.4 | 820 | 829.4 | 838.8 | 848.2 | 857.6 | 867 | 876.4 | 885.8 | 895.2 | 904.6 | 914
high | 184 | 224 | 314 | 425 | 544 | 653 | 760 | 825 | 890 | 955 | 1020 | 1085 | 1120.8 | 1156.6 | 1192.4 | 1228.2 | 1264 | 1309.7 | 1355.4 | 1401.1 | 1446.8 | 1492.5 | 1538.2 | 1583.9 | 1629.6 | 1675.3 | 1721
mid share of AEO commercial |  | 15.21% | 18.84% | 23.73% | 28.44% | 32.48% | 36.37% | 37.91% | 39.39% | 40.8% | 42.15% | 43.45% | 43.85% | 44.25% | 44.63% | 45.01% | 45.39% | 45.34% | 45.3% | 45.25% | 45.2% | 45.15% | 45.15% | 45.2% | 45.28% | 45.37% | 45.49%
Color Code
EPRI Historical
IEA Historical
AEO
EPRI Low
EPRI Mid
EPRI High
ADP mid growth rate
ADP high growth rate
Extrapolated ADO Trajectories
use mid case growth trajectory from Evolved Energy
Growth Rate Estimates
|  | 2025 | 2030 | 2035 | 2040 | 2050
| evolved energy mid | 279 | 541 | 693 | 776 | 870
| evolved energy high | 279 | 718 | 1043 | 1222 | 1679
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| evolved energy mid | 279 | 331.4 | 383.8 | 436.2 | 488.6 | 541 | 571.4 | 601.8 | 632.2 | 662.6 | 693 | 709.6 | 726.2 | 742.8 | 759.4 | 776 | 785.4 | 794.8 | 804.2 | 813.6 | 823 | 832.4 | 841.8 | 851.2 | 860.6 | 870
ADP | growth rate |  | 5.619% | 5.619% | 5.619% | 5.619% | 5.619% | 5.619% | 5.32% | 5.052% | 4.809% | 4.588% | 2.395% | 2.339% | 2.286% | 2.235% | 2.186% | 1.211% | 1.197% | 1.183% | 1.169% | 1.155% | 1.142% | 1.129% | 1.117% | 1.104% | 1.092%
|  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| evolved energy high | 279 | 366.8 | 454.6 | 542.4 | 630.2 | 718 | 783 | 848 | 913 | 978 | 1043 | 1078.8 | 1114.6 | 1150.4 | 1186.2 | 1222 | 1267.7 | 1313.4 | 1359.1 | 1404.8 | 1450.5 | 1496.2 | 1541.9 | 1587.6 | 1633.3 | 1679
ADP high | growth rate | 9.053% | 9.053% | 9.053% | 9.053% | 9.053% | 9.053% | 9.053% | 8.301% | 7.665% | 7.119% | 6.646% | 3.432% | 3.319% | 3.212% | 3.112% | 3.018% | 3.74% | 3.605% | 3.48% | 3.363% | 3.253% | 3.151% | 3.054% | 2.964% | 2.879% | 2.798%

## End Use Split
Data center end-use split (facility vs IT load)
PUE = total facility electricity / IT electricity. IT load goes to the 'other component' row, facility load (cooling, ventilation, power distribution) to 'cooling and ventilation'. Source: LBNL, 2024 United States Data Center Energy Usage Report (Shehabi et al., LBNL-2001637, Dec 2024): US average PUE 1.4 in 2023 (p. 47; infrastructure 30% of total electricity, p. 53) falling to 1.15-1.35 by 2028 (p. 47, Fig. 4.6). The path used here starts at 1.40 in 2024 and falls in a straight line to 1.25 in 2028 (the middle of LBNL's range), then holds flat; the same path is used for all three load scenarios. To use a different path, change cells B4:B7.
PUE in first year | 1.4
First year | 2024
PUE in target year | 1.25
Target year (held flat after) | 2028
Year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
PUE | 1.4 | 1.3625 | 1.325 | 1.2875 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25 | 1.25
Facility share (cooling and ventilation) = 1 - 1/PUE | 0.28571 | 0.26606 | 0.24528 | 0.2233 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
IT share (other component) = 1/PUE | 0.71429 | 0.73394 | 0.75472 | 0.7767 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8

## EPRI
Scenario | State | Year | Nominal Capacity (GW) | Peak Load (GW) | Annual Energy (TWh)
Historical | US | 2021 | 10.5 | 10.3 | 91.4
Historical | US | 2022 | 16 | 13.9 | 116
Historical | US | 2023 | 25.5 | 16.7 | 141
Historical | US | 2024 | 39.8 | 21.5 | 184
Low | US | 2024 | 35.1 | 20.7 | 177
Low | US | 2025 | 38.7 | 24.8 | 212
Low | US | 2026 | 42.2 | 29.7 | 251 | 39
Low | US | 2027 | 45.6 | 35.1 | 296 | 84
Low | US | 2028 | 49.1 | 39.4 | 333 | 121
Low | US | 2029 | 52.6 | 42.5 | 359 | 147
Low | US | 2030 | 56.1 | 45.4 | 384 | 172
Medium | US | 2024 | 39.8 | 21.5 | 184
Medium | US | 2025 | 49.1 | 27.7 | 235
Medium | US | 2026 | 58.5 | 35.5 | 301 | 66
Medium | US | 2027 | 67.8 | 45 | 380 | 145
Medium | US | 2028 | 77.2 | 54.4 | 459 | 224
Medium | US | 2029 | 86.5 | 62.6 | 529 | 294
Medium | US | 2030 | 95.9 | 70.7 | 596 | 361
High | US | 2024 | 44.5 | 22.4 | 192
High | US | 2025 | 59.1 | 30.4 | 258
High | US | 2026 | 73.8 | 41.1 | 348 | 90
High | US | 2027 | 88.5 | 54.4 | 459 | 201
High | US | 2028 | 103 | 68.5 | 578 | 320
High | US | 2029 | 118 | 81.5 | 687 | 429
High | US | 2030 | 132 | 94 | 794 | 536

## IEA
TWh | 2024 | 2025 | 2030
United States | 183 | 224 | 426

## AEO 2026 Table 5
Table 5. Commercial Sector Key Indicators and Consumption
https://www.eia.gov/outlooks/aeo/data/browser/#/?id=5-AEO2026&cases=electrnp&sourcekey=0
Wed May 13 2026 10:18:16 GMT-0400 (Eastern Daylight Time)
Source: U.S. Energy Information Administration
| full name | api key | units | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Growth (2025-2050)
Key Indicators
Total Floorspace (billion square feet)
Surviving | Commercial: Total Floorspace: Surviving: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_TFP_SURV_USA_BLNSQFT.A | billion sq ft | 101.8455 | 103.1044 | 104.3142 | 105.4823 | 106.6284 | 107.7598 | 108.9023 | 110.0706 | 111.2677 | 112.5 | 113.7687 | 115.0739 | 116.4144 | 117.7805 | 119.1147 | 120.4153 | 121.6845 | 122.8979 | 124.0642 | 125.1985 | 126.3077 | 127.401 | 128.482 | 129.552 | 130.613 | 131.6656 | 1%
New Additions | Commercial: Total Floorspace: New Additions: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_TFP_NADN_USA_BLNSQFT.A | billion sq ft | 2.7984 | 2.7631 | 2.7356 | 2.7281 | 2.7281 | 2.7541 | 2.7954 | 2.8402 | 2.8917 | 2.9452 | 2.9994 | 3.0528 | 3.0973 | 3.0843 | 3.0694 | 3.0567 | 3.0191 | 2.9897 | 2.975 | 2.9668 | 2.9674 | 2.9713 | 2.9765 | 2.983 | 2.9903 | 2.9985 | 0.3%
Total | Commercial: Total Floorspace: Total: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_TFP_TOT_USA_BLNSQFT.A | billion sq ft | 104.6439 | 105.8676 | 107.0499 | 108.2105 | 109.3566 | 110.514 | 111.6977 | 112.9108 | 114.1595 | 115.4452 | 116.7681 | 118.1267 | 119.5117 | 120.8648 | 122.1842 | 123.472 | 124.7036 | 125.8876 | 127.0392 | 128.1653 | 129.2751 | 130.3723 | 131.4585 | 132.5351 | 133.6032 | 134.6641 | 1%
Energy Consumption Intensity
(thousand Btu per square foot)
Gross End-use Consumption | Commercial: Energy Use Intensity: Gross End-use Consumption: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.INY_NA_COMM_NA_EUI_DLENCONS_USA_THBTUPSQFT.A | thousand Btu/sq ft | 94.6086 | 95.201 | 94.8945 | 94.3916 | 93.6782 | 92.7333 | 91.8405 | 91.1409 | 90.5332 | 90.0252 | 89.527 | 89.105 | 88.6839 | 88.3047 | 87.9521 | 87.6097 | 87.3205 | 87.0995 | 86.907 | 86.7353 | 86.5534 | 86.3039 | 85.9853 | 85.6331 | 85.2645 | 84.8973 | -0.4%
Delivered Energy Consumption | Commercial: Energy Use Intensity: Delivered Energy Consumption: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.INY_NA_COMM_NA_EUI_ERL_USA_THBTUPSQFT.A | thousand Btu/sq ft | 93.0843 | 93.5132 | 93.0748 | 92.5196 | 91.7827 | 90.8092 | 89.8996 | 89.1918 | 88.5732 | 88.0385 | 87.524 | 87.0926 | 86.6389 | 86.2286 | 85.8337 | 85.4582 | 85.1607 | 84.9163 | 84.7201 | 84.5414 | 84.3573 | 84.0937 | 83.7532 | 83.3788 | 82.9978 | 82.6097 | -0.5%
Energy Consumption by Fuel
Electricity
Space Heating | Commercial: Purchased Electricity: Space Heating: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_SPH_USA_QBTU.A | quads | 0.20086 | 0.19399 | 0.19233 | 0.19124 | 0.18969 | 0.1879 | 0.18603 | 0.18411 | 0.18223 | 0.18024 | 0.1782 | 0.17623 | 0.1741 | 0.17193 | 0.16966 | 0.16737 | 0.1651 | 0.16281 | 0.16051 | 0.15816 | 0.15582 | 0.15335 | 0.15071 | 0.14803 | 0.14538 | 0.14267 | -1.4%
Space Cooling | Commercial: Purchased Electricity: Space Cooling: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_SPC_USA_QBTU.A | quads | 0.56684 | 0.59447 | 0.60086 | 0.60903 | 0.61581 | 0.62007 | 0.62496 | 0.63045 | 0.63641 | 0.64294 | 0.6498 | 0.65745 | 0.66527 | 0.67323 | 0.6811 | 0.68931 | 0.69798 | 0.7071 | 0.71693 | 0.72701 | 0.73755 | 0.74767 | 0.75734 | 0.76694 | 0.77709 | 0.78724 | 1.3%
Water Heating | Commercial: Purchased Electricity: Water Heating: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_WTHT_USA_QBTU.A | quads | 0.073797 | 0.072726 | 0.072052 | 0.07164 | 0.071071 | 0.070187 | 0.069283 | 0.068399 | 0.067566 | 0.066746 | 0.065932 | 0.065184 | 0.064425 | 0.063673 | 0.062916 | 0.062153 | 0.061431 | 0.060716 | 0.060034 | 0.059364 | 0.058695 | 0.058002 | 0.057258 | 0.056503 | 0.055764 | 0.055011 | -1.2%
Ventilation | Commercial: Purchased Electricity: Ventilation: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_VNTC_USA_QBTU.A | quads | 0.77258 | 0.77808 | 0.78722 | 0.79895 | 0.80862 | 0.81285 | 0.8174 | 0.82249 | 0.82842 | 0.83473 | 0.84141 | 0.84894 | 0.8565 | 0.86421 | 0.87185 | 0.87961 | 0.88787 | 0.89626 | 0.90509 | 0.91416 | 0.92337 | 0.93217 | 0.94026 | 0.94815 | 0.95642 | 0.96452 | 0.9%
Cooking | Commercial: Purchased Electricity: Cooking: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_CGR_USA_QBTU.A | quads | 0.083991 | 0.083245 | 0.082882 | 0.08275 | 0.082396 | 0.081708 | 0.080997 | 0.080317 | 0.079704 | 0.079116 | 0.078533 | 0.077998 | 0.077442 | 0.076881 | 0.076298 | 0.075702 | 0.075151 | 0.074597 | 0.074065 | 0.073538 | 0.073002 | 0.072417 | 0.071763 | 0.071082 | 0.070415 | 0.069721 | -0.7%
Lighting | Commercial: Purchased Electricity: Lighting: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_LGHTNG_USA_QBTU.A | quads | 0.56465 | 0.55333 | 0.54733 | 0.54543 | 0.54359 | 0.53232 | 0.52262 | 0.5142 | 0.50678 | 0.49978 | 0.49295 | 0.48729 | 0.48249 | 0.4785 | 0.47512 | 0.47012 | 0.46641 | 0.46348 | 0.4613 | 0.45964 | 0.4584 | 0.45726 | 0.45599 | 0.45471 | 0.45369 | 0.4527 | -0.9%
Refrigeration | Commercial: Purchased Electricity: Refrigeration: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_REFR_USA_QBTU.A | quads | 0.36673 | 0.36595 | 0.36617 | 0.367 | 0.36756 | 0.36664 | 0.36621 | 0.36611 | 0.36639 | 0.36695 | 0.36776 | 0.36885 | 0.37005 | 0.37124 | 0.37238 | 0.37349 | 0.37483 | 0.3761 | 0.37739 | 0.37866 | 0.3799 | 0.38101 | 0.38195 | 0.38281 | 0.38365 | 0.38442 | 0.2%
Data Center Servers | Commercial: Purchased Electricity: Data Center Servers: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_DATACTRSERV_USA_QBTU.A | quads | 0.35769 | 0.4037 | 0.45297 | 0.50386 | 0.5558 | 0.60811 | 0.66098 | 0.71486 | 0.76973 | 0.82541 | 0.88172 | 0.93839 | 0.99515 | 1.0513 | 1.1064 | 1.1598 | 1.2114 | 1.2604 | 1.3068 | 1.3499 | 1.3895 | 1.4248 | 1.4555 | 1.4812 | 1.5018 | 1.5201 | 6%
Computers and office equipment | Commercial: Purchased Electricity: Computers and Office Equipment: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_OTHEQP_USA_QBTU.A | quads | 0.21695 | 0.21174 | 0.20712 | 0.20268 | 0.19826 | 0.19391 | 0.18983 | 0.18572 | 0.18246 | 0.17971 | 0.17707 | 0.17504 | 0.17318 | 0.17145 | 0.17038 | 0.16903 | 0.16737 | 0.16648 | 0.16481 | 0.16345 | 0.16186 | 0.16063 | 0.15854 | 0.15621 | 0.15364 | 0.15081 | -1.4%
Other Uses | Commercial: Purchased Electricity: Other Uses: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_OTHU_USA_QBTU.A | quads | 1.9492 | 2.1337 | 2.1397 | 2.1391 | 2.1382 | 2.136 | 2.1343 | 2.1335 | 2.1342 | 2.1363 | 2.1396 | 2.145 | 2.1512 | 2.1579 | 2.1649 | 2.1722 | 2.1794 | 2.1868 | 2.1949 | 2.203 | 2.2121 | 2.2211 | 2.2301 | 2.2397 | 2.2497 | 2.2604 | 0.6%
Gross End-use Electricity Consumption | Commercial: Energy Consumption by Fuel: Electricity Subtotal: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_PRC_DELE_USA_QBTU.A | quads | 5.1533 | 5.391 | 5.4486 | 5.5117 | 5.571 | 5.6097 | 5.6526 | 5.7001 | 5.7539 | 5.8119 | 5.873 | 5.9403 | 6.0097 | 6.0803 | 6.1509 | 6.2188 | 6.287 | 6.3548 | 6.4218 | 6.4869 | 6.5502 | 6.6084 | 6.6595 | 6.7053 | 6.7476 | 6.7875 | 1.1%
Purchased Electricity for Electric Vehicle Charging | Commercial: Energy Consumption by Fuel: Purchased Electricity for EV Charging: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.GEN_NA_COMM_NA_PRC_EVCHA_USA_QBTU.A | quads | 0.031625 | 0.041349 | 0.053095 | 0.066244 | 0.079603 | 0.092543 | 0.10442 | 0.11564 | 0.12697 | 0.1385 | 0.15039 | 0.16246 | 0.1748 | 0.18724 | 0.19959 | 0.21229 | 0.22536 | 0.23924 | 0.25397 | 0.26994 | 0.28712 | 0.30474 | 0.3227 | 0.34103 | 0.35961 | 0.37826 | 10.4%
On-site Generation for Own Use | Commercial: Energy Consumption by Fuel: Generation for Own Use: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.GEN_NA_COMM_NA_GFO_ELC_USA_QBTU.A | quads | 0.15951 | 0.17868 | 0.19481 | 0.20257 | 0.20728 | 0.21265 | 0.21679 | 0.22007 | 0.22376 | 0.22936 | 0.23389 | 0.23771 | 0.24441 | 0.25093 | 0.25883 | 0.26565 | 0.26933 | 0.27484 | 0.27782 | 0.28117 | 0.28391 | 0.28816 | 0.29342 | 0.29878 | 0.30283 | 0.30806 | 2.7%
Purchased Electricity at Commercial Location | Commercial: Energy Consumption by Fuel: Purchased Electricity: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DELE_ELC_USA_QBTU.A | quads | 5.0254 | 5.2536 | 5.3069 | 5.3754 | 5.4433 | 5.4896 | 5.5402 | 5.5957 | 5.6572 | 5.721 | 5.7895 | 5.8651 | 5.9401 | 6.0166 | 6.0917 | 6.1654 | 6.243 | 6.3192 | 6.398 | 6.4756 | 6.5534 | 6.625 | 6.6888 | 6.7476 | 6.8044 | 6.8578 | 1.3%
Natural Gas
Space Heating | Commercial: Natural Gas: Space Heating: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_NG_SPH_USA_QBTU.A | quads | 1.6774 | 1.659 | 1.6553 | 1.6402 | 1.6146 | 1.5854 | 1.5582 | 1.5397 | 1.5256 | 1.515 | 1.5042 | 1.4947 | 1.4848 | 1.4748 | 1.4642 | 1.4538 | 1.4438 | 1.4355 | 1.4278 | 1.4208 | 1.4132 | 1.4032 | 1.3916 | 1.3797 | 1.3678 | 1.3563 | -0.8%
Space Cooling | Commercial: Natural Gas: Space Cooling: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_NG_SPC_USA_QBTU.A | quads | 0.015692 | 0.017612 | 0.017945 | 0.018169 | 0.018287 | 0.018392 | 0.018555 | 0.018871 | 0.01928 | 0.019785 | 0.020338 | 0.020947 | 0.021603 | 0.022292 | 0.023007 | 0.023771 | 0.024568 | 0.025421 | 0.026326 | 0.027285 | 0.028298 | 0.029311 | 0.030356 | 0.031435 | 0.03257 | 0.033763 | 3.1%
Water Heating | Commercial: Natural Gas: Water Heating: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_NG_WTHT_USA_QBTU.A | quads | 0.27397 | 0.28034 | 0.28302 | 0.2837 | 0.28281 | 0.28132 | 0.28014 | 0.28066 | 0.28179 | 0.28386 | 0.2861 | 0.28878 | 0.29145 | 0.29413 | 0.29673 | 0.29937 | 0.30216 | 0.30532 | 0.30863 | 0.31213 | 0.31552 | 0.31843 | 0.321 | 0.32347 | 0.32592 | 0.32843 | 0.7%
Cooking | Commercial: Natural Gas: Cooking: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_NG_CGR_USA_QBTU.A | quads | 0.40539 | 0.4127 | 0.4162 | 0.41677 | 0.41515 | 0.4126 | 0.41052 | 0.41081 | 0.41203 | 0.41452 | 0.4172 | 0.42047 | 0.42367 | 0.42687 | 0.4299 | 0.43293 | 0.43624 | 0.44006 | 0.44408 | 0.44835 | 0.45242 | 0.45574 | 0.45854 | 0.46115 | 0.46372 | 0.46634 | 0.6%
Other Uses | Commercial: Natural Gas: Other Uses: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_NG_OTHU_USA_QBTU.A | quads | 1.2674 | 1.1943 | 1.199 | 1.1971 | 1.1883 | 1.1771 | 1.1661 | 1.1607 | 1.1572 | 1.1563 | 1.1553 | 1.1553 | 1.1552 | 1.1551 | 1.155 | 1.1552 | 1.1555 | 1.1574 | 1.1597 | 1.163 | 1.1659 | 1.1674 | 1.168 | 1.1684 | 1.1689 | 1.1697 | -0.3%
Delivered Energy | Commercial: Natural Gas: Delivered Energy: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_NG_DELE_USA_QBTU.A | quads | 3.6398 | 3.564 | 3.5715 | 3.5559 | 3.5192 | 3.4749 | 3.4335 | 3.4107 | 3.3959 | 3.3895 | 3.3831 | 3.3803 | 3.3767 | 3.3732 | 3.3688 | 3.3651 | 3.3623 | 3.3637 | 3.3665 | 3.3715 | 3.3754 | 3.3741 | 3.3696 | 3.3642 | 3.3589 | 3.3544 | -0.3%
Distillate Fuel Oil
Space Heating | Commercial: Distillate Fuel Oil: Space Heating: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DFO_SPH_USA_QBTU.A | quads | 0.074528 | 0.072814 | 0.072147 | 0.071328 | 0.07024 | 0.06939 | 0.068552 | 0.067389 | 0.065912 | 0.064453 | 0.063009 | 0.06167 | 0.060346 | 0.059039 | 0.05778 | 0.056542 | 0.055331 | 0.054154 | 0.052975 | 0.051814 | 0.050657 | 0.049516 | 0.048376 | 0.047276 | 0.046179 | 0.045136 | -2%
Water Heating | Commercial: Distillate Fuel Oil: Water Heating: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DFO_WTHT_USA_QBTU.A | quads | 0.003768 | 0.003783 | 0.003772 | 0.003756 | 0.003738 | 0.003734 | 0.00373 | 0.00371 | 0.003672 | 0.003636 | 0.003602 | 0.003574 | 0.003547 | 0.003521 | 0.003496 | 0.003472 | 0.003448 | 0.003424 | 0.0034 | 0.003376 | 0.00335 | 0.003324 | 0.003298 | 0.003273 | 0.003246 | 0.003222 | -0.6%
Other Uses | Commercial: Distillate Fuel Oil: Other Uses: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DFO_OTHU_USA_QBTU.A | quads | 0.23712 | 0.24239 | 0.25053 | 0.25241 | 0.25394 | 0.25636 | 0.25847 | 0.25922 | 0.25816 | 0.25716 | 0.25619 | 0.25563 | 0.25496 | 0.25428 | 0.25375 | 0.25329 | 0.25278 | 0.25231 | 0.2518 | 0.25127 | 0.25063 | 0.24996 | 0.24919 | 0.2485 | 0.2477 | 0.24708 | 0.2%
Delivered Energy | Commercial: Distillate Fuel Oil: Delivered Energy: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DFO_DELE_USA_QBTU.A | quads | 0.31542 | 0.31899 | 0.32645 | 0.32749 | 0.32792 | 0.32948 | 0.33075 | 0.33032 | 0.32775 | 0.32525 | 0.3228 | 0.32087 | 0.31886 | 0.31684 | 0.31502 | 0.3133 | 0.31156 | 0.30989 | 0.30817 | 0.30645 | 0.30464 | 0.3028 | 0.30087 | 0.29905 | 0.29712 | 0.29544 | -0.3%
Marketed Renewables (biomass) | Commercial: Marketed Renewables (biomass): Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_BMS_NA_USA_QBTU.A | quads | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0.14368 | 0%
Other Fuels | Commercial: Other Fuels: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_OFU_NA_USA_QBTU.A | quads | 0.64805 | 0.66109 | 0.66816 | 0.67531 | 0.68251 | 0.69059 | 0.69792 | 0.70595 | 0.71397 | 0.72266 | 0.73133 | 0.74054 | 0.74982 | 0.7589 | 0.76786 | 0.77653 | 0.78472 | 0.79267 | 0.80039 | 0.80794 | 0.81531 | 0.82267 | 0.8299 | 0.83711 | 0.8443 | 0.85151 | 1.1%
Energy Consumption by End Use
Space Heating | Commercial: Delivered Energy Use by End Use: Space Heating: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_SPH_USA_QBTU.A | quads | 1.9528 | 1.9258 | 1.9198 | 1.9028 | 1.8746 | 1.8427 | 1.8127 | 1.7912 | 1.7737 | 1.7597 | 1.7454 | 1.7326 | 1.7192 | 1.7058 | 1.6917 | 1.6777 | 1.6642 | 1.6525 | 1.6413 | 1.6307 | 1.6197 | 1.6061 | 1.5907 | 1.575 | 1.5594 | 1.5441 | -0.9%
Space Cooling | Commercial: Delivered Energy Use by End Use: Space Cooling: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_SPC_USA_QBTU.A | quads | 0.58253 | 0.61208 | 0.61881 | 0.6272 | 0.6341 | 0.63846 | 0.64351 | 0.64932 | 0.65569 | 0.66273 | 0.67014 | 0.6784 | 0.68687 | 0.69552 | 0.70411 | 0.71308 | 0.72255 | 0.73252 | 0.74326 | 0.75429 | 0.76585 | 0.77698 | 0.78769 | 0.79838 | 0.80966 | 0.821 | 1.4%
Water Heating | Commercial: Delivered Energy Use by End Use: Water Heating: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_WTHT_USA_QBTU.A | quads | 0.35153 | 0.35685 | 0.35884 | 0.3591 | 0.35762 | 0.35524 | 0.35315 | 0.35277 | 0.35303 | 0.35424 | 0.35563 | 0.35754 | 0.35942 | 0.36133 | 0.36314 | 0.36499 | 0.36704 | 0.36946 | 0.37206 | 0.37488 | 0.37757 | 0.37976 | 0.38156 | 0.38324 | 0.38493 | 0.38666 | 0.4%
Ventilation | Commercial: Delivered Energy Use by End Use: Ventilation: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_VNTC_USA_QBTU.A | quads | 0.77258 | 0.77808 | 0.78722 | 0.79895 | 0.80862 | 0.81285 | 0.8174 | 0.82249 | 0.82842 | 0.83473 | 0.84141 | 0.84894 | 0.8565 | 0.86421 | 0.87185 | 0.87961 | 0.88787 | 0.89626 | 0.90509 | 0.91416 | 0.92337 | 0.93217 | 0.94026 | 0.94815 | 0.95642 | 0.96452 | 0.9%
Cooking | Commercial: Delivered Energy Use by End Use: Cooking: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_CGR_USA_QBTU.A | quads | 0.48938 | 0.49594 | 0.49908 | 0.49952 | 0.49755 | 0.49431 | 0.49152 | 0.49113 | 0.49173 | 0.49363 | 0.49574 | 0.49846 | 0.50111 | 0.50375 | 0.5062 | 0.50864 | 0.5114 | 0.51465 | 0.51814 | 0.52189 | 0.52542 | 0.52816 | 0.53031 | 0.53223 | 0.53414 | 0.53607 | 0.4%
Lighting | Commercial: Delivered Energy Use by End Use: Lighting: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_LGHTNG_USA_QBTU.A | quads | 0.56465 | 0.55333 | 0.54733 | 0.54543 | 0.54359 | 0.53232 | 0.52262 | 0.5142 | 0.50678 | 0.49978 | 0.49295 | 0.48729 | 0.48249 | 0.4785 | 0.47512 | 0.47012 | 0.46641 | 0.46348 | 0.4613 | 0.45964 | 0.4584 | 0.45726 | 0.45599 | 0.45471 | 0.45369 | 0.4527 | -0.9%
Refrigeration | Commercial: Delivered Energy Use by End Use: Refrigeration: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_REFR_USA_QBTU.A | quads | 0.36673 | 0.36595 | 0.36617 | 0.367 | 0.36756 | 0.36664 | 0.36621 | 0.36611 | 0.36639 | 0.36695 | 0.36776 | 0.36885 | 0.37005 | 0.37124 | 0.37238 | 0.37349 | 0.37483 | 0.3761 | 0.37739 | 0.37866 | 0.3799 | 0.38101 | 0.38195 | 0.38281 | 0.38365 | 0.38442 | 0.2%
Data Center Servers | Commercial: Delivered Energy Use by End Use: Data Center Servers: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_DATACTRSERV_USA_QBTU.A | quads | 0.35769 | 0.4037 | 0.45297 | 0.50386 | 0.5558 | 0.60811 | 0.66098 | 0.71486 | 0.76973 | 0.82541 | 0.88172 | 0.93839 | 0.99515 | 1.0513 | 1.1064 | 1.1598 | 1.2114 | 1.2604 | 1.3068 | 1.3499 | 1.3895 | 1.4248 | 1.4555 | 1.4812 | 1.5018 | 1.5201 | 6%
Computers and office equipment | Commercial: Delivered Energy Use by End Use: Computers and Office Equipment: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_OFEQP_USA_QBTU.A | quads | 0.21695 | 0.21174 | 0.20712 | 0.20268 | 0.19826 | 0.19391 | 0.18983 | 0.18572 | 0.18246 | 0.17971 | 0.17707 | 0.17504 | 0.17318 | 0.17145 | 0.17038 | 0.16903 | 0.16737 | 0.16648 | 0.16481 | 0.16345 | 0.16186 | 0.16063 | 0.15854 | 0.15621 | 0.15364 | 0.15081 | -1.4%
Other Uses | Commercial: Delivered Energy Use by End Use: Other Uses: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_OTHU_USA_QBTU.A | quads | 4.2454 | 4.3752 | 4.4011 | 4.4076 | 4.4067 | 4.4038 | 4.4004 | 4.403 | 4.4073 | 4.4161 | 4.4261 | 4.4401 | 4.4548 | 4.4699 | 4.4851 | 4.5009 | 4.5161 | 4.5329 | 4.5505 | 4.5689 | 4.5876 | 4.6048 | 4.6209 | 4.6374 | 4.6542 | 4.6723 | 0.4%
Gross End-use Consumption | Commercial: Delivered Energy Use by End Use: Gross End-use Consumption: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_NA_USA_QBTU.A | quads | 9.9002 | 10.0787 | 10.1584 | 10.2142 | 10.2443 | 10.2483 | 10.2584 | 10.2908 | 10.3352 | 10.393 | 10.4539 | 10.5257 | 10.5988 | 10.6729 | 10.7464 | 10.8173 | 10.8892 | 10.9647 | 11.0406 | 11.1165 | 11.1892 | 11.2516 | 11.3035 | 11.3494 | 11.3916 | 11.4326 | 0.6%
Purchased Electricity for Electric Vehicle Charging | Commercial: Energy Consumption by End Use: Purchased Electricity for EV Charging: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_EVCHA_USA_QBTU.A | quads | 0.031625 | 0.041349 | 0.053095 | 0.066244 | 0.079603 | 0.092543 | 0.10442 | 0.11564 | 0.12697 | 0.1385 | 0.15039 | 0.16246 | 0.1748 | 0.18724 | 0.19959 | 0.21229 | 0.22536 | 0.23924 | 0.25397 | 0.26994 | 0.28712 | 0.30474 | 0.3227 | 0.34103 | 0.35961 | 0.37826 | 10.4%
On-site Generation for Own Use | Commercial: Energy Consumption by End Use: Generation for Own Use: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.GEN_NA_COMM_NA_DEE_GFO_USA_QBTU.A | quads | 0.15951 | 0.17868 | 0.19481 | 0.20257 | 0.20728 | 0.21265 | 0.21679 | 0.22007 | 0.22376 | 0.22936 | 0.23389 | 0.23771 | 0.24441 | 0.25093 | 0.25883 | 0.26565 | 0.26933 | 0.27484 | 0.27782 | 0.28117 | 0.28391 | 0.28816 | 0.29342 | 0.29878 | 0.30283 | 0.30806 | 2.7%
Delivered Energy | Commercial: Energy Consumption by End Use: Delivered Energy: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_DEE_NA_USA_QBTU.A | quads | 9.7723 | 9.9414 | 10.0167 | 10.0778 | 10.1166 | 10.1282 | 10.146 | 10.1864 | 10.2384 | 10.3021 | 10.3704 | 10.4504 | 10.5292 | 10.6092 | 10.6871 | 10.764 | 10.8452 | 10.9291 | 11.0168 | 11.1052 | 11.1924 | 11.2682 | 11.3328 | 11.3916 | 11.4484 | 11.5028 | 0.7%
Electricity Related Losses | Commercial: Electricity Related Losses: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_ERL_NA_USA_QBTU.A | quads | 6.9051 | 7.1494 | 6.6704 | 6.4663 | 6.3999 | 6.3393 | 6.1938 | 6.1339 | 6.1266 | 6.0747 | 6.0558 | 6.0407 | 6.0577 | 6.0901 | 6.1077 | 6.1083 | 6.1124 | 6.1441 | 6.1854 | 6.2278 | 6.2706 | 6.3098 | 6.3476 | 6.3793 | 6.3855 | 6.4082 | -0.3%
Total Energy Consumption by End Use
Space Heating | Commercial: Total Energy Use by End Use: Space Heating: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_SPH_USA_QBTU.A | quads | 2.2202 | 2.181 | 2.1529 | 2.1244 | 2.0893 | 2.0514 | 2.0127 | 1.9852 | 1.9634 | 1.9435 | 1.9243 | 1.9069 | 1.8895 | 1.8726 | 1.8546 | 1.8365 | 1.8189 | 1.804 | 1.7897 | 1.7763 | 1.7624 | 1.7458 | 1.7275 | 1.7088 | 1.6897 | 1.6713 | -1.1%
Space Cooling | Commercial: Total Energy Use by End Use: Space Cooling: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_SPC_USA_QBTU.A | quads | 1.3373 | 1.3943 | 1.347 | 1.3329 | 1.3312 | 1.3274 | 1.3154 | 1.3137 | 1.3181 | 1.3185 | 1.3228 | 1.3284 | 1.3377 | 1.3488 | 1.3583 | 1.3668 | 1.3767 | 1.3903 | 1.4064 | 1.4232 | 1.441 | 1.458 | 1.4747 | 1.4911 | 1.5062 | 1.5232 | 0.5%
Water Heating | Commercial: Total Energy Use by End Use: Water Heating: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_WTHT_USA_QBTU.A | quads | 0.4498 | 0.45254 | 0.44617 | 0.44211 | 0.43807 | 0.43322 | 0.42764 | 0.42485 | 0.42336 | 0.42231 | 0.42185 | 0.42199 | 0.42245 | 0.42312 | 0.42357 | 0.42394 | 0.42461 | 0.42594 | 0.42759 | 0.42949 | 0.43129 | 0.43259 | 0.4335 | 0.43428 | 0.43492 | 0.43573 | -0.1%
Ventilation | Commercial: Total Energy Use by End Use: Ventilation: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_VNTC_USA_QBTU.A | quads | 1.8013 | 1.8018 | 1.7413 | 1.7247 | 1.724 | 1.7159 | 1.6962 | 1.6893 | 1.6907 | 1.6861 | 1.6865 | 1.6883 | 1.6944 | 1.7029 | 1.7092 | 1.7138 | 1.7199 | 1.73 | 1.7422 | 1.7552 | 1.7686 | 1.7813 | 1.7932 | 1.8046 | 1.8137 | 1.8249 | 0.1%
Cooking | Commercial: Total Energy Use by End Use: Cooking: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_CGR_USA_QBTU.A | quads | 0.60122 | 0.60547 | 0.59954 | 0.5954 | 0.59082 | 0.58509 | 0.5786 | 0.57578 | 0.57469 | 0.57433 | 0.57461 | 0.57558 | 0.57688 | 0.57836 | 0.57948 | 0.58043 | 0.58182 | 0.58405 | 0.58665 | 0.58955 | 0.59224 | 0.59412 | 0.59541 | 0.59644 | 0.59725 | 0.59826 | 0%
Lighting | Commercial: Total Energy Use by End Use: Lighting: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_LGHTNG_USA_QBTU.A | quads | 1.3165 | 1.2814 | 1.2107 | 1.1774 | 1.1589 | 1.1237 | 1.0845 | 1.0561 | 1.0343 | 1.0095 | 0.98804 | 0.96909 | 0.95451 | 0.94285 | 0.93144 | 0.91599 | 0.9035 | 0.89463 | 0.88797 | 0.88253 | 0.87801 | 0.87377 | 0.86966 | 0.86544 | 0.86035 | 0.85652 | -1.7%
Refrigeration | Commercial: Total Energy Use by End Use: Refrigeration: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_REFR_USA_QBTU.A | quads | 0.85505 | 0.84745 | 0.80997 | 0.79225 | 0.78364 | 0.77399 | 0.75991 | 0.75194 | 0.74776 | 0.74121 | 0.73711 | 0.73354 | 0.73207 | 0.7315 | 0.73003 | 0.7277 | 0.72609 | 0.72597 | 0.72646 | 0.72705 | 0.72765 | 0.72808 | 0.72846 | 0.72859 | 0.72753 | 0.72733 | -0.6%
Data Center Servers | Commercial: Total Energy Use by End Use: Data Center Servers: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_DATACTRSERV_USA_QBTU.A | quads | 0.83397 | 0.93486 | 1.002 | 1.0877 | 1.185 | 1.2837 | 1.3716 | 1.4682 | 1.5709 | 1.6673 | 1.7673 | 1.8662 | 1.9687 | 2.0715 | 2.1689 | 2.2598 | 2.3467 | 2.4329 | 2.5156 | 2.5918 | 2.6614 | 2.7227 | 2.7759 | 2.8192 | 2.8479 | 2.8761 | 5.1%
Computers and office equipment | Commercial: Total Energy Use by End Use: Computers and Office Equipment: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_OFEQP_USA_QBTU.A | quads | 0.50583 | 0.49035 | 0.45815 | 0.43754 | 0.42269 | 0.40935 | 0.39391 | 0.38144 | 0.37239 | 0.363 | 0.3549 | 0.34811 | 0.3426 | 0.33783 | 0.33402 | 0.32935 | 0.32421 | 0.32135 | 0.31725 | 0.31383 | 0.31003 | 0.30695 | 0.30237 | 0.29731 | 0.29135 | 0.28533 | -2.3%
Other Uses | Commercial: Total Energy Use by End Use: Other Uses: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_OTHU_USA_QBTU.A | quads | 6.8407 | 7.1827 | 6.9944 | 6.8863 | 6.8271 | 6.7769 | 6.695 | 6.6514 | 6.6287 | 6.5949 | 6.575 | 6.5609 | 6.5593 | 6.564 | 6.5644 | 6.561 | 6.5585 | 6.5672 | 6.5806 | 6.5958 | 6.6125 | 6.6279 | 6.6441 | 6.6604 | 6.6707 | 6.6886 | -0.1%
Total Gross End-use Consumption | Commercial: Total Energy Use by End Use: Total Gross End-use Consumption: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_TEE_NA_USA_QBTU.A | quads | 16.7619 | 17.1718 | 16.7622 | 16.6007 | 16.5506 | 16.4807 | 16.3355 | 16.2979 | 16.3243 | 16.3206 | 16.3524 | 16.3991 | 16.4782 | 16.5735 | 16.654 | 16.7153 | 16.7809 | 16.8763 | 16.9804 | 17.0846 | 17.1851 | 17.2712 | 17.3448 | 17.4062 | 17.4396 | 17.4873 | 0.2%
Purchased Electricity for Electric Vehicle Charging | Commercial: Total Energy Use by End Use: Purchased Electricity for EV Charging: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.GEN_GFO_COMM_NA_TEE_NA_USA_QBTU.A | quads | 0.07508 | 0.097619 | 0.11983 | 0.14593 | 0.17319 | 0.19941 | 0.22115 | 0.24241 | 0.26448 | 0.28557 | 0.3077 | 0.32979 | 0.35307 | 0.37677 | 0.3997 | 0.42261 | 0.44601 | 0.47186 | 0.49951 | 0.52956 | 0.56185 | 0.59498 | 0.62895 | 0.66346 | 0.69708 | 0.73173 | 9.5%
On-site Generation for Own Use | Commercial: Total Energy Use by End Use: Generation for Own Use: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.GEN_GFO_COMM_NA_TEE_NA_USA_QBTU.A | quads | 0.15951 | 0.17868 | 0.19481 | 0.20257 | 0.20728 | 0.21265 | 0.21679 | 0.22007 | 0.22376 | 0.22936 | 0.23389 | 0.23771 | 0.24441 | 0.25093 | 0.25883 | 0.26565 | 0.26933 | 0.27484 | 0.27782 | 0.28117 | 0.28391 | 0.28816 | 0.29342 | 0.29878 | 0.30283 | 0.30806 | 2.7%
Total Energy | Commercial: Total Energy Use by End Use: Total Net Own-use Generation: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.GEN_GFO_COMM_NA_TEE_TOT_USA_QBTU.A | quads | 16.6775 | 17.0908 | 16.6872 | 16.5441 | 16.5165 | 16.4675 | 16.3398 | 16.3202 | 16.3651 | 16.3768 | 16.4262 | 16.4911 | 16.5868 | 16.6993 | 16.7948 | 16.8723 | 16.9576 | 17.0733 | 17.2021 | 17.333 | 17.463 | 17.578 | 17.6804 | 17.7709 | 17.8339 | 17.911 | 0.3%
Nonmarketed Renewable Fuels
Solar Thermal | Commercial: Nonmarketed Renewable Fuels: Solar Thermal: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_NRF_SOTH_USA_QBTU.A | quads | 0.065495 | 0.063335 | 0.063611 | 0.062602 | 0.061895 | 0.061556 | 0.061001 | 0.059719 | 0.0594 | 0.059208 | 0.058635 | 0.058119 | 0.057821 | 0.057597 | 0.057361 | 0.057212 | 0.056903 | 0.056644 | 0.056244 | 0.055781 | 0.055393 | 0.054973 | 0.054613 | 0.054244 | 0.053925 | 0.053519 | -0.8%
Solar Photovoltaic | Commercial: Nonmarketed Renewable Fuels: Solar Photovoltaic: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_NRF_SOPH_USA_QBTU.A | quads | 0.15757 | 0.17654 | 0.19265 | 0.20039 | 0.20507 | 0.21039 | 0.21451 | 0.21775 | 0.2214 | 0.22693 | 0.23142 | 0.2352 | 0.24182 | 0.24829 | 0.25614 | 0.26292 | 0.26657 | 0.27201 | 0.27494 | 0.27825 | 0.28096 | 0.28517 | 0.29038 | 0.29569 | 0.29971 | 0.3049 | 2.7%
Wind | Commercial: Nonmarketed Renewable Fuels: Wind: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_NRF_WND_USA_QBTU.A | quads | 0.002524 | 0.002527 | 0.002533 | 0.002533 | 0.002536 | 0.00254 | 0.002542 | 0.002545 | 0.002549 | 0.002552 | 0.002553 | 0.002554 | 0.002555 | 0.002557 | 0.002558 | 0.00256 | 0.002561 | 0.002565 | 0.002566 | 0.002568 | 0.002568 | 0.002569 | 0.002572 | 0.002573 | 0.002574 | 0.002575 | 0.1%
Total | Commercial: Nonmarketed Renewable Fuels: Total: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.CNSM_NA_COMM_NA_NRF_TOT_USA_QBTU.A | quads | 0.22559 | 0.2424 | 0.25879 | 0.26552 | 0.2695 | 0.27449 | 0.27805 | 0.28001 | 0.28335 | 0.28869 | 0.29261 | 0.29587 | 0.30219 | 0.30844 | 0.31606 | 0.32269 | 0.32604 | 0.33122 | 0.33376 | 0.3366 | 0.33892 | 0.34271 | 0.34757 | 0.35251 | 0.35621 | 0.36099 | 1.9%
Heating Degree Days
New England | Commercial: Heating Degree Days: New England: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_NENGL_HDD.A | HDD | 6045 | 5873 | 5850 | 5826 | 5803 | 5779 | 5755 | 5732 | 5708 | 5684 | 5661 | 5637 | 5613 | 5589 | 5566 | 5542 | 5518 | 5495 | 5471 | 5447 | 5423 | 5400 | 5376 | 5352 | 5328 | 5305 | -0.5%
Middle Atlantic | Commercial: Heating Degree Days: Middle Atlantic: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_MATL_HDD.A | HDD | 5404 | 5271 | 5249 | 5228 | 5207 | 5185 | 5164 | 5142 | 5121 | 5100 | 5078 | 5057 | 5035 | 5014 | 4993 | 4971 | 4950 | 4929 | 4907 | 4886 | 4865 | 4843 | 4822 | 4801 | 4780 | 4758 | -0.5%
East North Central | Commercial: Heating Degree Days: East North Central: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_ENC_HDD.A | HDD | 5984 | 5836 | 5817 | 5798 | 5779 | 5760 | 5741 | 5722 | 5703 | 5683 | 5664 | 5645 | 5626 | 5607 | 5588 | 5569 | 5549 | 5530 | 5511 | 5492 | 5473 | 5453 | 5434 | 5415 | 5396 | 5377 | -0.4%
West North Central | Commercial: Heating Degree Days: West North Central: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_WNC_HDD.A | HDD | 6267 | 6263 | 6251 | 6239 | 6227 | 6215 | 6203 | 6191 | 6178 | 6166 | 6153 | 6141 | 6128 | 6116 | 6103 | 6091 | 6078 | 6066 | 6053 | 6040 | 6028 | 6015 | 6002 | 5990 | 5977 | 5964 | -0.2%
South Atlantic | Commercial: Heating Degree Days: South Atlantic: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_SATL_HDD.A | HDD | 2431 | 2296 | 2280 | 2263 | 2245 | 2228 | 2210 | 2192 | 2175 | 2157 | 2139 | 2122 | 2104 | 2087 | 2069 | 2052 | 2034 | 2017 | 2000 | 1982 | 1965 | 1948 | 1930 | 1913 | 1896 | 1879 | -1%
East South Central | Commercial: Heating Degree Days: East South Central: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_ESC_HDD.A | HDD | 3231 | 3099 | 3084 | 3069 | 3053 | 3038 | 3023 | 3008 | 2992 | 2977 | 2961 | 2946 | 2930 | 2915 | 2900 | 2884 | 2869 | 2853 | 2838 | 2822 | 2807 | 2791 | 2776 | 2760 | 2745 | 2730 | -0.7%
West South Central | Commercial: Heating Degree Days: West South Central: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_WSC_HDD.A | HDD | 1966 | 1889 | 1880 | 1870 | 1860 | 1851 | 1841 | 1831 | 1822 | 1812 | 1803 | 1793 | 1784 | 1774 | 1765 | 1756 | 1746 | 1737 | 1728 | 1718 | 1709 | 1700 | 1690 | 1681 | 1672 | 1663 | -0.7%
Mountain | Commercial: Heating Degree Days: Mountain: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_MTN_HDD.A | HDD | 4734 | 4833 | 4825 | 4816 | 4807 | 4799 | 4790 | 4782 | 4774 | 4766 | 4758 | 4750 | 4742 | 4734 | 4726 | 4718 | 4710 | 4702 | 4694 | 4687 | 4679 | 4671 | 4664 | 4656 | 4648 | 4641 | -0.1%
Pacific | Commercial: Heating Degree Days: Pacific: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_PCF_HDD.A | HDD | 3251 | 3291 | 3285 | 3279 | 3272 | 3266 | 3259 | 3252 | 3245 | 3238 | 3231 | 3224 | 3216 | 3209 | 3202 | 3195 | 3187 | 3180 | 3173 | 3165 | 3158 | 3151 | 3143 | 3136 | 3129 | 3122 | -0.2%
United States | Commercial: Heating Degree Days: United States: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_USA_HDD.A | HDD | 3989.5723 | 3910.106 | 3891.6016 | 3872.8252 | 3853.7156 | 3835.1279 | 3816.1113 | 3797.1377 | 3778.501 | 3759.5527 | 3740.7109 | 3722.1609 | 3703.1575 | 3684.6523 | 3666.0649 | 3647.5562 | 3628.5244 | 3610.1992 | 3591.7322 | 3572.9053 | 3554.6526 | 3536.1577 | 3517.585 | 3499.5967 | 3481.7886 | 3464.1162 | -0.6%
Cooling Degree Days
New England | Commercial: Cooling Degree Days: New England: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_NENGL_CDD.A | CDD | 530 | 626 | 633 | 640 | 647 | 654 | 662 | 669 | 676 | 683 | 690 | 697 | 704 | 712 | 719 | 726 | 733 | 740 | 747 | 754 | 761 | 769 | 776 | 783 | 790 | 797 | 1.6%
Middle Atlantic | Commercial: Cooling Degree Days: Middle Atlantic: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_MATL_CDD.A | CDD | 766 | 858 | 866 | 874 | 883 | 891 | 899 | 907 | 915 | 923 | 932 | 940 | 948 | 956 | 964 | 973 | 981 | 989 | 997 | 1005 | 1014 | 1022 | 1030 | 1038 | 1046 | 1055 | 1.3%
East North Central | Commercial: Cooling Degree Days: East North Central: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_ENC_CDD.A | CDD | 873 | 857 | 862 | 867 | 871 | 876 | 881 | 886 | 890 | 895 | 900 | 905 | 909 | 914 | 919 | 924 | 928 | 933 | 938 | 943 | 948 | 952 | 957 | 962 | 967 | 972 | 0.4%
West North Central | Commercial: Cooling Degree Days: West North Central: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_WNC_CDD.A | CDD | 1052 | 1048 | 1053 | 1057 | 1062 | 1067 | 1071 | 1076 | 1081 | 1086 | 1090 | 1095 | 1100 | 1105 | 1109 | 1114 | 1119 | 1124 | 1129 | 1133 | 1138 | 1143 | 1148 | 1153 | 1158 | 1162 | 0.4%
South Atlantic | Commercial: Cooling Degree Days: South Atlantic: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_SATL_CDD.A | CDD | 2319 | 2427 | 2442 | 2458 | 2473 | 2489 | 2505 | 2522 | 2538 | 2554 | 2570 | 2586 | 2603 | 2619 | 2635 | 2652 | 2668 | 2684 | 2701 | 2717 | 2734 | 2750 | 2767 | 2783 | 2800 | 2816 | 0.8%
East South Central | Commercial: Cooling Degree Days: East South Central: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_ESC_CDD.A | CDD | 1790 | 1783 | 1790 | 1797 | 1804 | 1811 | 1819 | 1826 | 1833 | 1840 | 1847 | 1854 | 1862 | 1869 | 1876 | 1883 | 1890 | 1898 | 1905 | 1912 | 1919 | 1926 | 1934 | 1941 | 1948 | 1955 | 0.4%
West South Central | Commercial: Cooling Degree Days: West South Central: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_WSC_CDD.A | CDD | 2916 | 2946 | 2961 | 2976 | 2990 | 3005 | 3020 | 3035 | 3049 | 3064 | 3079 | 3093 | 3108 | 3123 | 3138 | 3152 | 3167 | 3182 | 3197 | 3211 | 3226 | 3241 | 3255 | 3270 | 3285 | 3299 | 0.5%
Mountain | Commercial: Cooling Degree Days: Mountain: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_MTN_CDD.A | CDD | 1515 | 1608 | 1617 | 1627 | 1636 | 1645 | 1655 | 1664 | 1673 | 1682 | 1691 | 1701 | 1710 | 1719 | 1728 | 1737 | 1746 | 1755 | 1764 | 1773 | 1782 | 1791 | 1800 | 1809 | 1818 | 1827 | 0.8%
Pacific | Commercial: Cooling Degree Days: Pacific: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_PCF_CDD.A | CDD | 887 | 1040 | 1049 | 1058 | 1067 | 1076 | 1085 | 1094 | 1103 | 1112 | 1121 | 1131 | 1140 | 1149 | 1158 | 1167 | 1177 | 1186 | 1195 | 1204 | 1213 | 1223 | 1232 | 1241 | 1250 | 1259 | 1.4%
United States | Commercial: Cooling Degree Days: United States: Alternative Electricity and Transportation | AEO.2026.ELECTRNP.KEI_NA_COMM_NA_NA_NA_USA_CDD.A | CDD | 1516.4236 | 1589.8529 | 1602.1541 | 1614.6899 | 1626.8743 | 1639.4292 | 1652.1266 | 1664.9409 | 1677.3069 | 1689.963 | 1702.6976 | 1715.5259 | 1728.3977 | 1741.1991 | 1753.9226 | 1766.9214 | 1779.7961 | 1792.7117 | 1805.812 | 1818.5227 | 1831.7783 | 1844.8031 | 1857.874 | 1870.7853 | 1883.8203 | 1896.4698 | 0.9%

## Evolved Energy ADP 2024
| Source | 2024 Annual Decarbonization Perspective (ADP 2024)
| Link | https://www.evolved.energy/us-adp-2024
| Projections | 2025 | 2030 | 2035 | 2040 | 2050
mid |  | 279 | 541 | 693 | 776 | 870
high |  | 279 | 718 | 1043 | 1222 | 1679
|  |  |  | Current Policy | Current Policy | Current Policy | Current Policy | Current Policy | Current Policy
|  | To¦¦Outputs Group Aggregate (group) |  | 2024 | 2030 | 2035 | 2040 | 2045 | 2050
|  | Hydrogen Electrolysis | % of Total SUM([Value])/1e3 along To¦¦Outputs Group Aggregate (group) |  | 2.09% | 7.03% | 7.16% | 6.37% | 6.03%
|  | Hydrogen Electrolysis | SUM([Value])/1e3 |  | 105 | 422 | 489 | 467 | 476
|  | Industrial Boilers | % of Total SUM([Value])/1e3 along To¦¦Outputs Group Aggregate (group) |  | 0.09% | 0.38% | 0.81% | 0.4% | 0.27%
|  | Industrial Boilers | SUM([Value])/1e3 |  | 4 | 23 | 55 | 29 | 21
|  | Data Centers | % of Total SUM([Value])/1e3 along To¦¦Outputs Group Aggregate (group) | 6.44% | 10.8% | 11.54% | 11.38% | 11.86% | 12.35%
|  | Data Centers | SUM([Value])/1e3 | 279 | 541 | 693 | 776 | 870 | 975
|  | Other End-Use Loads | % of Total SUM([Value])/1e3 along To¦¦Outputs Group Aggregate (group) | 93.56% | 87.03% | 81.05% | 80.64% | 81.37% | 81.34%
|  | Other End-Use Loads | SUM([Value])/1e3 | 4055 | 4361 | 4865 | 5498 | 5966 | 6418
|  | Run Name | Year | To¦¦Outputs Group Aggregate (group) | Zone | Latitude | Longitude | Value
|  | Current Policy | 2024 | Data Centers | northwest_emm | 46.2308 | -117.1354 | 28096.8247
|  | Current Policy | 2024 | Data Centers | upper mississippi valley_emm | 44.2162 | -92.0602 | 5610.7274
|  | Current Policy | 2024 | Data Centers | northern great plains_emm | 43.8923 | -98.9375 | 11607.7939
|  | Current Policy | 2024 | Data Centers | michigan_emm | 43.6599 | -84.5778 | 584.3428
|  | Current Policy | 2024 | Data Centers | new england_emm | 43.2753 | -71.4043 | 3608.5366
|  | Current Policy | 2024 | Data Centers | upstate new york_emm | 42.7815 | -75.7004 | 5256.3649
|  | Current Policy | 2024 | Data Centers | metropolitan chicago_emm | 41.5817 | -89.0463 | 13781.6929
|  | Current Policy | 2024 | Data Centers | great basin_emm | 41.4907 | -113.3993 | 9760.7392
|  | Current Policy | 2024 | Data Centers | metropolitan new york_emm | 40.7957 | -73.7491 | 1856.4129
|  | Current Policy | 2024 | Data Centers | rockies_emm | 40.4199 | -105.0432 | 6223.8796
|  | Current Policy | 2024 | Data Centers | mid-atlantic_emm | 40.2237 | -76.2295 | 9637.6345
|  | Current Policy | 2024 | Data Centers | ohio valley_emm | 39.6283 | -82.0051 | 12588.0852
|  | Current Policy | 2024 | Data Centers | middle mississippi valley_emm | 39.1378 | -89.0556 | 1494.3254
|  | Current Policy | 2024 | Data Centers | central great plains_emm | 38.5318 | -96.8925 | 1105.1264
|  | Current Policy | 2024 | Data Centers | northern california_emm | 38.3638 | -121.3105 | 11080.7529
|  | Current Policy | 2024 | Data Centers | virginia_emm | 37.5474 | -77.7047 | 50491.1846
|  | Current Policy | 2024 | Data Centers | tennessee valley_emm | 36.3702 | -85.8546 | 7589.5534
|  | Current Policy | 2024 | Data Centers | southern california_emm | 35.07 | -118.0484 | 3628.144
|  | Current Policy | 2024 | Data Centers | carolinas_emm | 34.9461 | -80.3321 | 7685.0809
|  | Current Policy | 2024 | Data Centers | southern great plains_emm | 34.4077 | -97.4176 | 2750.6268
|  | Current Policy | 2024 | Data Centers | southwest_emm | 34.1698 | -107.8247 | 12654.5109
|  | Current Policy | 2024 | Data Centers | mississippi delta_emm | 32.8414 | -92.0877 | 438.2598
|  | Current Policy | 2024 | Data Centers | southeast_emm | 32.534 | -85.3919 | 13461.1978
|  | Current Policy | 2024 | Data Centers | texas_emm | 31.1165 | -98.4105 | 55337.4984
|  | Current Policy | 2024 | Data Centers | florida_emm | 28.7083 | -82.2342 | 2576.6181
|  | Current Policy | 2030 | Data Centers | northwest_emm | 46.2308 | -117.1354 | 54444.0478
|  | Current Policy | 2030 | Data Centers | upper mississippi valley_emm | 44.2162 | -92.0602 | 10872.0723
|  | Current Policy | 2030 | Data Centers | northern great plains_emm | 43.8923 | -98.9375 | 22492.7675
|  | Current Policy | 2030 | Data Centers | michigan_emm | 43.6599 | -84.5778 | 1132.2982
|  | Current Policy | 2030 | Data Centers | new england_emm | 43.2753 | -71.4043 | 6992.3695
|  | Current Policy | 2030 | Data Centers | upstate new york_emm | 42.7815 | -75.7004 | 10185.4136
|  | Current Policy | 2030 | Data Centers | metropolitan chicago_emm | 41.5817 | -89.0463 | 26705.1941
|  | Current Policy | 2030 | Data Centers | great basin_emm | 41.4907 | -113.3993 | 18913.6736
|  | Current Policy | 2030 | Data Centers | metropolitan new york_emm | 40.7957 | -73.7491 | 3597.2264
|  | Current Policy | 2030 | Data Centers | rockies_emm | 40.4199 | -105.0432 | 12060.1954
|  | Current Policy | 2030 | Data Centers | mid-atlantic_emm | 40.2237 | -76.2295 | 18675.129
|  | Current Policy | 2030 | Data Centers | ohio valley_emm | 39.6283 | -82.0051 | 24392.3056
|  | Current Policy | 2030 | Data Centers | middle mississippi valley_emm | 39.1378 | -89.0556 | 2895.5981
|  | Current Policy | 2030 | Data Centers | central great plains_emm | 38.5318 | -96.8925 | 2141.4358
|  | Current Policy | 2030 | Data Centers | northern california_emm | 38.3638 | -121.3105 | 21471.5025
|  | Current Policy | 2030 | Data Centers | virginia_emm | 37.5474 | -77.7047 | 97838.2613
|  | Current Policy | 2030 | Data Centers | tennessee valley_emm | 36.3702 | -85.8546 | 14706.5014
|  | Current Policy | 2030 | Data Centers | southern california_emm | 35.07 | -118.0484 | 7030.3617
|  | Current Policy | 2030 | Data Centers | carolinas_emm | 34.9461 | -80.3321 | 14891.6082
|  | Current Policy | 2030 | Data Centers | southern great plains_emm | 34.4077 | -97.4176 | 5329.9697
|  | Current Policy | 2030 | Data Centers | southwest_emm | 34.1698 | -107.8247 | 24521.0205
|  | Current Policy | 2030 | Data Centers | mississippi delta_emm | 32.8414 | -92.0877 | 849.2305
|  | Current Policy | 2030 | Data Centers | southeast_emm | 32.534 | -85.3919 | 26084.1619
|  | Current Policy | 2030 | Data Centers | texas_emm | 31.1165 | -98.4105 | 107229.1079
|  | Current Policy | 2030 | Data Centers | florida_emm | 28.7083 | -82.2342 | 4992.7896
|  | Current Policy | 2035 | Data Centers | northwest_emm | 46.2308 | -117.1354 | 62739.6954
|  | Current Policy | 2035 | Data Centers | upper mississippi valley_emm | 44.2162 | -92.0602 | 13951.3943
|  | Current Policy | 2035 | Data Centers | northern great plains_emm | 43.8923 | -98.9375 | 55385.9611
|  | Current Policy | 2035 | Data Centers | michigan_emm | 43.6599 | -84.5778 | 1304.825
|  | Current Policy | 2035 | Data Centers | new england_emm | 43.2753 | -71.4043 | 8057.789
|  | Current Policy | 2035 | Data Centers | upstate new york_emm | 42.7815 | -75.7004 | 11737.355
|  | Current Policy | 2035 | Data Centers | metropolitan chicago_emm | 41.5817 | -89.0463 | 33322.7767
|  | Current Policy | 2035 | Data Centers | great basin_emm | 41.4907 | -113.3993 | 21795.5942
|  | Current Policy | 2035 | Data Centers | metropolitan new york_emm | 40.7957 | -73.7491 | 4145.3323
|  | Current Policy | 2035 | Data Centers | rockies_emm | 40.4199 | -105.0432 | 15483.4107
|  | Current Policy | 2035 | Data Centers | mid-atlantic_emm | 40.2237 | -76.2295 | 21520.639
|  | Current Policy | 2035 | Data Centers | ohio valley_emm | 39.6283 | -82.0051 | 28108.9339
|  | Current Policy | 2035 | Data Centers | middle mississippi valley_emm | 39.1378 | -89.0556 | 4050.2753
|  | Current Policy | 2035 | Data Centers | central great plains_emm | 38.5318 | -96.8925 | 3004.8277
|  | Current Policy | 2035 | Data Centers | northern california_emm | 38.3638 | -121.3105 | 24743.0929
|  | Current Policy | 2035 | Data Centers | virginia_emm | 37.5474 | -77.7047 | 112745.8379
|  | Current Policy | 2035 | Data Centers | tennessee valley_emm | 36.3702 | -85.8546 | 16947.6342
|  | Current Policy | 2035 | Data Centers | southern california_emm | 35.07 | -118.0484 | 8101.5712
|  | Current Policy | 2035 | Data Centers | carolinas_emm | 34.9461 | -80.3321 | 17160.627
|  | Current Policy | 2035 | Data Centers | southern great plains_emm | 34.4077 | -97.4176 | 12114.3973
|  | Current Policy | 2035 | Data Centers | southwest_emm | 34.1698 | -107.8247 | 28261.933
|  | Current Policy | 2035 | Data Centers | mississippi delta_emm | 32.8414 | -92.0877 | 1134.0819
|  | Current Policy | 2035 | Data Centers | southeast_emm | 32.534 | -85.3919 | 30058.642
|  | Current Policy | 2035 | Data Centers | texas_emm | 31.1165 | -98.4105 | 150357.3328
|  | Current Policy | 2035 | Data Centers | florida_emm | 28.7083 | -82.2342 | 5753.5358
|  | Current Policy | 2040 | Data Centers | northwest_emm | 46.2308 | -117.1354 | 67986.7877
|  | Current Policy | 2040 | Data Centers | upper mississippi valley_emm | 44.2162 | -92.0602 | 14550.4354
|  | Current Policy | 2040 | Data Centers | northern great plains_emm | 43.8923 | -98.9375 | 88270.7314
|  | Current Policy | 2040 | Data Centers | michigan_emm | 43.6599 | -84.5778 | 1305.7425
|  | Current Policy | 2040 | Data Centers | new england_emm | 43.2753 | -71.4043 | 8058.4379
|  | Current Policy | 2040 | Data Centers | upstate new york_emm | 42.7815 | -75.7004 | 11738.3013
|  | Current Policy | 2040 | Data Centers | metropolitan chicago_emm | 41.5817 | -89.0463 | 35049.1635
|  | Current Policy | 2040 | Data Centers | great basin_emm | 41.4907 | -113.3993 | 23616.2732
|  | Current Policy | 2040 | Data Centers | metropolitan new york_emm | 40.7957 | -73.7491 | 4146.1825
|  | Current Policy | 2040 | Data Centers | rockies_emm | 40.4199 | -105.0432 | 16138.7426
|  | Current Policy | 2040 | Data Centers | mid-atlantic_emm | 40.2237 | -76.2295 | 21522.3744
|  | Current Policy | 2040 | Data Centers | ohio valley_emm | 39.6283 | -82.0051 | 29368.0218
|  | Current Policy | 2040 | Data Centers | middle mississippi valley_emm | 39.1378 | -89.0556 | 4237.9884
|  | Current Policy | 2040 | Data Centers | central great plains_emm | 38.5318 | -96.8925 | 3866.3776
|  | Current Policy | 2040 | Data Centers | northern california_emm | 38.3638 | -121.3105 | 24745.0875
|  | Current Policy | 2040 | Data Centers | virginia_emm | 37.5474 | -77.7047 | 119296.8591
|  | Current Policy | 2040 | Data Centers | tennessee valley_emm | 36.3702 | -85.8546 | 18364.626
|  | Current Policy | 2040 | Data Centers | southern california_emm | 35.07 | -118.0484 | 8102.2242
|  | Current Policy | 2040 | Data Centers | carolinas_emm | 34.9461 | -80.3321 | 18593.9591
|  | Current Policy | 2040 | Data Centers | southern great plains_emm | 34.4077 | -97.4176 | 18902.281
|  | Current Policy | 2040 | Data Centers | southwest_emm | 34.1698 | -107.8247 | 30624.021
|  | Current Policy | 2040 | Data Centers | mississippi delta_emm | 32.8414 | -92.0877 | 1189.3636
|  | Current Policy | 2040 | Data Centers | southeast_emm | 32.534 | -85.3919 | 32568.9351
|  | Current Policy | 2040 | Data Centers | texas_emm | 31.1165 | -98.4105 | 167043.5916
|  | Current Policy | 2040 | Data Centers | florida_emm | 28.7083 | -82.2342 | 6232.9007
|  | Current Policy | 2045 | Data Centers | northwest_emm | 46.2308 | -117.1354 | 73227.6999
|  | Current Policy | 2045 | Data Centers | upper mississippi valley_emm | 44.2162 | -92.0602 | 15126.7238
|  | Current Policy | 2045 | Data Centers | northern great plains_emm | 43.8923 | -98.9375 | 121158.1199
|  | Current Policy | 2045 | Data Centers | michigan_emm | 43.6599 | -84.5778 | 1456.6728
|  | Current Policy | 2045 | Data Centers | new england_emm | 43.2753 | -71.4043 | 8994.3743
|  | Current Policy | 2045 | Data Centers | upstate new york_emm | 42.7815 | -75.7004 | 13101.6303
|  | Current Policy | 2045 | Data Centers | metropolitan chicago_emm | 41.5817 | -89.0463 | 36775.6713
|  | Current Policy | 2045 | Data Centers | great basin_emm | 41.4907 | -113.3993 | 25439.7361
|  | Current Policy | 2045 | Data Centers | metropolitan new york_emm | 40.7957 | -73.7491 | 4627.1597
|  | Current Policy | 2045 | Data Centers | rockies_emm | 40.4199 | -105.0432 | 16796.0015
|  | Current Policy | 2045 | Data Centers | mid-atlantic_emm | 40.2237 | -76.2295 | 24022.0617
|  | Current Policy | 2045 | Data Centers | ohio valley_emm | 39.6283 | -82.0051 | 31376.5384
|  | Current Policy | 2045 | Data Centers | middle mississippi valley_emm | 39.1378 | -89.0556 | 4399.5122
|  | Current Policy | 2045 | Data Centers | central great plains_emm | 38.5318 | -96.8925 | 4736.2888
|  | Current Policy | 2045 | Data Centers | northern california_emm | 38.3638 | -121.3105 | 27619.0729
|  | Current Policy | 2045 | Data Centers | virginia_emm | 37.5474 | -77.7047 | 125850.8435
|  | Current Policy | 2045 | Data Centers | tennessee valley_emm | 36.3702 | -85.8546 | 19782.7477
|  | Current Policy | 2045 | Data Centers | southern california_emm | 35.07 | -118.0484 | 9043.2462
|  | Current Policy | 2045 | Data Centers | carolinas_emm | 34.9461 | -80.3321 | 20029.7094
|  | Current Policy | 2045 | Data Centers | southern great plains_emm | 34.4077 | -97.4176 | 25719.4429
|  | Current Policy | 2045 | Data Centers | southwest_emm | 34.1698 | -107.8247 | 32989.318
|  | Current Policy | 2045 | Data Centers | mississippi delta_emm | 32.8414 | -92.0877 | 1225.5709
|  | Current Policy | 2045 | Data Centers | southeast_emm | 32.534 | -85.3919 | 35084.0494
|  | Current Policy | 2045 | Data Centers | texas_emm | 31.1165 | -98.4105 | 183754.1673
|  | Current Policy | 2045 | Data Centers | florida_emm | 28.7083 | -82.2342 | 6714.986
|  | Current Policy | 2050 | Data Centers | northwest_emm | 46.2308 | -117.1354 | 78479.0731
|  | Current Policy | 2050 | Data Centers | upper mississippi valley_emm | 44.2162 | -92.0602 | 15709.7522
|  | Current Policy | 2050 | Data Centers | northern great plains_emm | 43.8923 | -98.9375 | 154052.7062
|  | Current Policy | 2050 | Data Centers | michigan_emm | 43.6599 | -84.5778 | 1632.2462
|  | Current Policy | 2050 | Data Centers | new england_emm | 43.2753 | -71.4043 | 10079.1709
|  | Current Policy | 2050 | Data Centers | upstate new york_emm | 42.7815 | -75.7004 | 14681.795
|  | Current Policy | 2050 | Data Centers | metropolitan chicago_emm | 41.5817 | -89.0463 | 38499.3147
|  | Current Policy | 2050 | Data Centers | great basin_emm | 41.4907 | -113.3993 | 27264.6166
|  | Current Policy | 2050 | Data Centers | metropolitan new york_emm | 40.7957 | -73.7491 | 5185.2334
|  | Current Policy | 2050 | Data Centers | rockies_emm | 40.4199 | -105.0432 | 17451.1947
|  | Current Policy | 2050 | Data Centers | mid-atlantic_emm | 40.2237 | -76.2295 | 26919.4114
|  | Current Policy | 2050 | Data Centers | ohio valley_emm | 39.6283 | -82.0051 | 35160.8076
|  | Current Policy | 2050 | Data Centers | middle mississippi valley_emm | 39.1378 | -89.0556 | 4575.8716
|  | Current Policy | 2050 | Data Centers | central great plains_emm | 38.5318 | -96.8925 | 5607.059
|  | Current Policy | 2050 | Data Centers | northern california_emm | 38.3638 | -121.3105 | 30950.1609
|  | Current Policy | 2050 | Data Centers | virginia_emm | 37.5474 | -77.7047 | 141029.698
|  | Current Policy | 2050 | Data Centers | tennessee valley_emm | 36.3702 | -85.8546 | 21202.4178
|  | Current Policy | 2050 | Data Centers | southern california_emm | 35.07 | -118.0484 | 10133.9356
|  | Current Policy | 2050 | Data Centers | carolinas_emm | 34.9461 | -80.3321 | 21466.4775
|  | Current Policy | 2050 | Data Centers | southern great plains_emm | 34.4077 | -97.4176 | 32493.2583
|  | Current Policy | 2050 | Data Centers | southwest_emm | 34.1698 | -107.8247 | 35353.458
|  | Current Policy | 2050 | Data Centers | mississippi delta_emm | 32.8414 | -92.0877 | 1272.036
|  | Current Policy | 2050 | Data Centers | southeast_emm | 32.534 | -85.3919 | 37600.0166
|  | Current Policy | 2050 | Data Centers | texas_emm | 31.1165 | -98.4105 | 199897.3495
|  | Current Policy | 2050 | Data Centers | florida_emm | 28.7083 | -82.2342 | 7197.4108

## BDCL-low
Year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
heating | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
cooling and ventilation | 52571428.5714 | 59596330.2752 | 64509433.9623 | 68776699.0291 | 69000000 | 74200000 | 79200000 | 82298182 | 85455843 | 88671400.8 | 91933838.6 | 95233663.2 | 98554408 | 101880719.8 | 105171461.4 | 108397625.8 | 111529327 | 114554669.2 | 117425717.6 | 120145226.4 | 122666257 | 124989629.8 | 127059616.2 | 128858284.6 | 130365945.4 | 131571406 | 132641969.4
envelope | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lighting | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
appliances | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
other component | 131428571.4286 | 164403669.7248 | 198490566.0377 | 239223300.9709 | 276000000 | 296800000 | 316800000 | 329192728 | 341823372 | 354685603.2 | 367735354.4 | 380934652.8 | 394217632 | 407522879.2 | 420685845.6 | 433590503.2 | 446117308 | 458218676.8 | 469702870.4 | 480580905.6 | 490665028 | 499958519.2 | 508238464.8 | 515433138.4 | 521463781.6 | 526285624 | 530567877.6

## BDCL-mid
Year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
heating | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
cooling and ventilation | 52571428.5714 | 59596330.2752 | 71132075.4717 | 82398058.2524 | 89600000 | 103600000 | 117000000 | 123080000 | 129160000 | 135240000 | 141320000 | 147400000 | 150720000 | 154040000 | 157360000 | 160680000 | 164000000 | 165880000 | 167760000 | 169640000 | 171520000 | 173400000 | 175280000 | 177160000 | 179040000 | 180920000 | 182800000
envelope | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lighting | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
appliances | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
other component | 131428571.4286 | 164403669.7248 | 218867924.5283 | 286601941.7476 | 358400000 | 414400000 | 468000000 | 492320000 | 516640000 | 540960000 | 565280000 | 589600000 | 602880000 | 616160000 | 629440000 | 642720000 | 656000000 | 663520000 | 671040000 | 678560000 | 686080000 | 693600000 | 701120000 | 708640000 | 716160000 | 723680000 | 731200000

## BDCL-high
Year | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
heating | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
cooling and ventilation | 52571428.5714 | 59596330.2752 | 77018867.9245 | 94902912.6214 | 108800000 | 130600000 | 152000000 | 165000000 | 178000000 | 191000000 | 204000000 | 217000000 | 224160000 | 231320000 | 238480000 | 245640000 | 252800000 | 261940000 | 271080000 | 280220000 | 289360000 | 298500000 | 307640000 | 316780000 | 325920000 | 335060000 | 344200000
envelope | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lighting | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
appliances | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
other component | 131428571.4286 | 164403669.7248 | 236981132.0755 | 330097087.3786 | 435200000 | 522400000 | 608000000 | 660000000 | 712000000 | 764000000 | 816000000 | 868000000 | 896640000 | 925280000 | 953920000 | 982560000 | 1011200000 | 1047760000 | 1084320000 | 1120880000 | 1157440000 | 1194000000 | 1230560000 | 1267120000 | 1303680000 | 1340240000 | 1376800000