## About
APPLaLP Average Power Plant Lifetime
Sources: | Lifetime
National Renewable Energy Laboratory
Annual Technology Baseline 2024
https://atb.nrel.gov/electricity/2024/about
Financial and CRP inputs tab
Coal lifetime
Nature
Quantifying operational lifetimes for coal power plants under the Paris goals
https://www.nature.com/articles/s41467-019-12618-3
Results section
Gas lifetime
Global Energy Monitor
GOGPT Brief 2024 Methodology
https://www.gem.wiki/GOGPT_Brief_2024_Methodology
Assumptions
Notes:
Although we provide data on the lifetime of various power plant types, we assume
a 30-year lifetime for plants at present in order to make an apples-to-apples comparison
of costs for economic capacity additions.

## Lifetime Data
Offshore Wind | 30
Land-Based Wind | 30
Distributed Wind | 30
Solar - Utility PV | 30
Solar - PV Dist. Comm | 30
Solar - PV Dist. Res | 30
Solar - CSP | 30
Geothermal | 30
Hydropower | 100
Nuclear | 60
Biopower | 45
Utility-Scale PV-Plus-Battery | 30
Pumped Storage Hydropower | 100
Coal | 46
Combined Cycle | 30
Gas Turbine | 30
Steam Turbine | 56
Internal Combustion | 30

## Heat rate pivot (hidden)
Simple average (weighted by number of plants)
CAGR | (Multiple Items) |  | remove "n/a"
Average of CAGR | Column Labels
Row Labels |  | ASCC | FRCC | HICC | MRO | NPCC | RFC | SERC | TRE | WECC | #N/A | Grand Total
AB |  |  | -0.015929 |  | -0.036755 |  |  | -0.035109 |  | -0.0040336 |  | -0.02566
BFG |  |  |  |  | -0.051597 |  | -0.039999 |  |  |  |  | -0.041656
BIT |  |  | 0.0038112 |  | -0.049822 | 0.0012955 | -0.024909 | 0.0020811 |  | -0.015497 | 0.0014542 | -0.011655
BLQ |  |  | -0.029187 |  | -0.05765 | -0.042075 | -0.03143 | -0.0413 | -0.014525 | -0.026624 |  | -0.040281
DFO | 0.0042105 | 0.00047615 | 0.35305 | -0.00080587 | 0.0071765 | -0.00827 | 0.044469 | 0.054571 | 0.020018 | 0.016901 | -0.0026567 | 0.025464
GEO |  |  |  | -0.0074211 | [5 empty] | -0.0074433 |  | -0.0074429
JF | [5 empty] | -0.012269 |  |  |  | 0.019077 |  | 0.0034038
KER |  |  |  |  | -0.010902 | 0.0050485 | [5 empty] | 0.0041623
LFG |  |  | -0.0037317 |  | 0.015285 | 0.0029191 | 0.0067628 | 0.0042489 | 0.0045441 | -0.00096796 | -0.057769 | 0.0028496
LIG |  |  |  |  | -0.034171 |  |  | 0.00637 | -0.00067946 |  |  | -0.012358
MSW |  |  | 0.0071652 | 0.0081969 | 0.033998 | 0.006113 | -0.0047918 | 0.044966 |  | 0.0053184 |  | 0.0078879
NG |  | 0.0058784 | -0.0039839 |  | 0.0058889 | -0.018762 | -0.013027 | -0.010658 | -0.0082758 | -0.0062052 | 0.011913 | -0.0076969
NUC |  |  | 8.8453e-05 |  | 6.8232e-05 | 7.1094e-05 | 4.4099e-05 | 8.1413e-05 | 7.1213e-05 | 5.9639e-05 |  | 6.6428e-05
OBG |  |  | 0.0095994 |  | -0.011257 |  | -0.060884 | -0.092601 |  | -0.021 |  | -0.031922
OBL |  |  |  | 0.018653 | [7 empty] | 0.018653
OBS | [7 empty] | 0.066743 |  |  |  | 0.066743
OG |  |  |  |  | 0.0074264 |  | -0.052017 | -0.022378 | -0.094545 | 0.012785 | 0.013376 | -0.01816
PC |  |  |  |  | -0.022568 |  | -0.016375 |  | 0.068398 | -0.033646 |  | 0.0020269
RC |  |  |  |  | -0.0058471 |  | 0.0049251 | 0.0022141 |  | -0.0037453 |  | -0.00011245
RFO |  |  |  | -0.00020165 |  | -0.021558 | [5 empty] | -0.01088
SUB |  | -0.025003 |  | 0.0083423 | -0.007246 |  | 0.0010004 | -0.00018634 | -0.0011464 | -0.012678 | 0.0073043 | -0.0064254
TDF | [10 empty] | 0.018216 | 0.018216
WC | [6 empty] | 0.0079937 |  |  | -0.0049232 |  | 0.0063791
WDL | [5 empty] | -0.045496 |  |  |  | -0.037038 |  | -0.041267
WDS |  |  | 0.024678 |  | -0.035801 | -0.015954 | -0.023133 | -0.015796 |  | -0.011815 | -0.080812 | -0.018871
WH |  |  | -0.012114 |  | -0.035797 |  | 0.0033476 | -0.018275 | -0.022147 | -0.021003 | -0.088549 | -0.022561
WO |  | -0.02608 |  | -0.00802 | [7 empty] | -0.01404
Grand Total | 0.0042105 | 4.2013e-05 | 0.02085 | 0.00031076 | 0.0028733 | -0.010482 | 0.0012663 | 0.0071637 | -0.0060761 | -0.006288 | -0.014147 | -8.9822e-05
2018 capacity-weighted average
Fuel | (blank) | ASCC | FRCC | HICC | MRO | NPCC | RFC | SERC | TRE | WECC | (n/a) | Total
AB |  |  | -1.459% |  | -4.503% |  |  | -1.017% |  | -0.4034% |  | -1.709%
BFG |  |  |  |  | -5.16% |  | -3.504% |  |  |  |  | -3.588%
BIT |  |  | 0.2047% |  | -4.799% | 0.2013% | 0.2661% | 0.2477% |  | 0.08911% | 0.1454% | 0.2305%
BLQ |  |  | -2.857% |  | -6.016% | -4.37% | -3.142% | -4.387% | -1.452% | -2.78% |  | -4.301%
DFO | 0.4229% | 2.122% | 9.462% | -0.6086% | 2.861% | -0.2533% | 5.003% | 2.348% | 2.312% | 0.548% | 5.441% | 2.921%
GEO |  |  |  | -0.7421% | [5 empty] | -0.742% |  | -0.742%
JF | [5 empty] | -1.227% |  |  |  | 1.908% |  | 1.667%
KER |  |  |  |  | -1.09% | 0.442% | [5 empty] | 0.4215%
LFG |  |  | -0.2009% |  | 1.696% | 0.4298% | 0.4521% | 0.676% | 0.4911% | -0.04284% | 0.1696% | 0.4515%
LIG |  |  |  |  | -0.2813% |  |  | 0.637% | -0.1803% |  |  | -0.1114%
MSW |  |  | 0.8119% | 0.8197% | 3.157% | 0.5222% | -0.5031% | 2.579% |  | 0.4169% |  | 0.5976%
NG |  | 1.212% | -0.2758% |  | -0.08095% | -0.2444% | -0.5199% | -0.4667% | -0.5189% | -0.4216% | 1.363% | -0.3954%
NUC |  |  | 0.008845% |  | 0.007527% | 0.007108% | 0.005957% | 0.007857% | 0.007121% | 0.007252% |  | 0.007099%
OBG |  |  | 0.9599% |  | -0.6128% |  | -6.016% | -11.36% |  | -1.144% |  | -1.978%
OBL |  |  |  | 1.865% | [7 empty] | 1.865%
OBS | [7 empty] | 6.674% |  |  |  | 6.674%
OG |  |  |  |  | 0.3446% |  | -5.623% | -6.109% | -9.454% | -3.227% | 1.338% | -5.181%
PC |  |  |  |  | -2.257% |  | 1.052% |  | 9.557% | -2.33% |  | -0.3891%
RC |  |  |  |  | -0.3679% |  | 0.6512% | 0.1588% |  | 0.09131% |  | 0.1961%
RFO |  |  |  | 0.1066% |  | 0.2848% | [5 empty] | 0.2448%
SUB |  | -1.769% |  | 0.8342% | -0.09981% |  | -0.01594% | 0.05593% | -0.1319% | 0.04477% | 0.7304% | -0.01816%
TDF | [10 empty] | 1.822% | 1.822%
WC | [6 empty] | 0.4496% |  |  | -0.5471% |  | 0.3909%
WDL | [5 empty] | -4.55% |  |  |  | -3.704% |  | -4.261%
WDS |  |  | 2.381% |  | -5.116% | 0.3729% | -0.7612% | -1.157% |  | -0.355% | -10.65% | -1.063%
WH |  |  | -1.312% |  | -3.977% |  | 1.286% | -1.313% | -3.071% | -1.369% | -8.855% | -1.343%
WO |  | -2.608% |  | -0.6191% | [7 empty] | -0.7346%
Grand Total | 0.4229% | 1.409% | -0.1038% | 0.09736% | -0.04939% | -0.1361% | -0.03175% | -0.2103% | -0.422% | -0.2959% | 0.8996% | -0.1715%
Helper table 1: sum of CAGR * capacity
CAGR | (Multiple Items) |  | remove "n/a"
Sum of CAGR*2018cap | Column Labels
Row Labels |  | ASCC | FRCC | HICC | MRO | NPCC | RFC | SERC | TRE | WECC | #N/A | Grand Total
AB |  |  | -2.5962 |  | -1.4951 |  |  | -0.15361 |  | -0.11738 |  | -4.3622
BFG |  |  |  |  | -1.9349 |  | -24.5144 |  |  |  |  | -26.4493
BIT |  |  | 3.8215 |  | -2.5048 | 1.9683 | 75.2382 | 69.3969 |  | 6.9351 | 0.87543 | 155.7305
BLQ |  |  | -7.0305 |  | -27.9736 | -14.4994 | -3.2672 | -100.7481 | -0.83807 | -6.8758 |  | -161.2327
DFO | 0.019454 | 10.2878 | 43.7449 | -2.7954 | 83.1085 | -4.8459 | 177.0343 | 69.5806 | 0.36306 | 1.651 | 6.3657 | 384.5139
GEO |  |  |  | -0.37848 | [5 empty] | -23.8004 |  | -24.1789
JF | [5 empty] | -0.22821 |  |  |  | 4.2637 |  | 4.0355
KER |  |  |  |  | -0.25946 | 7.7508 | [5 empty] | 7.4913
LFG |  |  | -0.059473 |  | 1.4553 | 0.76638 | 2.6174 | 1.7719 | 0.29119 | -0.11966 | 0.042242 | 6.7653
LIG |  |  |  |  | -3.3054 |  |  | 4.5908 | -8.8968 |  |  | -7.6114
MSW |  |  | 3.7072 | 0.79756 | 2.7626 | 4.5526 | -3.3916 | 6.2774 |  | 0.41151 |  | 15.1172
NG |  | 10.7093 | -71.01 |  | -28.2307 | -75.1388 | -336.2549 | -516.9898 | -277.9092 | -333.4154 | 34.9367 | -1593.3028
NUC |  |  | 0.19106 |  | 0.34773 | 0.6955 | 1.8015 | 2.8407 | 0.36594 | 0.56077 |  | 6.8032
OBG |  |  | 0.023998 |  | -0.049635 |  | -0.82418 | -0.55671 |  | -1.137 |  | -2.5435
OBL |  |  |  | 2.1077 | [7 empty] | 2.1077
OBS | [7 empty] | 1.2014 |  |  |  | 1.2014
OG |  |  |  |  | 0.094753 |  | -15.4344 | -30.8299 | -4.9258 | -9.833 | 0.13376 | -60.7945
PC |  |  |  |  | -0.16926 |  | 0.5595 |  | 1.1755 | -2.2206 |  | -0.65491
RC |  |  |  |  | -24.7538 |  | 72.4577 | 31.8939 |  | 4.5457 |  | 84.1435
RFO |  |  |  | 1.0448 |  | 9.6521 | [5 empty] | 10.6969
SUB |  | -0.84024 |  | 1.6935 | -23.8963 |  | -1.56 | 9.662 | -10.1709 | 6.907 | 4.5812 | -13.6238
TDF | [10 empty] | 0.57016 | 0.57016
WC | [6 empty] | 7.4861 |  |  | -0.57007 |  | 6.916
WDL | [5 empty] | -1.3194 |  |  |  | -0.55557 |  | -1.875
WDS |  |  | 1.4167 |  | -7.5048 | 1.912 | -1.5765 | -9.6216 |  | -3.1587 | -10.6777 | -29.2106
WH |  |  | -5.0012 |  | -2.875 |  | 1.3601 | -1.6548 | -1.5755 | -1.5451 | -0.14168 | -11.4333
WO |  | -0.13822 |  | -0.53244 | [7 empty] | -0.67066
Grand Total | 0.019454 | 20.0186 | -32.792 | 1.9372 | -37.184 | -68.7341 | -48.2686 | -463.3389 | -302.1206 | -358.0739 | 36.6858 | -1251.8509
Helper table 2: sum of 2018 capacity
CAGR | (Multiple Items) |  | remove "n/a"
Sum of 2018_cap | Column Labels
Row Labels |  | ASCC | FRCC | HICC | MRO | NPCC | RFC | SERC | TRE | WECC | #N/A | Grand Total
AB |  |  | 177.9 |  | 33.2 |  |  | 15.1 |  | 29.1 |  | 255.3
BFG |  |  |  |  | 37.5 |  | 699.7 |  |  |  |  | 737.2
BIT |  |  | 1867.2 |  | 52.2 | 977.6 | 28272.2 | 28014.5 |  | 7782.7 | 602 | 67568.4
BLQ |  |  | 246.1 |  | 465 | 331.8 | 104 | 2296.7 | 57.7 | 247.3 |  | 3748.6
DFO | 4.6 | 484.9 | 462.3 | 459.3 | 2905 | 1913.2 | 3538.4 | 2962.8 | 15.7 | 301.3 | 117 | 13164.5
GEO |  |  |  | 51 | [5 empty] | 3207.6 |  | 3258.6
JF | [5 empty] | 18.6 |  |  |  | 223.5 |  | 242.1
KER |  |  |  |  | 23.8 | 1753.5 | [5 empty] | 1777.3
LFG |  |  | 29.6 |  | 85.8 | 178.3 | 579 | 262.1 | 59.3 | 279.3 | 24.9 | 1498.3
LIG |  |  |  |  | 1175 |  |  | 720.7 | 4934.2 |  |  | 6829.9
MSW |  |  | 456.6 | 97.3 | 87.5 | 871.8 | 674.2 | 243.4 |  | 98.7 |  | 2529.5
NG |  | 883.5 | 25750.6 |  | 34874.7 | 30741.1 | 64678.7 | 110784.4 | 53559.2 | 79087.7 | 2563.8 | 402923.7
NUC |  |  | 2160 |  | 4619.4 | 9784.3 | 30243.1 | 36152.6 | 5138.6 | 7732.6 |  | 95830.6
OBG |  |  | 2.5 |  | 8.1 |  | 13.7 | 4.9 |  | 99.4 |  | 128.6
OBL |  |  |  | 113 | [7 empty] | 113
OBS | [7 empty] | 18 |  |  |  | 18
OG |  |  |  |  | 27.5 |  | 274.5 | 504.7 | 52.1 | 304.7 | 10 | 1173.5
PC |  |  |  |  | 7.5 |  | 53.2 |  | 12.3 | 95.3 |  | 168.3
RC |  |  |  |  | 6727.7 |  | 11126.8 | 20082.1 |  | 4978.1 |  | 42914.7
RFO |  |  |  | 980.2 |  | 3389.6 | [5 empty] | 4369.8
SUB |  | 47.5 |  | 203 | 23942.9 |  | 9784 | 17275.7 | 7711.7 | 15429.3 | 627.2 | 75021.3
TDF | [10 empty] | 31.3 | 31.3
WC | [6 empty] | 1664.9 |  |  | 104.2 |  | 1769.1
WDL | [5 empty] | 29 |  |  |  | 15 |  | 44
WDS |  |  | 59.5 |  | 146.7 | 512.8 | 207.1 | 831.7 |  | 889.8 | 100.3 | 2747.9
WH |  |  | 381.3 |  | 72.3 |  | 105.8 | 126 | 51.3 | 112.9 | 1.6 | 851.2
WO |  | 5.3 |  | 86 | [7 empty] | 91.3
Grand Total | 4.6 | 1421.2 | 31593.6 | 1989.8 | 75291.8 | 50501.6 | 152019.3 | 220295.4 | 71592.1 | 121018.5 | 4078.1 | 729806
2018 capacity-weighted average
Fuel | 1930 | 1933 | 1947 | 1948 | 1949 | 1950 | 1951 | 1952 | 1953 | 1954 | 1955 | 1957 | 1958 | 1959 | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 1956 | 1945 | 1939 | 1941 | 1940 | 1946 | 1925 | 1934 | 1938 | 1944 | 1936 | 1935 | 1937 | 1927 | 1915 | 1943 | 1942 | Grand Total
BIT | -0.052231 | n/a | n/a | -0.063118 | n/a | n/a | n/a | n/a | n/a | 0.014969 | 0.0015549 | 0.006706 | 0.0032637 | 0.00078504 | -0.0019585 | n/a | n/a | n/a | 0.0065106 | 0.0031496 | 0.0028266 | 0.0035701 | -0.0037174 | 0.0044714 | 0.0049011 | 0.0026158 | -0.0019436 | 0.0045592 | 0.0020119 | 0.0049533 | n/a | 0.00056088 | -0.0010014 | -0.0026033 | 0.0032634 | 0.0014054 | 0.00069267 | 0.011603 | 0.0036027 | n/a | 0.00084669 | -0.048014 | -0.027344 | -0.0086073 | 0.04141 | 0.00018893 | 0.018142 | n/a | 0.0054981 | 0.0041314 | 0.0059027 | n/a | n/a | -0.0099365 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | -0.0017359 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | -0.044209 | n/a | n/a | n/a | n/a | 0.0023048
LIG | n/a | n/a | n/a | n/a | n/a | -0.098211 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | -0.0017861 | n/a | n/a | n/a | -0.00069629 | -3.3512e-05 | n/a | n/a | -0.0036051 | 0.00637 | n/a | n/a | n/a | 0.0020884 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | -0.0029867 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | -0.0011144
NG | n/a | n/a | 0.065086 | -0.011317 | -0.0045866 | -0.0053533 | -0.0074727 | -0.015147 | -0.0089501 | -0.00074144 | 0.048444 | -0.0039272 | -0.0041064 | -8.9042e-05 | 0.003467 | 0.013441 | -0.0042965 | -0.00022994 | 0.0040137 | 0.0017373 | 0.0056843 | -0.0031624 | 0.0015839 | -0.011526 | 0.0037431 | -0.0035254 | -0.0022516 | 0.010025 | -0.0060298 | 0.030348 | -8.4058e-05 | -0.0096144 | -0.010554 | -0.0041769 | 0.0051264 | 0.035075 | -0.010551 | -0.0070436 | 0.0038971 | -0.017821 | 0.0060491 | -0.0098469 | 0.0024011 | 0.0074035 | -0.00082523 | 0.0045305 | -0.0050692 | -0.0053388 | -0.0032361 | -0.0065981 | -0.0064744 | -0.015498 | -0.0047074 | -0.0022032 | -0.0025466 | -0.007013 | -0.0048716 | -0.0075929 | -0.0035028 | -0.013628 | -0.0033083 | 0.0017132 | -0.0040172 | -0.0047215 | -0.0058668 | 0.010186 | -0.02522 | -0.046086 | n/a | -0.02557 | 0.056478 | -0.1287 | n/a | n/a | 0.044213 | n/a | n/a | n/a | n/a | -0.018892 | -0.039505 | -0.017219 | -0.0039544
SUB | n/a | n/a | -0.14597 | -0.042683 | n/a | 0.0073043 | n/a | 0.02132 | 4.2537e-05 | 0.0098307 | -0.015447 | 0.0014859 | -0.00077312 | -0.00073693 | 0.00038353 | 0.0026483 | 0.0044895 | -0.00085479 | 0.0024579 | -0.098459 | n/a | -0.01467 | 0.0033119 | -0.0040255 | -0.00060001 | n/a | 0.0012553 | 0.00027012 | 0.0011934 | 0.0012447 | -0.00027552 | 0.0031283 | -0.0016072 | -0.00097475 | -0.00034372 | 0.0010891 | 0.0032822 | -0.0010656 | -0.00031067 | 0.0010322 | -0.0019669 | 0.17178 | -0.023772 | n/a | -0.088378 | n/a | -0.0083449 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | -0.027956 | n/a | n/a | 0.010405 | n/a | 0.0089975 | -0.08809 | -0.0083879 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | -0.0001816
NUC | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 7.1164e-05 | 7.1213e-05 | 0.00024801 | 3.4241e-06 | 7.0918e-05 | 7.4706e-05 | 7.1213e-05 | 7.7522e-05 | 7.1214e-05 | n/a | n/a | n/a | 7.1214e-05 | n/a | 7.1213e-05 | 6.048e-05 | 9.049e-05 | 7.943e-05 | 1.1365e-05 | 7.1213e-05 | n/a | 7.1214e-05 | n/a | n/a | n/a | n/a | n/a | 0.00011744 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 7.0992e-05
All thermal | -0.011967 | 0.23834 | -0.008603 | -0.012798 | -0.017102 | -0.002504 | -0.018915 | -0.012182 | -0.0019527 | 0.0002674 | 0.0018632 | -0.00068428 | -0.0060048 | -0.0012374 | 0.0021903 | 0.012485 | -0.0013156 | -0.00038802 | 0.0044485 | 0.0014048 | 0.016521 | 0.0015207 | 0.0012766 | -0.0030277 | 0.0025651 | -0.0014029 | 0.0024318 | 0.0034972 | -0.00066907 | 0.0047887 | 0.0036157 | -0.00028358 | -0.001772 | -0.0015178 | 0.0017776 | -8.8712e-05 | -2.3098e-05 | 0.0005272 | 0.00044366 | -0.0020202 | 0.00079435 | -0.0038964 | 0.00020739 | 0.0079725 | 0.0012833 | 0.0045521 | -0.0033945 | -0.006563 | -0.0022108 | -0.0044454 | -0.0036231 | -0.01484 | -0.0031841 | -0.0025564 | -0.0026521 | -0.006376 | -0.0047882 | -0.007568 | -0.0035148 | -0.013522 | -0.0030373 | 0.00069797 | -0.0051303 | -0.0070754 | -0.0030065 | 0.0078363 | -0.0081127 | -0.05117 | 0.19964 | -0.018733 | 0.053997 | -0.1287 | -0.024021 | -0.0047444 | 0.027126 | 0.012278 | 0.0043849 | -0.051476 | 0.01161 | -0.018892 | -0.047589 | -0.017219 | -0.0017153
CAGR | (Multiple Items) |  | remove "n/a"
Sum of CAGR*2018cap | Column Labels
Row Labels | 1930 | 1933 | 1947 | 1948 | 1949 | 1950 | 1951 | 1952 | 1953 | 1954 | 1955 | 1957 | 1958 | 1959 | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 1956 | 1945 | 1939 | 1941 | 1940 | 1946 | 1925 | 1934 | 1938 | 1944 | 1936 | 1935 | 1937 | 1927 | 1915 | 1943 | 1942 | Grand Total
AB | [35 empty] | -0.22946 |  | -0.16215 | 0.075853 |  |  |  |  | -0.11738 | [6 empty] | -1.6698 | [7 empty] | -0.92631 |  |  |  |  | -1.333 | [18 empty] | -4.3622
BFG | [5 empty] | -2.0004 | [17 empty] | -4.2449 | [15 empty] | -1.9349 | [10 empty] | -5.4651 | -3.4461 | [15 empty] | -5.9258 | [12 empty] | -3.4321 |  | -26.4493
BIT | -0.32383 |  |  | -0.6438 | [5 empty] | 14.2651 | 4.3643 | 7.7012 | 1.1913 | 0.98044 | -1.7015 |  |  |  | 2.8992 | 9.2234 | 8.2737 | 14.2176 | -2.4082 | 14.094 | 6.9047 | 21.0933 | -10.3005 | 9.7308 | 11.9461 | 16.5416 |  | 0.90218 | -1.5794 | -1.5321 | 4.2424 | 1.0849 | 0.74808 | 9.7834 | 14.4334 |  | 1.8178 | -16.0847 | -3.139 | -0.55775 | 7.6526 | 0.26934 | 6.7015 |  | 2.8992 | 5.1369 | 1.5247 |  |  | -2.2754 | [11 empty] | -2.0252 | [11 empty] | -2.321 |  |  |  |  | 155.7305
BLQ |  |  |  |  | -3.703 |  | -2.9679 |  | -1.4029 | -25.1599 |  | -3.963 | -4.922 | -3.0365 |  |  | -5.5907 | -3.8304 | -1.6731 | -4.1916 | -2.4547 | -11.542 | -22.5863 | -8.9824 | -1.8439 | -1.8777 | -2.5332 |  |  |  | -8.4307 | -0.72638 | -0.14715 |  | 0.53831 | -8.1362 | -10.3753 |  | -11.9983 | -1.7074 |  |  |  |  | -2.5516 | 5.5976 |  | -1.6774 |  |  | -0.1676 |  |  |  |  | -9.6356 |  |  |  |  | -1.5898 | -0.94609 | -10.9476 | 0.056527 | 13.8731 | [17 empty] | -161.2327
DFO | 0.10962 | 7.1503 | 0.16678 | -0.67712 | -0.89305 | -1.335 | -0.022219 | 0.34236 | 1.1887 | 4.0762 | -0.25477 | 0.43142 | -0.80144 | -0.54728 | 0.3271 | 1.2057 | 1.9737 | 1.7321 | 5.3848 | 0.33678 | 109.1378 | 34.1262 | 20.0477 | 10.2145 | 11.5336 | 3.5524 | 68.4104 | 8.6112 | 0.92942 | 2.1426 | 8.8945 | 0.49892 | 7.4051 | 1.9942 | 9.4396 | -8.9984 | -0.0074947 | -0.56183 | -2.0444 | 0.30456 | 0.32974 | 8.1085 | 0.079751 | 15.2995 | 1.8555 | -1.0024 | 1.6429 | 1.8383 | 1.6564 | 1.4013 | -0.043652 | 0.40503 | 0.4055 | 0.73278 | -3.9338 | 26.4308 | 3.1936 | 0.68811 | -0.14909 | 4.4838 | 5.4132 | 2.4115 | 7.2896 | -0.42837 | -1.4757 | 1.0146 | 0.38215 | -3.0417 | 1.5173 | 0.18211 | 2.2319 |  | 0.23818 | -0.17409 | -0.02837 | 0.62497 | 0.038149 | -0.64407 | 0.015093 |  |  |  | 384.5139
GEO | [25 empty] | -8.6307 | [10 empty] | -0.07421 | -1.3395 | -1.7158 | -2.2165 | -0.19592 | -0.87791 | -1.5241 | -2.1432 | -0.37106 |  | -0.6486 | -0.59368 |  |  | -0.3525 |  | -0.52616 |  | -0.54549 |  | -0.14703 |  |  | -0.21358 | -0.20305 | -0.10052 | -0.37849 | -1.1785 | -0.20245 | [17 empty] | -24.1789
JF | [22 empty] | -0.22821 | [9 empty] | 4.2637 | [49 empty] | 4.0355
KER | [21 empty] | 0.16077 | -1.4752 | -0.48927 | 8.6455 |  | 0.29912 |  | 1.4949 |  |  |  |  | 0.70298 | [5 empty] | 0.064889 | [17 empty] | 0.18156 | [6 empty] | -2.0939 | [17 empty] | 7.4913
LFG | [15 empty] | 0.51119 | [7 empty] | -0.21855 | [7 empty] | -0.094147 | [7 empty] | 0.12579 | 0.064736 | 0.86948 | -0.13201 | 0.18152 | -0.11983 | 0.056548 | 0.00047636 | 0.1581 | 0.59243 | 0.082884 | 0.98877 | 0.17902 | 0.52019 | -0.2349 | 0.093482 | -0.18147 | 0.070044 | 0.76491 | 0.83779 | 1.4641 | -0.40482 | -0.55585 | 0.094706 | -0.59378 | 1.6446 | [17 empty] | 6.7653
LIG | [5 empty] | -0.39285 | [25 empty] | -4.2501 |  |  |  | -0.31333 | -0.01374 |  |  | -2.5993 | 4.5908 |  |  |  | 0.72927 | [19 empty] | -5.3622 | [17 empty] | -7.6114
MSW |  |  |  | 1.0539 | 0.91288 | [29 empty] | -1.0406 | 2.2634 |  | -0.074689 | -1.9942 | 0.17738 | 0.063039 | 4.7068 | 0.67505 | 4.507 | 1.4571 | 1.9773 | 0.17926 |  | 0.62357 | 0.76519 | [10 empty] | -1.1352 | [21 empty] | 15.1172
NG |  |  | 0.98931 | -7.3491 | -1.9433 | -5.2767 | -16.4788 | -18.5705 | -15.6008 | -3.0388 | 9.7519 | -5.9431 | -22.9352 | -0.26518 | 11.5516 | 15.3478 | -15.3858 | -1.2002 | 7.0862 | 10.4144 | 16.6102 | -8.466 | 7.6044 | -36.7968 | 20.6917 | -51.4095 | -14.6536 | 29.8482 | -47.2542 | 83.0463 | -0.072484 | -12.2401 | -15.9693 | -6.2899 | 0.52802 | 18.3304 | -5.8115 | -0.39444 | 2.8164 | -33.0868 | 5.3268 | -34.9997 | 4.7258 | 30.2054 | -2.8857 | 20.2894 | -20.683 | -16.5861 | -28.1285 | -54.4394 | -21.9591 | -52.6981 | -8.4643 | -22.2263 | -68.7103 | -291.7206 | -276.8215 | -342.4799 | -67.5445 | -170.528 | -24.8901 | 8.1155 | -19.1304 | -37.7318 | -23.4461 | 45.6816 | -0.85999 | -1.4609 |  | -2.1734 | 3.4 | -3.0116 |  |  | 0.7472 |  |  |  |  | -0.077458 | -4.5628 | -1.7598 | -1593.3028
NUC | [23 empty] | 0.13529 | 0.18748 | 0.3605 | 0.01779 | 0.28124 | 0.83547 | 0.76066 | 0.45755 | 0.19239 |  |  |  | 0.34764 |  | 0.18031 | 0.35111 | 1.0036 | 0.70003 | 0.065017 | 0.36735 |  | 0.2615 | [5 empty] | 0.29828 | [31 empty] | 6.8032
OBG | [35 empty] | -0.0058387 |  |  |  | -0.71207 | 0.065777 | -0.026025 | -0.069036 |  |  |  |  | -0.013308 |  | -0.018229 |  |  |  |  | -0.25142 |  | 0.05424 | -0.086948 |  |  | -0.020561 |  | -0.18492 | -0.26971 | -1.0055 | [17 empty] | -2.5435
OBL | [63 empty] | 2.1077 | [18 empty] | 2.1077
OBS | [51 empty] | 1.2014 | [30 empty] | 1.2014
OG |  |  |  | -3.5785 |  |  | -31.7865 | 0.05767 | -0.076846 | 0.12138 | -5.2205 |  | 0.73503 | [12 empty] | 0.47831 | [10 empty] | -0.53514 |  |  | 0.13376 | 0.86954 | -1.7013 | [5 empty] | -4.9258 |  | 0.050109 |  | -0.25669 |  |  | 0.00089846 |  |  |  | 0.037268 | -7.9788 |  | 0.36298 | -6.5745 | [9 empty] | -1.0069 | [9 empty] | -60.7945
PC | [7 empty] | 0.86609 | [25 empty] | -0.22011 |  |  | -0.16926 | -0.18421 |  |  | -0.30659 | [8 empty] | -0.64083 | [32 empty] | -0.65491
RC |  |  | -1.643 | [5 empty] | 6.2504 |  |  |  | -14.9958 | -4.4224 | [5 empty] | 2.64 | -0.69538 | 6.1505 |  |  | -3.2004 |  | 17.2253 | 6.4364 | 5.3147 | 3.544 | 58.3911 | -0.54629 | -5.5551 | -1.2873 |  | -4.7427 |  | -0.22524 | 6.6932 | [5 empty] | 4.3109 | [5 empty] | 1.3248 |  |  |  |  | 2.599 | [8 empty] | 0.57674 | [17 empty] | 84.1435
RFO |  |  |  | 0.0020841 | [13 empty] | 1.6324 |  | -0.066724 |  |  | 6.7249 |  | -0.64857 |  |  |  | -0.71623 | 4.292 | [13 empty] | -0.523 | [38 empty] | 10.6969
SUB |  |  | -0.43791 | -0.21341 |  | 4.5812 |  | 0.5863 | 0.06874 | 16.7761 | -2.3418 | 0.24963 | -0.46263 | -0.6796 | 0.19829 | 0.60566 | 10.778 | -1.2227 | 0.58989 | -4.1254 |  | -19.3499 | 4.5939 | -7.9777 | -1.5613 |  | 2.2415 | 0.9154 | 4.0958 | 4.3259 | -0.97998 | 12.6335 | -9.5506 | -7.3192 | -1.6463 | 2.2939 | 17.2498 | -2.7728 | -0.88758 | 2.3363 | -1.4162 | 1.9068 | -0.37559 |  | -1.8383 |  | -13.744 | [10 empty] | -2.516 |  |  | 1.2038 |  | 3.0322 | -15.8563 | -7.6112 | [17 empty] | -13.6238
TDF | [45 empty] | 0.57016 | [36 empty] | 0.57016
WC | [41 empty] | 0.20049 | 4.3344 |  | 3.2341 | -0.97279 | -0.40624 | -1.1105 |  | 3.1294 | [8 empty] | -1.4928 | [23 empty] | 6.916
WDL | [11 empty] | -0.55557 | [29 empty] | -1.3194 | [40 empty] | -1.875
WDS |  |  |  |  | -5.3584 |  |  |  |  | -5.0755 | -0.14334 |  |  | -0.086523 | [12 empty] | -0.38249 | [6 empty] | -5.3529 | -0.77049 |  | -0.65662 | -0.4587 | 1.3376 | 2.9875 | -0.87003 | -2.3626 | -0.64891 | 1.3955 | -0.062808 | 4.0668 | 3.6106 | -1.0592 | 1.0469 | -0.051199 |  |  |  | -3.153 |  |  |  | -1.47 | -1.5418 |  | 0 | -5.8277 | -1.395 | -6.0988 | -0.79017 | -0.00023301 | [7 empty] | -0.03893 | [8 empty] | -29.2106
WH | [6 empty] | -1.585 | [14 empty] | -0.097591 | -0.9794 |  | -0.12086 | [5 empty] | -0.57308 |  | -0.39484 |  |  | -2.8958 | -0.30535 |  | 0.70612 | 0.8242 | -0.21878 |  | -2.5773 | -1.381 |  |  |  | -0.029388 |  |  | -0.21005 |  | 1.4577 | [6 empty] | -0.22128 | -2.4077 |  | -0.23103 | -0.080279 | -0.11243 | [17 empty] | -11.4333
WO | [36 empty] | -0.22878 | [17 empty] | -0.44188 | [27 empty] | -0.67066
Grand Total | -0.21422 | 7.1503 | -0.92483 | -11.4058 | -10.9849 | -4.4237 | -52.8404 | -16.7181 | -9.5728 | 1.9646 | 6.1557 | -2.0793 | -42.1907 | -8.057 | 10.3755 | 17.6703 | -8.2247 | -2.8888 | 14.2869 | 14.2307 | 130.8715 | 15.1996 | 11.2936 | -34.2659 | 40.5878 | -36.4334 | 60.3244 | 55.8232 | -23.3542 | 114.6532 | 57.6868 | -3.6301 | -21.5276 | -19.3043 | 11.291 | -1.0015 | -0.17954 | 3.7902 | 7.7735 | -34.2989 | 10.8208 | -41.5146 | 1.7164 | 46.8665 | 11.6718 | 30.852 | -23.3472 | -23.999 | -21.3099 | -44.5839 | -25.7313 | -54.6155 | -6.6071 | -27.1569 | -73.7885 | -272.5079 | -273.6506 | -344.9183 | -70.7794 | -172.9938 | -24.0343 | 3.4598 | -28.4255 | -61.4062 | -26.0052 | 44.6707 | -0.47784 | -10.4285 | 1.5173 | -1.9913 | 5.6319 | -3.0116 | -0.76868 | -0.21302 | 0.71883 | 0.62497 | 0.038149 | -2.965 | 0.015093 | -0.077458 | -7.9949 | -1.7598 | -1251.8509
Helper table 2: sum of 2018 capacity
CAGR | (Multiple Items) |  | remove "n/a"
Sum of 2018_cap | Column Labels
Row Labels | 1930 | 1933 | 1947 | 1948 | 1949 | 1950 | 1951 | 1952 | 1953 | 1954 | 1955 | 1957 | 1958 | 1959 | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 1956 | 1945 | 1939 | 1941 | 1940 | 1946 | 1925 | 1934 | 1938 | 1944 | 1936 | 1935 | 1937 | 1927 | 1915 | 1943 | 1942 | Grand Total
AB | [35 empty] | 3 |  | 9.8 | 12.1 |  |  |  |  | 29.1 | [6 empty] | 128.9 | [7 empty] | 49 |  |  |  |  | 23.4 | [18 empty] | 255.3
BFG | [5 empty] | 68 | [17 empty] | 176.2 | [15 empty] | 37.5 | [10 empty] | 90 | 161 | [15 empty] | 152 | [12 empty] | 52.5 |  | 737.2
BIT | 6.2 |  |  | 10.2 | [5 empty] | 953 | 2806.7 | 1148.4 | 365 | 1248.9 | 868.8 |  |  |  | 445.3 | 2928.4 | 2927.1 | 3982.4 | 647.8 | 3152 | 1408.8 | 8063.8 | 5299.7 | 2134.3 | 5937.8 | 3339.5 |  | 1608.5 | 1577.2 | 588.5 | 1300 | 772 | 1080 | 843.2 | 4006.3 |  | 2147 | 335 | 114.8 | 64.8 | 184.8 | 1425.6 | 369.4 |  | 527.3 | 1243.4 | 258.3 |  |  | 229 | [11 empty] | 1166.7 | [11 empty] | 52.5 |  |  |  |  | 67568.4
BLQ |  |  |  |  | 65 |  | 51.5 |  | 69.4 | 434 |  | 124.9 | 130 | 78.4 |  |  | 91.6 | 101.2 | 80 | 79.8 | 40.8 | 188.3 | 324.8 | 183.9 | 42.1 | 68 | 65 |  |  |  | 107.1 | 28 | 48 |  | 47.6 | 82.8 | 280.5 |  | 160 | 72.5 |  |  |  |  | 102.6 | 141.3 |  | 54 |  |  | 36 |  |  |  |  | 88 |  |  |  |  | 50 | 37.3 | 78.8 | 64 | 51.4 | [17 empty] | 3748.6
DFO | 11.7 | 30 | 26.8 | 81.8 | 57.8 | 81.8 | 38.4 | 41.7 | 65.2 | 60 | 61.7 | 69.1 | 29.1 | 25 | 19.4 | 22.2 | 178.5 | 84.1 | 680.8 | 43.1 | 193.8 | 674.4 | 417.8 | 564.9 | 705.5 | 614.7 | 1372.4 | 896.1 | 708.9 | 62 | 173.3 | 147.6 | 658.6 | 56.6 | 52.4 | 546.9 | 9.4 | 14.3 | 138.8 | 24.2 | 31.9 | 46.4 | 37.9 | 282 | 237.2 | 124.8 | 100.2 | 59.1 | 43.3 | 60.9 | 17.9 | 58.8 | 53.8 | 128.5 | 675.1 | 423.3 | 278.3 | 124.8 | 154.1 | 50.9 | 42.7 | 34.7 | 33.8 | 7.3 | 58.1 | 40.5 | 24.8 | 20.1 | 7.6 | 21.3 | 44.1 |  | 11.5 | 12.4 | 9.6 | 50.9 | 8.7 | 5.1 | 1.3 |  |  |  | 13164.5
GEO | [25 empty] | 1163 | [10 empty] | 10 | 188 | 231.2 | 306.7 | 26.4 | 118.3 | 205.8 | 289.6 | 50 |  | 87.4 | 80 |  |  | 47.5 |  | 70.9 |  | 69.8 |  | 21.5 |  |  | 30 | 26 | 13.5 | 48 | 151.5 | 23.5 | [17 empty] | 3258.6
JF | [22 empty] | 18.6 | [9 empty] | 223.5 | [49 empty] | 242.1
KER | [21 empty] | 43.6 | 58.8 | 156.5 | 261.5 |  | 41.8 |  | 567 |  |  |  |  | 69 | [5 empty] | 222.6 | [17 empty] | 114.5 | [6 empty] | 242 | [17 empty] | 1777.3
LFG | [15 empty] | 22.5 | [7 empty] | 8.6 | [7 empty] | 6.4 | [7 empty] | 30.4 | 60.5 | 2.7 | 26.6 | 16.6 | 2.8 | 12.8 | 47.6 | 33.7 | 43.8 | 20.1 | 142.7 | 38.4 | 57.6 | 78.3 | 12.5 | 117.4 | 24.7 | 84.7 | 38.8 | 48.6 | 96.7 | 79.3 | 109 | 115.1 | 119.4 | [17 empty] | 1498.3
LIG | [5 empty] | 4 | [25 empty] | 2379.6 |  |  |  | 450 | 410 |  |  | 721 | 720.7 |  |  |  | 349.2 | [19 empty] | 1795.4 | [17 empty] | 6829.9
MSW |  |  |  | 25 | 23 | [29 empty] | 50 | 77 |  | 76.5 | 124.2 | 116.1 | 16.7 | 248 | 426.2 | 426 | 271.5 | 341 | 5 |  | 196.8 | 82.4 | [10 empty] | 24.1 | [21 empty] | 2529.5
NG |  |  | 15.2 | 649.4 | 423.7 | 985.7 | 2205.2 | 1226 | 1743.1 | 4098.5 | 201.3 | 1513.3 | 5585.2 | 2978.1 | 3331.9 | 1141.9 | 3581 | 5219.4 | 1765.5 | 5994.4 | 2922.1 | 2677.1 | 4801 | 3192.4 | 5527.9 | 14582.4 | 6508.1 | 2977.4 | 7836.8 | 2736.5 | 862.3 | 1273.1 | 1513.1 | 1505.9 | 103 | 522.6 | 550.8 | 56 | 722.7 | 1856.6 | 880.6 | 3554.4 | 1968.2 | 4079.9 | 3496.8 | 4478.4 | 4080.1 | 3106.7 | 8692.1 | 8250.8 | 3391.7 | 3400.3 | 1798.1 | 10088.1 | 26980.7 | 41597.2 | 56823.9 | 45105 | 19282.9 | 12512.8 | 7523.5 | 4737 | 4762.1 | 7991.5 | 3996.4 | 4484.8 | 34.1 | 31.7 |  | 85 | 60.2 | 23.4 |  |  | 16.9 |  |  |  |  | 4.1 | 115.5 | 102.2 | 402923.7
NUC | [23 empty] | 1901.1 | 2632.6 | 1453.6 | 5195.4 | 3965.7 | 11183.4 | 10681.4 | 5902.1 | 2701.6 |  |  |  | 4881.6 |  | 2532 | 5805.4 | 11090.5 | 8813.2 | 5720.8 | 5158.4 |  | 3672 | [5 empty] | 2539.8 | [31 empty] | 95830.6
OBG | [35 empty] | 1.5 |  |  |  | 24.6 | 40.9 | 1.5 | 1.8 |  |  |  |  | 23.5 |  | 1.6 |  |  |  |  | 5.1 |  | 2.1 | 2 |  |  | 4.4 |  | 6.8 | 5.1 | 7.7 | [17 empty] | 128.6
OBL | [63 empty] | 113 | [18 empty] | 113
OBS | [51 empty] | 18 | [30 empty] | 18
OG |  |  |  | 85.8 |  |  | 450.9 | 30 | 2.5 | 7.5 | 31 |  | 25 | [12 empty] | 25 | [10 empty] | 103 |  |  | 10 | 39.7 | 54.9 | [5 empty] | 52.1 |  | 5.5 |  | 3.8 |  |  | 8 |  |  |  | 5.7 | 144 |  | 1.6 | 67 | [9 empty] | 20.5 | [9 empty] | 1173.5
PC | [7 empty] | 47.2 | [25 empty] | 4.7 |  |  | 7.5 | 34.9 |  |  | 6 | [8 empty] | 68 | [32 empty] | 168.3
RC |  |  | 62.5 | [5 empty] | 1406.1 |  |  |  | 293.5 | 1240 | [5 empty] | 1005.4 | 1837.7 | 1099.4 |  |  | 2628.1 |  | 4534.9 | 2600 | 4825.9 | 1844.1 | 5348.1 | 617.4 | 2136.3 | 2885.7 |  | 1710 |  | 811.9 | 3344.1 | [5 empty] | 350 | [5 empty] | 417.3 |  |  |  |  | 513.7 | [8 empty] | 1402.6 | [17 empty] | 42914.7
RFO |  |  |  | 34 | [13 empty] | 609.7 |  | 37.1 |  |  | 1165 |  | 7 |  |  |  | 414 | 1803.6 | [13 empty] | 299.4 | [38 empty] | 4369.8
SUB |  |  | 3 | 5 |  | 627.2 |  | 27.5 | 1616 | 1706.5 | 151.6 | 168 | 598.4 | 922.2 | 517 | 228.7 | 2400.7 | 1430.4 | 240 | 41.9 |  | 1319 | 1387.1 | 1981.8 | 2602.2 |  | 1785.6 | 3388.9 | 3431.9 | 3475.4 | 3556.8 | 4038.5 | 5942.3 | 7508.8 | 4789.6 | 2106.2 | 5255.6 | 2602.2 | 2857 | 2263.5 | 720 | 11.1 | 15.8 |  | 20.8 |  | 1647 | [10 empty] | 90 |  |  | 115.7 |  | 337 | 180 | 907.4 | [17 empty] | 75021.3
TDF | [45 empty] | 31.3 | [36 empty] | 31.3
WC | [41 empty] | 36 | 136.4 |  | 250.2 | 166.9 | 189.7 | 152.8 |  | 252.1 | [8 empty] | 585 | [23 empty] | 1769.1
WDL | [11 empty] | 15 | [29 empty] | 29 | [40 empty] | 44
WDS |  |  |  |  | 72.8 |  |  |  |  | 87.6 | 51.5 |  |  | 18.7 | [12 empty] | 3.7 | [6 empty] | 99.5 | 9.1 |  | 11.9 | 20.5 | 59.5 | 120.3 | 102.8 | 496.4 | 65.9 | 352.3 | 107 | 55.5 | 351.5 | 90.8 | 135.5 | 44.5 |  |  |  | 99.2 |  |  |  | 55 | 22.2 |  | 0 | 53.5 | 68.2 | 18.1 | 33.4 | 8.5 | [7 empty] | 32.5 | [8 empty] | 2747.9
WH | [6 empty] | 47.6 | [14 empty] | 11.2 | 26 |  | 7.5 | [5 empty] | 5 |  | 49.5 |  |  | 135.5 | 34 |  | 60.1 | 81.9 | 15.9 |  | 118.4 | 38.8 |  |  |  | 4 |  |  | 31.9 |  | 94.6 | [6 empty] | 7 | 30 |  | 30 | 9.8 | 12.5 | [17 empty] | 851.2
WO | [36 empty] | 20 | [17 empty] | 71.3 | [27 empty] | 91.3
Grand Total | 17.9 | 30 | 107.5 | 891.2 | 642.3 | 1766.7 | 2793.6 | 1372.4 | 4902.3 | 7347.1 | 3303.8 | 3038.7 | 7026.2 | 6511.3 | 4737.1 | 1415.3 | 6251.8 | 7444.8 | 3211.6 | 10130.1 | 7921.5 | 9995.4 | 8846.9 | 11317.4 | 15823.2 | 25970.5 | 24806.6 | 15962.4 | 34905.7 | 23942.5 | 15954.7 | 12800.7 | 12148.5 | 12718.7 | 6351.7 | 11289.1 | 7772.7 | 7189.3 | 17521.4 | 16978.4 | 13622.3 | 10654.5 | 8276.2 | 5878.5 | 9094.9 | 6777.6 | 6877.9 | 3656.7 | 9638.8 | 10029.3 | 7102 | 3680.3 | 2075 | 10623.1 | 27822.5 | 42739.6 | 57150.5 | 45576 | 20137.7 | 12793.3 | 7913.1 | 4956.9 | 5540.7 | 8678.8 | 8649.8 | 5700.5 | 58.9 | 203.8 | 7.6 | 106.3 | 104.3 | 23.4 | 32 | 44.9 | 26.5 | 50.9 | 8.7 | 57.6 | 1.3 | 4.1 | 168 | 102.2 | 729806

## APPL
power plant type | lifetime
hard coal | 30
natural gas steam turbine | 30
natural gas combined cycle | 30
nuclear | 30
hydro | 30
onshore wind | 30
solar pv | 30
solar thermal | 30
biomass | 30
geothermal | 30
petroleum | 30
natural gas peaker | 30
lignite | 30
offshore wind | 30
crude oil | 30
heavy or residual fuel oil | 30
municipal solid waste | 30
hard coal w CCS | 30
natural gas combined cycle w CCS | 30
biomass w CCS | 30
lignite w CCS | 30
small modular reactor | 30
hydrogen combustion turbine | 30
hydrogen combined cycle | 30