## About
ARpUIiRC Annual Retirement per Unit Increase in Relative Cost
Source: | Projected Retirements Under High Oil and Gas Case
Energy Information Administration
2022
https://www.eia.gov/outlooks/aeo/
Table 3 for Reference and High Oil and Gas Supply cases (fuel prices) and Table 9 for High Oil and Gas Supply case capacity
Weighting Factors
Model input data file elec/CCaMC and model output: see Weighting tab for more information
Notes
Each electricity source has a certain holistic cost per unit potential electricity
output, which includes fuel, O&M, subsidies, and annualized and discounted
plant construction costs. The model takes the difference between each source's
cost and the average cost of electricity generation for each of the BAU and Policy
cases. User-set policy levers can cause the differences between each source
and its same-case median to differ between the BAU and Policy cases, making
some sources relatively more expensive or relatively cheaper than others.
This variable relates the relative increase in cost of each source to
its rate of early retirement. Sources that have become cheaper relative to the
mean as a result of policy levers are unaffected, while sources that have become
more expensive relative to the mean may retire early, unless ineligible to
retire early. Ineligible sources have values of zero on the next tab and fall
into two categories:
Cost per Unit Power Doesn't Determine Peaker Retirements: Peaker plants
(natural gas peakers and petroleum plants) are run primarily to provide grid
balancing and fast-ramping services, not to generate power cheaply. These
services will still be valuable, even if fossil fuels become more expensive or
if renewables become cheaper.
The cost metric we are using is relatively novel. (It is the difference between the
BAU and Policy cases in the difference between each source and the same-case
all-source mean). For this reason, it is not possible to look up a value for it explicitly
in the literature. However, it is possible to calibrate it by finding a source that
estimates how many coal plant retirements would be induced by (say) a particular
level of carbon tax implemented in certain years. We then set up that carbon tax
policy in the model and adjust this variable (ARpUIiRC) to obtain the quantity
of coal retirements specified by our input data source.
We calibrate this variable to the data from EIA for coal and nuclear power plants
(see the High OGS Calibration tab for a graph of EPS results compared to EIA).
For other plant types, we adjust the calculated coal value by the ratio of
that plant type's generator costs to coal generator costs.
To calibrate coal and nuclear, we drop Electricity Sector fuel prices from Table 3
into the file fuels/BFPaT and paste the resulting prices into the Fuel Prices tab.
We then run the model with the AEO Reference fuel price and BAU retirement data
and use the Fuel Tax policy so that the policy-driven change in fuel prices is enough
to match the High Oil and Gas case prices. Then, we can calibrate the values of
ARpUIiRC here so that the policy-driven retirements in the model roughly match
retirements in the AEO High Oil and Gas case.
Currency Conversion
0.9
2019 to 2012 USD

## AEO Table 9 High OGS
| highogs.d011222a | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
|  | Report | Annual Energy Outlook 2022
|  | Scenario | highogs |  |  | High Oil and Gas Supply
|  | Datekey | d011222a
|  | Release Date |  | March 2022
EGC000 | 9. Electricity Generating Capacity | [30 empty] | Average
| (gigawatts) | [30 empty] | Annual
Change
| Net Summer Capacity 1/ | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2021–2050
Electric Power Sector 2/
Power Only 3/
EGC000:ba_CoalSteam | Coal 4/ | 207.2408 | 197.4274 | 188.4364 | 180.5658 | 157.3597 | 150.6462 | 135.2281 | 120.6172 | 112.1382 | 107.3609 | 105.5045 | 101.4645 | 96.1346 | 91.6688 | 90.0528 | 88.2922 | 87.9022 | 86.0652 | 85.7262 | 80.6295 | 80.2685 | 80.2685 | 80.2685 | 79.4265 | 76.9125 | 76.9125 | 76.9125 | 76.9125 | 76.9125 | 76.9125 | -3.36%
EGC000:ba_OtherFossilSt | Oil and Natural Gas Steam 4, 5/ | 73.7758 | 71.5554 | 66.5053 | 59.747 | 54.4354 | 51.1222 | 49.4745 | 48.7145 | 46.6069 | 46.6069 | 45.0783 | 44.8353 | 44.0932 | 43.5482 | 42.5987 | 41.8887 | 41.6387 | 42.4087 | 42.4087 | 43.2304 | 43.2304 | 43.2304 | 43.2304 | 44.0724 | 43.4602 | 43.4602 | 43.4602 | 43.4602 | 43.4602 | 43.4602 | -1.808%
EGC000:ba_CombinedCycle | Combined Cycle | 249.7643 | 257.8427 | 261.3536 | 277.1584 | 295.032 | 303.8567 | 327.2274 | 339.2189 | 351.2703 | 358.0495 | 365.4552 | 377.3219 | 386.3179 | 393.9427 | 403.6325 | 411.1157 | 415.8232 | 420.5485 | 425.4877 | 429.4814 | 434.2183 | 438.6623 | 446.483 | 455.264 | 461.2508 | 467.3807 | 474.4891 | 477.3935 | 481.9114 | 485.6406 | 2.319%
EGC000:ba_CombustionTur | Combustion Turbine/Diesel | 141.1348 | 153.6819 | 168.3529 | 177.825 | 193.9745 | 197.1277 | 204.1343 | 208.8995 | 214.491 | 217.8516 | 221.3854 | 226.3745 | 230.7659 | 235.3977 | 241.1942 | 244.6772 | 249.132 | 255.6721 | 259.8813 | 267.6477 | 272.9341 | 277.8995 | 282.7294 | 290.5502 | 297.8978 | 304.6625 | 313.9458 | 325.55 | 330.8264 | 344.4919 | 3.125%
EGC000:ba_NuclearPower | Nuclear Power 6/ | 95.4873 | 97.0148 | 97.0588 | 97.1096 | 96.0187 | 94.9319 | 92.796 | 77.8665 | 77.9115 | 75.8205 | 75.0853 | 71.4231 | 55.5465 | 55.6346 | 55.8129 | 55.9455 | 55.9722 | 55.999 | 53.8562 | 53.8999 | 54.0588 | 54.1738 | 53.3468 | 53.4427 | 52.9452 | 50.4836 | 50.5377 | 50.5714 | 50.6121 | 50.6745 | -2.161%
EGC000:ba_PumpedStorage | Pumped Storage | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 23.0162 | 0%
EGC000:ba_DiurnalStorag | Diurnal Storage | 3.968 | 6.1261 | 8.0084 | 8.6736 | 9.2546 | 10.0328 | 11.1395 | 12.0324 | 13.025 | 13.5931 | 15.3388 | 15.5862 | 15.8819 | 16.2793 | 16.6582 | 16.8363 | 16.8728 | 16.8728 | 17.2127 | 17.7591 | 17.885 | 18.2782 | 18.7714 | 18.7938 | 20.4182 | 20.9819 | 21.6154 | 22.5149 | 22.563 | 22.7446 | 6.206%
EGC000:ba_FuelCells | Fuel Cells | 0.2231 | 0.2527 | 0.2527 | 0.25526 | 0.25745 | 0.25745 | 0.25745 | 0.25745 | 0.25745 | 0.25745 | 0.25635 | 0.25635 | 0.25635 | 0.25635 | 0.25635 | 0.25635 | 0.25635 | 0.25635 | 0.25635 | 0.25635 | 0.25735 | 0.25735 | 0.25735 | 0.25735 | 0.25735 | 0.25735 | 0.25735 | 0.25735 | 0.25735 | 0.25735 | 0.4937%
EGC000:ba_RenewableSour | Renewable Sources 7/ | 285.2788 | 310.0785 | 341.7465 | 360.1154 | 379.0809 | 387.516 | 397.4369 | 407.6245 | 428.7874 | 444.3625 | 451.4242 | 464.1411 | 469.9318 | 481.8445 | 503.2198 | 514.6281 | 521.9534 | 525.6471 | 530.2649 | 538.3626 | 545.1223 | 554.0961 | 564.0925 | 574.1084 | 585.3078 | 598.7562 | 608.6637 | 613.228 | 619.8684 | 629.1493 | 2.765%
EGC000:ba_DistributedGe | Distributed Generation (Natural Gas) 8/ | 0 | 0 | 1.4067 | 1.727 | 2.0334 | 2.3983 | 2.9001 | 3.4319 | 4.0721 | 4.7172 | 5.368 | 6.2395 | 7.0548 | 8.05 | 9.262 | 10.5806 | 11.9066 | 13.2896 | 14.791 | 16.2773 | 17.7007 | 19.3673 | 21.0703 | 22.8351 | 24.5824 | 26.3796 | 28.2679 | 29.9585 | 31.641 | 33.4402 | --
EGC000:ba_Total | Total | 1079.889 | 1116.9957 | 1156.1376 | 1186.1934 | 1210.4628 | 1220.9054 | 1243.6106 | 1241.6792 | 1271.5759 | 1291.636 | 1307.9121 | 1330.6586 | 1328.9991 | 1349.6384 | 1385.7037 | 1407.2367 | 1424.4736 | 1439.7755 | 1452.9011 | 1470.5605 | 1488.6918 | 1509.2498 | 1533.266 | 1561.7667 | 1586.0485 | 1612.2906 | 1641.166 | 1662.8625 | 1681.0686 | 1709.7872 | 1.597%
Combined Heat and Power 9/
EGC000:ca_CoalSteam | Coal | 1.6835 | 1.6835 | 1.6835 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | 1.4395 | -0.5385%
EGC000:ca_OtherFossilSt | Oil and Natural Gas Steam 5/ | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0.5718 | 0%
EGC000:ca_CombinedCycle | Combined Cycle | 21.3512 | 21.3512 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | 21.1726 | -0.029%
EGC000:ca_CombustionTur | Combustion Turbine/Diesel | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 2.8766 | 0%
EGC000:ca_RenewableSour | Renewable Sources 7/ | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0.9753 | 0%
EGC000:ca_Total | Total | 27.4584 | 27.4584 | 27.2798 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | 27.0358 | -0.0535%
Cumulative Planned Additions 10/
EGC000:da_CoalSteam | Coal | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:da_OtherFossilSt | Oil and Natural Gas Steam 5/ | -- | 0 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | 0.335 | --
EGC000:da_CombinedCycle | Combined Cycle | -- | 8.0784 | 12.3492 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | 12.8952 | --
EGC000:da_CombustionTur | Combustion Turbine/Diesel | -- | 1.8994 | 3.405 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | 3.922 | --
EGC000:da_NuclearPower | Nuclear Power | -- | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | 2.228 | --
EGC000:da_PumpedStorage | Pumped Storage | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:da_DiurnalStorag | Diurnal Storage | -- | 1.7702 | 3.6525 | 4.2985 | 4.8795 | 5.4285 | 5.9775 | 6.5265 | 7.0755 | 7.6245 | 7.8635 | 8.1025 | 8.3415 | 8.5805 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | 8.8195 | --
EGC000:da_FuelCells | Fuel Cells | -- | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | 0.0296 | --
EGC000:da_RenewableSour | Renewable Sources 7/ | -- | 24.8118 | 40.9991 | 41.0591 | 42.5591 | 44.0591 | 44.0591 | 46.0591 | 46.0591 | 53.1591 | 53.1591 | 53.1591 | 53.1591 | 58.3591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | 66.5591 | --
EGC000:da_DistributedGe | Distributed Generation 8/ | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:da_Total | Total | -- | 38.8174 | 62.9984 | 64.7674 | 66.8484 | 68.8974 | 69.4464 | 71.9954 | 72.5444 | 80.1934 | 80.4324 | 80.6714 | 80.9104 | 86.3494 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | 94.7884 | --
Cumulative Unplanned Additions 10/
EGC000:ea_CoalSteam | Coal | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_OtherFossilSt | Oil and Natural Gas Steam 5/ | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_CombinedCycle | Combined Cycle | -- | 0 | 0 | 17.378 | 36.303 | 45.2288 | 69.0495 | 81.041 | 93.3344 | 100.1135 | 107.8313 | 119.8008 | 128.7967 | 136.4216 | 146.3087 | 154.4999 | 159.2074 | 163.9327 | 168.8719 | 173.5065 | 178.2435 | 183.3812 | 191.2019 | 200.493 | 206.4797 | 212.6096 | 219.718 | 222.6224 | 227.1403 | 230.8696 | --
EGC000:ea_CombustionTur | Combustion Turbine/Diesel | -- | 11.449 | 25.1589 | 34.1932 | 50.4736 | 54.3354 | 61.9967 | 66.7776 | 72.3691 | 75.7332 | 79.412 | 85.1585 | 89.5499 | 94.1817 | 99.9952 | 104.2942 | 108.749 | 115.2892 | 119.4998 | 127.2663 | 132.7785 | 137.7758 | 142.6342 | 150.8861 | 158.3438 | 165.1484 | 174.4317 | 186.0359 | 191.3123 | 205.0923 | --
EGC000:ea_NuclearPower | Nuclear Power | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_PumpedStorage | Pumped Storage | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:ea_DiurnalStorag | Diurnal Storage | -- | 0.38794 | 0.38794 | 0.40806 | 0.40806 | 0.63733 | 1.195 | 1.5389 | 1.9825 | 2.0016 | 3.5083 | 3.5167 | 3.5734 | 3.7318 | 3.8717 | 4.0498 | 4.0883 | 4.0883 | 4.4282 | 4.9746 | 5.1005 | 5.4937 | 5.9869 | 6.0093 | 7.6337 | 8.1974 | 8.8309 | 9.7304 | 9.7785 | 9.9601 | --
EGC000:ea_FuelCells | Fuel Cells | -- | 0 | 0 | 0.002557 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.004748 | 0.005753 | 0.005753 | 0.005753 | 0.005753 | 0.005753 | 0.005753 | 0.005753 | 0.005753 | 0.005753 | 0.005753 | --
EGC000:ea_RenewableSour | Renewable Sources 7/ | -- | 0 | 15.502 | 33.8307 | 51.3897 | 58.3872 | 68.3798 | 76.8851 | 98.1541 | 106.8026 | 113.8643 | 126.5813 | 132.3719 | 139.1461 | 152.3364 | 163.7447 | 171.0701 | 174.7638 | 179.3815 | 187.4893 | 194.249 | 203.2228 | 213.2192 | 223.315 | 234.5144 | 247.9674 | 257.903 | 262.4804 | 269.1547 | 278.4356 | --
EGC000:ea_DistributedGe | Distributed Generation 8/ | -- | 0 | 1.4067 | 1.727 | 2.0334 | 2.3983 | 2.9001 | 3.4319 | 4.0721 | 4.7172 | 5.368 | 6.2395 | 7.0548 | 8.05 | 9.262 | 10.5806 | 11.9066 | 13.2896 | 14.791 | 16.2773 | 17.7007 | 19.3673 | 21.0703 | 22.8351 | 24.5824 | 26.3796 | 28.2679 | 29.9585 | 31.641 | 33.4402 | --
EGC000:ea_Total | Total | -- | 11.8369 | 42.4555 | 87.5395 | 140.6125 | 160.9918 | 203.5258 | 229.6794 | 269.9169 | 289.3729 | 309.9886 | 341.3014 | 361.3514 | 381.5361 | 411.7787 | 437.1737 | 455.0261 | 471.3683 | 486.9772 | 509.5186 | 528.0779 | 549.2465 | 574.1183 | 603.5441 | 631.5596 | 660.3081 | 689.1573 | 710.8333 | 729.0325 | 757.803 | --
EGC000:ea_CumulativeEle | Cumulative Electric Power Sector Additions 10 | -- | 50.6543 | 105.4539 | 152.3069 | 207.4609 | 229.8892 | 272.9722 | 301.6748 | 342.4613 | 369.5663 | 390.421 | 421.9728 | 442.2618 | 467.8855 | 506.5671 | 531.9621 | 549.8145 | 566.1567 | 581.7656 | 604.307 | 622.8663 | 644.0349 | 668.9067 | 698.3325 | 726.348 | 755.0965 | 783.9457 | 805.6216 | 823.8209 | 852.5914 | --
Cumulative Retirements 11/
EGC000:fa_CoalSteam | Coal | -- | 9.8133 | 18.8043 | 26.9189 | 50.125 | 56.8385 | 71.6216 | 86.2325 | 94.3495 | 99.1268 | 100.9832 | 105.0232 | 110.3531 | 114.8189 | 116.4349 | 118.1955 | 118.5855 | 119.6525 | 119.9915 | 124.2665 | 124.6275 | 124.6275 | 124.6275 | 124.6275 | 127.1415 | 127.1415 | 127.1415 | 127.1415 | 127.1415 | 127.1415 | --
EGC000:fa_OtherFossilSt | Oil and Natural Gas Steam 5/ | -- | 2.2204 | 7.6055 | 14.3638 | 19.6754 | 22.9886 | 25.2713 | 26.0313 | 28.5009 | 28.5009 | 30.0295 | 30.2725 | 31.0146 | 31.5596 | 32.5091 | 33.2191 | 33.4691 | 33.4691 | 33.4691 | 33.4691 | 33.4691 | 33.4691 | 33.4691 | 33.4691 | 34.0813 | 34.0813 | 34.0813 | 34.0813 | 34.0813 | 34.0813 | --
EGC000:fa_CombinedCycle | Combined Cycle | -- | 0 | 0.9385 | 3.0577 | 4.1091 | 4.2102 | 4.6602 | 4.6602 | 4.9022 | 4.9022 | 5.2142 | 5.317 | 5.317 | 5.317 | 5.5142 | 6.2223 | 6.2223 | 6.2223 | 6.2223 | 6.8633 | 6.8633 | 7.5571 | 7.5571 | 8.0671 | 8.0671 | 8.0671 | 8.0671 | 8.0671 | 8.0671 | 8.0671 | --
EGC000:fa_CombustionTur | Combustion Turbine/Diesel | -- | 0.8013 | 1.3457 | 1.4249 | 1.5559 | 2.2645 | 2.9191 | 2.9349 | 2.9349 | 2.9384 | 3.0834 | 3.8408 | 3.8408 | 3.8408 | 3.8578 | 4.6738 | 4.6738 | 4.6738 | 4.6753 | 4.6753 | 4.9011 | 4.9331 | 4.9615 | 5.3926 | 5.5027 | 5.5426 | 5.5426 | 5.5426 | 5.5426 | 5.6571 | --
EGC000:fa_NuclearPower | Nuclear Power | -- | 0.7685 | 0.7685 | 0.7685 | 1.8905 | 3.0085 | 5.1795 | 20.1442 | 20.1442 | 22.3212 | 23.1952 | 26.9537 | 42.9228 | 42.9228 | 42.9228 | 42.9228 | 42.9228 | 42.9228 | 45.0656 | 45.0656 | 45.0656 | 45.0656 | 46.0036 | 46.0036 | 46.6049 | 49.1206 | 49.1206 | 49.1206 | 49.1206 | 49.1206 | --
EGC000:fa_PumpedStorage | Pumped Storage | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --
EGC000:fa_DiurnalStorag | Diurnal Storage | -- | 0 | 0 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | 0.003 | --
EGC000:fa_FuelCells | Fuel Cells | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | 0.0011 | --
EGC000:fa_RenewableSour | Renewable Sources 7/ | -- | 0.0121 | 0.0335 | 0.0533 | 0.1467 | 0.2092 | 0.2809 | 0.5986 | 0.7046 | 0.9252 | 0.9252 | 0.9252 | 0.9252 | 0.9867 | 1.0017 | 1.0017 | 1.0017 | 1.0017 | 1.0017 | 1.0117 | 1.0117 | 1.0117 | 1.0117 | 1.0916 | 1.0916 | 1.0963 | 1.1243 | 1.1375 | 1.1713 | 1.1713 | --
EGC000:fa_Total | Total | -- | 13.6156 | 29.496 | 46.5881 | 77.5036 | 89.5205 | 109.9336 | 140.6027 | 151.5374 | 158.7157 | 163.4328 | 172.3345 | 194.3756 | 199.448 | 202.2426 | 206.2373 | 206.8793 | 207.9463 | 210.4296 | 215.3556 | 215.9424 | 216.6682 | 217.6346 | 218.6556 | 222.4932 | 225.0535 | 225.0815 | 225.0947 | 225.1285 | 225.243 | --
EGC000:ga_TotalElectric | Total Electric Power Sector Capacity | 1107.3474 | 1144.4541 | 1183.4174 | 1213.2291 | 1237.4985 | 1247.9412 | 1270.6464 | 1268.715 | 1298.6117 | 1318.6718 | 1334.9479 | 1357.6943 | 1356.0349 | 1376.6742 | 1412.7395 | 1434.2725 | 1451.5094 | 1466.8113 | 1479.9369 | 1497.5963 | 1515.7275 | 1536.2855 | 1560.3018 | 1588.8025 | 1613.0842 | 1639.3264 | 1668.2018 | 1689.8983 | 1708.1044 | 1736.823 | 1.564%
End-Use Generators 12/
EGC000:ha_Coal | Coal | 1.7377 | 1.7387 | 1.7368 | 1.7338 | 1.7202 | 1.7115 | 1.7013 | 1.6925 | 1.6826 | 1.6719 | 1.6616 | 1.6515 | 1.6412 | 1.6315 | 1.6224 | 1.6133 | 1.6048 | 1.5967 | 1.5879 | 1.5789 | 1.5713 | 1.5639 | 1.5564 | 1.5482 | 1.5393 | 1.5313 | 1.5242 | 1.5162 | 1.5073 | 1.4994 | -0.5073%
EGC000:ha_Petroleum | Petroleum | 0.53763 | 0.53807 | 0.53833 | 0.53861 | 0.53838 | 0.53838 | 0.53834 | 0.53832 | 0.5383 | 0.53824 | 0.53819 | 0.53812 | 0.53804 | 0.53798 | 0.53795 | 0.53792 | 0.53793 | 0.53796 | 0.53798 | 0.53797 | 0.53807 | 0.53817 | 0.53829 | 0.53836 | 0.53841 | 0.53853 | 0.53873 | 0.53888 | 0.53894 | 0.53909 | 0.0093%
EGC000:ha_NaturalGas | Natural Gas | 18.6921 | 19.0404 | 19.3588 | 19.6524 | 19.8928 | 20.1765 | 20.4541 | 20.7476 | 21.0365 | 21.3246 | 21.5962 | 21.8658 | 22.1411 | 22.4282 | 22.7213 | 23.025 | 23.3418 | 23.6708 | 24.0062 | 24.3559 | 24.7292 | 25.1222 | 25.5314 | 25.943 | 26.3612 | 26.8178 | 27.2986 | 27.7887 | 28.2753 | 28.7978 | 1.502%
EGC000:ha_OtherGaseousF | Other Gaseous Fuels 13/ | 2.6622 | 2.6622 | 2.6856 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 2.7057 | 0.0559%
EGC000:ha_RenewableSour | Renewable Sources 7/ | 47.0502 | 51.926 | 56.8273 | 61.1629 | 64.4709 | 67.8542 | 71.3126 | 74.3573 | 77.2043 | 79.6505 | 83.4255 | 86.3673 | 89.7946 | 93.5121 | 95.9961 | 100.7044 | 105.3412 | 109.3023 | 114.046 | 119.4024 | 124.3128 | 129.9689 | 135.8799 | 141.2838 | 147.1815 | 154.7688 | 160.8011 | 168.1099 | 175.1863 | 182.2786 | 4.781%
EGC000:ha_Other | Other 14/ | 0.8858 | 0.8858 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.9358 | 0.1895%
EGC000:ha_Total | Total | 71.5656 | 76.7912 | 82.0827 | 86.7292 | 90.2637 | 93.922 | 97.6478 | 100.9772 | 104.1032 | 106.8268 | 110.8631 | 114.0642 | 117.7564 | 121.7513 | 124.5192 | 129.5222 | 134.4671 | 138.7492 | 143.8196 | 149.5166 | 154.7929 | 160.8346 | 167.1476 | 172.9548 | 179.2619 | 187.298 | 193.8043 | 201.5952 | 209.1493 | 216.7564 | 3.895%
EGC000:ia_CumulativeCap | Cumulative Capacity Additions 10/ | -- | 5.2256 | 10.5205 | 15.1705 | 18.7188 | 22.3858 | 26.1218 | 29.46 | 32.596 | 35.4687 | 39.5153 | 42.7266 | 46.4293 | 50.4338 | 53.4687 | 58.4808 | 63.4342 | 67.7244 | 72.8035 | 78.5096 | 83.7935 | 89.8427 | 96.1631 | 101.9786 | 108.2945 | 116.3386 | 122.8788 | 130.6778 | 138.2407 | 145.8557 | --
1/ Net summer capacity is the steady hourly output that generating equipment is expected to supply to
system load (exclusive of auxiliary power), as demonstrated by tests during summer peak demand.
2/ Includes electricity-only and combined heat and power plants that have a regulatory status.
3/ Includes plants that only produce electricity and that have a regulatory status. Includes capacity increases (uprates) at existing units.
4/ Total coal and oil and natural gas steam capacity account for the conversion of coal capacity to gas steam capacity, but the conversions
are not included explicitly as additions or retirements. No planned conversions are assumed. The totals reflect any conversions projected by
the model.
5/ Includes oil-, gas-, and dual-fired capacity.
6/ Nuclear capacity includes 2.1 gigawatts of uprates.
7/ Includes conventional hydroelectric, geothermal, wood, wood waste, all municipal waste, landfill gas,
other biomass, solar, and wind power. Facilities co-firing biomass and coal are classified as coal.
8/ Primarily peak-load capacity fueled by natural gas.
9/ Includes combined heat and power plants whose primary business is to sell electricity and heat to the public
(i.e., those that report North American Industry Classification System code 22 or that have a regulatory status).
10/ Cumulative additions after December 31, 2021.
11/ Cumulative retirements after December 31, 2021.
12/ Includes combined heat and power plants and electricity-only plants in the commercial and industrial sectors that have a non-regulatory
status; and small on-site generating systems in the residential, commercial, and industrial sectors used primarily for own-use generation,
but which may also sell some power to the grid.
13/ Includes refinery gas and still gas.
14/ Includes batteries, chemicals, hydrogen, pitch, purchased steam, sulfur, and miscellaneous technologies.
- - = Not applicable.
Note: Totals may not equal sum of components due to independent rounding.
Sources: 2021: U.S. Energy Information Administration (EIA), Short-Term Energy Outlook, November 2021 and EIA,
AEO2022 National Energy Modeling System run highogs.d011222a. Projections: EIA, AEO2022 National Energy Modeling System run highogs.d011222a.

## Fuel Prices
High OGS
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
pre-tax
coal | 1.6758e-06 | 1.5561e-06 | 1.5619e-06 | 1.5763e-06 | 1.5221e-06 | 1.493e-06 | 1.4827e-06 | 1.4723e-06 | 1.4648e-06 | 1.4575e-06 | 1.4552e-06 | 1.4435e-06 | 1.4322e-06 | 1.4272e-06 | 1.4061e-06 | 1.3907e-06 | 1.387e-06 | 1.381e-06 | 1.375e-06 | 1.3666e-06 | 1.3575e-06 | 1.3517e-06 | 1.3379e-06 | 1.3305e-06 | 1.3269e-06 | 1.3093e-06 | 1.3038e-06 | 1.297e-06 | 1.2959e-06 | 1.2944e-06
gas | 4.0668e-06 | 2.9894e-06 | 2.6782e-06 | 2.3975e-06 | 2.2577e-06 | 2.2176e-06 | 2.2453e-06 | 2.3461e-06 | 2.374e-06 | 2.4135e-06 | 2.4256e-06 | 2.4303e-06 | 2.4965e-06 | 2.4897e-06 | 2.4547e-06 | 2.4404e-06 | 2.4251e-06 | 2.402e-06 | 2.4101e-06 | 2.3876e-06 | 2.3636e-06 | 2.317e-06 | 2.2992e-06 | 2.2835e-06 | 2.2754e-06 | 2.2575e-06 | 2.2467e-06 | 2.2231e-06 | 2.2168e-06 | 2.2161e-06
nuclear | 5.6594e-07 | 5.6677e-07 | 5.6843e-07 | 5.6925e-07 | 5.7091e-07 | 5.7174e-07 | 5.734e-07 | 5.7423e-07 | 5.7588e-07 | 5.7754e-07 | 5.7837e-07 | 5.8003e-07 | 5.8168e-07 | 5.8251e-07 | 5.8417e-07 | 5.8583e-07 | 5.8666e-07 | 5.8831e-07 | 5.8997e-07 | 5.9163e-07 | 5.9328e-07 | 5.9494e-07 | 5.966e-07 | 5.9826e-07 | 5.9991e-07 | 6.0157e-07 | 6.0323e-07 | 6.0488e-07 | 6.0654e-07 | 6.082e-07
tax
coal | 1.2227e-07 | 1.1354e-07 | 1.1396e-07 | 1.1501e-07 | 1.1105e-07 | 1.0893e-07 | 1.0818e-07 | 1.0742e-07 | 1.0687e-07 | 1.0634e-07 | 1.0617e-07 | 1.0532e-07 | 1.0449e-07 | 1.0413e-07 | 1.0259e-07 | 1.0146e-07 | 1.012e-07 | 1.0076e-07 | 1.0032e-07 | 9.9706e-08 | 9.9046e-08 | 9.8623e-08 | 9.7618e-08 | 9.7072e-08 | 9.6814e-08 | 9.553e-08 | 9.5124e-08 | 9.4629e-08 | 9.4553e-08 | 9.4441e-08
gas | 2.9672e-07 | 2.1811e-07 | 1.9541e-07 | 1.7493e-07 | 1.6473e-07 | 1.618e-07 | 1.6382e-07 | 1.7117e-07 | 1.7321e-07 | 1.7609e-07 | 1.7697e-07 | 1.7732e-07 | 1.8215e-07 | 1.8166e-07 | 1.791e-07 | 1.7805e-07 | 1.7694e-07 | 1.7525e-07 | 1.7585e-07 | 1.742e-07 | 1.7245e-07 | 1.6905e-07 | 1.6775e-07 | 1.666e-07 | 1.6602e-07 | 1.6471e-07 | 1.6392e-07 | 1.622e-07 | 1.6174e-07 | 1.6169e-07
nuclear | 4.1292e-08 | 4.1352e-08 | 4.1473e-08 | 4.1534e-08 | 4.1654e-08 | 4.1715e-08 | 4.1836e-08 | 4.1896e-08 | 4.2017e-08 | 4.2138e-08 | 4.2199e-08 | 4.232e-08 | 4.244e-08 | 4.2501e-08 | 4.2622e-08 | 4.2743e-08 | 4.2803e-08 | 4.2924e-08 | 4.3045e-08 | 4.3166e-08 | 4.3287e-08 | 4.3408e-08 | 4.3529e-08 | 4.365e-08 | 4.3771e-08 | 4.3891e-08 | 4.4012e-08 | 4.4133e-08 | 4.4254e-08 | 4.4375e-08
total
coal | 1.7981e-06 | 1.6697e-06 | 1.6759e-06 | 1.6913e-06 | 1.6331e-06 | 1.602e-06 | 1.5909e-06 | 1.5797e-06 | 1.5717e-06 | 1.5639e-06 | 1.5614e-06 | 1.5488e-06 | 1.5366e-06 | 1.5314e-06 | 1.5087e-06 | 1.4921e-06 | 1.4882e-06 | 1.4818e-06 | 1.4753e-06 | 1.4663e-06 | 1.4566e-06 | 1.4503e-06 | 1.4356e-06 | 1.4275e-06 | 1.4237e-06 | 1.4048e-06 | 1.3989e-06 | 1.3916e-06 | 1.3905e-06 | 1.3888e-06
gas | 4.3636e-06 | 3.2075e-06 | 2.8736e-06 | 2.5724e-06 | 2.4224e-06 | 2.3794e-06 | 2.4092e-06 | 2.5172e-06 | 2.5472e-06 | 2.5895e-06 | 2.6025e-06 | 2.6076e-06 | 2.6786e-06 | 2.6714e-06 | 2.6338e-06 | 2.6184e-06 | 2.602e-06 | 2.5772e-06 | 2.586e-06 | 2.5618e-06 | 2.536e-06 | 2.486e-06 | 2.4669e-06 | 2.4501e-06 | 2.4414e-06 | 2.4222e-06 | 2.4107e-06 | 2.3853e-06 | 2.3785e-06 | 2.3778e-06
nuclear | 6.0723e-07 | 6.0812e-07 | 6.099e-07 | 6.1079e-07 | 6.1257e-07 | 6.1346e-07 | 6.1523e-07 | 6.1612e-07 | 6.179e-07 | 6.1968e-07 | 6.2057e-07 | 6.2235e-07 | 6.2412e-07 | 6.2501e-07 | 6.2679e-07 | 6.2857e-07 | 6.2946e-07 | 6.3124e-07 | 6.3301e-07 | 6.3479e-07 | 6.3657e-07 | 6.3835e-07 | 6.4013e-07 | 6.4191e-07 | 6.4368e-07 | 6.4546e-07 | 6.4724e-07 | 6.4902e-07 | 6.508e-07 | 6.5257e-07
Ref
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
pre-tax
coal | 1.6305e-06 | 1.6084e-06 | 1.5948e-06 | 1.5941e-06 | 1.5548e-06 | 1.5291e-06 | 1.528e-06 | 1.5199e-06 | 1.5256e-06 | 1.5233e-06 | 1.5224e-06 | 1.5135e-06 | 1.5107e-06 | 1.5052e-06 | 1.4944e-06 | 1.4824e-06 | 1.4798e-06 | 1.4793e-06 | 1.4772e-06 | 1.4812e-06 | 1.4779e-06 | 1.4694e-06 | 1.4604e-06 | 1.4562e-06 | 1.4538e-06 | 1.4515e-06 | 1.4472e-06 | 1.4404e-06 | 1.4414e-06 | 1.4393e-06
gas | 4.0664e-06 | 3.1912e-06 | 2.9878e-06 | 2.7515e-06 | 2.6177e-06 | 2.6147e-06 | 2.6853e-06 | 2.8024e-06 | 2.8702e-06 | 2.9312e-06 | 2.9712e-06 | 2.9879e-06 | 3.0316e-06 | 3.0089e-06 | 2.9851e-06 | 2.9791e-06 | 2.9815e-06 | 2.9936e-06 | 2.9921e-06 | 3.0176e-06 | 3.0135e-06 | 2.9965e-06 | 2.9888e-06 | 2.95e-06 | 2.9394e-06 | 2.9351e-06 | 2.9265e-06 | 2.9377e-06 | 2.9224e-06 | 2.9153e-06
nuclear | 5.6594e-07 | 5.6677e-07 | 5.6843e-07 | 5.6925e-07 | 5.7091e-07 | 5.7174e-07 | 5.734e-07 | 5.7423e-07 | 5.7588e-07 | 5.7754e-07 | 5.7837e-07 | 5.8003e-07 | 5.8168e-07 | 5.8251e-07 | 5.8417e-07 | 5.8583e-07 | 5.8666e-07 | 5.8831e-07 | 5.8997e-07 | 5.9163e-07 | 5.9328e-07 | 5.9494e-07 | 5.966e-07 | 5.9826e-07 | 5.9991e-07 | 6.0157e-07 | 6.0323e-07 | 6.0488e-07 | 6.0654e-07 | 6.082e-07
tax
coal | 1.1896e-07 | 1.1735e-07 | 1.1636e-07 | 1.1631e-07 | 1.1344e-07 | 1.1157e-07 | 1.1148e-07 | 1.1089e-07 | 1.1131e-07 | 1.1114e-07 | 1.1107e-07 | 1.1043e-07 | 1.1022e-07 | 1.0982e-07 | 1.0904e-07 | 1.0816e-07 | 1.0797e-07 | 1.0793e-07 | 1.0778e-07 | 1.0807e-07 | 1.0783e-07 | 1.0721e-07 | 1.0655e-07 | 1.0625e-07 | 1.0607e-07 | 1.0591e-07 | 1.0559e-07 | 1.0509e-07 | 1.0517e-07 | 1.0501e-07
gas | 2.9669e-07 | 2.3284e-07 | 2.18e-07 | 2.0076e-07 | 1.9099e-07 | 1.9077e-07 | 1.9592e-07 | 2.0446e-07 | 2.0942e-07 | 2.1387e-07 | 2.1679e-07 | 2.18e-07 | 2.2119e-07 | 2.1953e-07 | 2.178e-07 | 2.1736e-07 | 2.1753e-07 | 2.1842e-07 | 2.1831e-07 | 2.2017e-07 | 2.1987e-07 | 2.1863e-07 | 2.1807e-07 | 2.1524e-07 | 2.1446e-07 | 2.1415e-07 | 2.1352e-07 | 2.1434e-07 | 2.1322e-07 | 2.1271e-07
nuclear | 4.1292e-08 | 4.1352e-08 | 4.1473e-08 | 4.1534e-08 | 4.1654e-08 | 4.1715e-08 | 4.1836e-08 | 4.1896e-08 | 4.2017e-08 | 4.2138e-08 | 4.2199e-08 | 4.232e-08 | 4.244e-08 | 4.2501e-08 | 4.2622e-08 | 4.2743e-08 | 4.2803e-08 | 4.2924e-08 | 4.3045e-08 | 4.3166e-08 | 4.3287e-08 | 4.3408e-08 | 4.3529e-08 | 4.365e-08 | 4.3771e-08 | 4.3891e-08 | 4.4012e-08 | 4.4133e-08 | 4.4254e-08 | 4.4375e-08
total
coal | 1.7495e-06 | 1.7258e-06 | 1.7111e-06 | 1.7104e-06 | 1.6682e-06 | 1.6407e-06 | 1.6395e-06 | 1.6308e-06 | 1.6369e-06 | 1.6345e-06 | 1.6334e-06 | 1.6239e-06 | 1.6209e-06 | 1.6151e-06 | 1.6035e-06 | 1.5905e-06 | 1.5878e-06 | 1.5872e-06 | 1.585e-06 | 1.5892e-06 | 1.5857e-06 | 1.5766e-06 | 1.567e-06 | 1.5625e-06 | 1.5599e-06 | 1.5575e-06 | 1.5528e-06 | 1.5455e-06 | 1.5466e-06 | 1.5443e-06
gas | 4.3631e-06 | 3.4241e-06 | 3.2058e-06 | 2.9523e-06 | 2.8087e-06 | 2.8055e-06 | 2.8812e-06 | 3.0068e-06 | 3.0797e-06 | 3.1451e-06 | 3.188e-06 | 3.2058e-06 | 3.2528e-06 | 3.2284e-06 | 3.2029e-06 | 3.1965e-06 | 3.199e-06 | 3.212e-06 | 3.2104e-06 | 3.2377e-06 | 3.2334e-06 | 3.2151e-06 | 3.2068e-06 | 3.1653e-06 | 3.1539e-06 | 3.1493e-06 | 3.14e-06 | 3.152e-06 | 3.1356e-06 | 3.128e-06
nuclear | 6.0723e-07 | 6.0812e-07 | 6.099e-07 | 6.1079e-07 | 6.1257e-07 | 6.1346e-07 | 6.1523e-07 | 6.1612e-07 | 6.179e-07 | 6.1968e-07 | 6.2057e-07 | 6.2235e-07 | 6.2412e-07 | 6.2501e-07 | 6.2679e-07 | 6.2857e-07 | 6.2946e-07 | 6.3124e-07 | 6.3301e-07 | 6.3479e-07 | 6.3657e-07 | 6.3835e-07 | 6.4013e-07 | 6.4191e-07 | 6.4368e-07 | 6.4546e-07 | 6.4724e-07 | 6.4902e-07 | 6.508e-07 | 6.5257e-07
Difference for High OGS Case
coal | -4.8618e-08 | 5.6103e-08 | 3.5243e-08 | 1.9062e-08 | 3.5125e-08 | 3.8688e-08 | 4.8586e-08 | 5.1059e-08 | 6.5246e-08 | 7.0616e-08 | 7.2058e-08 | 7.5079e-08 | 8.4302e-08 | 8.3692e-08 | 9.4807e-08 | 9.8398e-08 | 9.9561e-08 | 1.0545e-07 | 1.0967e-07 | 1.2296e-07 | 1.2912e-07 | 1.2623e-07 | 1.3141e-07 | 1.3494e-07 | 1.3612e-07 | 1.526e-07 | 1.5389e-07 | 1.5385e-07 | 1.5609e-07 | 1.5544e-07
gas | -4.4229e-10 | 2.166e-07 | 3.3219e-07 | 3.7985e-07 | 3.8626e-07 | 4.261e-07 | 4.7207e-07 | 4.896e-07 | 5.3247e-07 | 5.5555e-07 | 5.8548e-07 | 5.9824e-07 | 5.7413e-07 | 5.5701e-07 | 5.6911e-07 | 5.7808e-07 | 5.9698e-07 | 6.3478e-07 | 6.2439e-07 | 6.7596e-07 | 6.9736e-07 | 7.2912e-07 | 7.3993e-07 | 7.152e-07 | 7.1241e-07 | 7.2713e-07 | 7.2936e-07 | 7.6668e-07 | 7.5707e-07 | 7.5028e-07
nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.473e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.473e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corresponding Tax Increase
coal |  | -3.488% | -2.21% | -1.196% | -2.259% | -2.53% | -3.18% | -3.359% | -4.277% | -4.636% | -4.733% | -4.961% | -5.58% | -5.56% | -6.344% | -6.638% | -6.728% | -7.129% | -7.424% | -8.302% | -8.737% | -8.591% | -8.998% | -9.267% | -9.363% | -10.51% | -10.63% | -10.68% | -10.83% | -10.8%
gas |  | -6.787% | -11.12% | -13.8% | -14.76% | -16.3% | -17.58% | -17.47% | -18.55% | -18.95% | -19.7% | -20.02% | -18.94% | -18.51% | -19.07% | -19.4% | -20.02% | -21.2% | -20.87% | -22.4% | -23.14% | -24.33% | -24.76% | -24.24% | -24.24% | -24.77% | -24.92% | -26.1% | -25.91% | -25.74%
Implementation
coal |  | 2.9169 | 1.848 | 1 | 1.8892 | 2.1158 | 2.6591 | 2.8093 | 3.5764 | 3.8765 | 3.9582 | 4.1483 | 4.6665 | 4.6495 | 5.3052 | 5.551 | 5.6261 | 5.9613 | 6.2087 | 6.9422 | 7.3063 | 7.1841 | 7.5248 | 7.7491 | 7.8297 | 8.7916 | 8.8924 | 8.9323 | 9.0557 | 9.0312
gas |  | 1 | 1.6381 | 2.0339 | 2.1739 | 2.401 | 2.5901 | 2.574 | 2.7332 | 2.7923 | 2.9031 | 2.9499 | 2.7902 | 2.7274 | 2.8089 | 2.8589 | 2.95 | 3.1241 | 3.0745 | 3.3003 | 3.4094 | 3.5849 | 3.6474 | 3.5719 | 3.5708 | 3.6498 | 3.6719 | 3.8451 | 3.8167 | 3.7916

## High OGS Calibration
AEO Capacity - High OGS Case
|  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
coal |  | 207.2408 | 197.4274 | 188.4364 | 180.5658 | 157.3597 | 150.6462 | 135.2281 | 120.6172 | 112.1382 | 107.3609 | 105.5045 | 101.4645 | 96.1346 | 91.6688 | 90.0528 | 88.2922 | 87.9022 | 86.0652 | 85.7262 | 80.6295 | 80.2685 | 80.2685 | 80.2685 | 79.4265 | 76.9125 | 76.9125 | 76.9125 | 76.9125 | 76.9125 | 76.9125
nuclear |  | 95.4873 | 97.0148 | 97.0588 | 97.1096 | 96.0187 | 94.9319 | 92.796 | 77.8665 | 77.9115 | 75.8205 | 75.0853 | 71.4231 | 55.5465 | 55.6346 | 55.8129 | 55.9455 | 55.9722 | 55.999 | 53.8562 | 53.8999 | 54.0588 | 54.1738 | 53.3468 | 53.4427 | 52.9452 | 50.4836 | 50.5377 | 50.5714 | 50.6121 | 50.6745
EPS Capacity
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Output Electricity Generation Capacity[hard coal es] : MostRecentRun | 211.07 | 206.862 | 197.002 | 188.112 | 181.052 | 158.717 | 150.553 | 142.9 | 130.78 | 118.675 | 112.892 | 111.286 | 108.077 | 106.678 | 100.801 | 98.3263 | 96.6176 | 95.6742 | 93.9212 | 93.1974 | 90.878 | 90.115 | 89.593 | 89.0474 | 88.4877 | 85.296 | 84.7146 | 84.1143 | 83.4888 | 82.8499 | 82.1942
Output Electricity Generation Capacity[natural gas nonpeaker es] : MostRecentRun | 335.866 | 339.298 | 345.511 | 342.914 | 336.896 | 338.231 | 336.633 | 336.454 | 337.519 | 337.789 | 337.893 | 338.029 | 338.5 | 339.159 | 339.981 | 339.416 | 339.809 | 339.915 | 340.977 | 342.062 | 342.696 | 343.82 | 344.654 | 345.668 | 346.071 | 347.257 | 348.306 | 349.375 | 350.468 | 350.327 | 351.295
Output Electricity Generation Capacity[nuclear es] : MostRecentRun | 96.619 | 96.619 | 97.119 | 98.119 | 98.119 | 96.619 | 93.119 | 88.619 | 81.619 | 78.119 | 75.119 | 73.119 | 71.619 | 65.119 | 63.619 | 62.619 | 61.619 | 59.619 | 58.619 | 57.619 | 56.619 | 55.619 | 54.619 | 53.619 | 53.119 | 52.619 | 52.119 | 51.619 | 50.119 | 49.619 | 49.119
Output Electricity Generation Capacity[hydro es] : MostRecentRun | 79.629 | 79.727 | 79.743 | 79.799 | 79.891 | 79.828 | 79.778 | 79.725 | 79.438 | 79.298 | 79.28 | 79.269 | 79.269 | 79.226 | 79.188 | 79.188 | 79.188 | 79.188 | 79.188 | 79.188 | 79.188 | 79.188 | 79.188 | 79.188 | 79.096 | 79.046 | 79.044 | 79.041 | 79.041 | 79.026 | 79.024
Output Electricity Generation Capacity[onshore wind es] : MostRecentRun | 118.199 | 133.479 | 141.219 | 145.484 | 155.849 | 175.119 | 192.284 | 205.549 | 224.224 | 238.674 | 248.319 | 256.309 | 265.089 | 277.389 | 287.439 | 296.624 | 305.119 | 314.469 | 322.654 | 330.164 | 338.119 | 346.194 | 354.069 | 361.904 | 369.374 | 378.319 | 385.764 | 393.079 | 400.679 | 408.434 | 416.419
Output Electricity Generation Capacity[solar PV es] : MostRecentRun | 45.797 | 62.035 | 83.659 | 100.987 | 113.659 | 140.849 | 161.413 | 179.977 | 209.197 | 234.551 | 253.475 | 269.437 | 287.407 | 312.849 | 333.723 | 352.911 | 370.867 | 390.963 | 408.539 | 424.675 | 441.885 | 459.311 | 476.229 | 492.995 | 509.017 | 528.093 | 543.843 | 559.195 | 575.167 | 591.337 | 607.661
Output Electricity Generation Capacity[solar thermal es] : MostRecentRun | 1.758 | 1.758 | 0.042 | 0.042 | 0.042 | 0.51 | 0.666 | 0.666 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822 | 0.822
Output Electricity Generation Capacity[biomass es] : MostRecentRun | 4.907 | 4.943 | 2.495 | 0.029 | 0.047 | 0.101 | 0.083 | 0.065 | 0.065 | 0.047 | 0.029 | 0.029 | 0.029 | 0.029 | 0.029 | 0.029 | 0.029 | 0.029 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011 | 0.011
Output Electricity Generation Capacity[geothermal es] : MostRecentRun | 2.519 | 2.558 | 2.597 | 2.597 | 2.649 | 2.818 | 2.961 | 3.078 | 3.221 | 3.325 | 3.39 | 3.442 | 3.494 | 3.559 | 3.611 | 3.663 | 3.702 | 3.741 | 3.78 | 3.806 | 3.481 | 3.182 | 2.922 | 2.675 | 2.207 | 1.752 | 1.245 | 1.05 | 0.855 | 0.66 | 0.478
Output Electricity Generation Capacity[petroleum es] : MostRecentRun | 26.997 | 26.4 | 26.425 | 26.425 | 26.425 | 26.425 | 26.439 | 26.456 | 26.474 | 26.491 | 26.502 | 26.511 | 26.52 | 26.525 | 26.533 | 26.541 | 26.549 | 26.556 | 26.563 | 26.569 | 26.575 | 26.58 | 26.585 | 26.59 | 26.596 | 26.602 | 26.607 | 26.612 | 26.617 | 26.622 | 26.628
Output Electricity Generation Capacity[natural gas peaker es] : MostRecentRun | 129.099 | 130.849 | 131.549 | 132.899 | 133.599 | 133.649 | 140.249 | 147.849 | 155.599 | 164.399 | 171.499 | 177.249 | 182.849 | 185.899 | 191.399 | 197.299 | 203.049 | 208.799 | 215.249 | 220.899 | 227.049 | 232.299 | 237.949 | 243.549 | 250.449 | 257.499 | 264.349 | 271.599 | 278.449 | 286.299 | 294.849
Output Electricity Generation Capacity[lignite es] : MostRecentRun | 6.798 | 6.798 | 6.798 | 6.798 | 6.798 | 4.168 | 2.853 | 1.538 | 0.486 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223 | 0.223
Output Electricity Generation Capacity[offshore wind es] : MostRecentRun | 0.029 | 0.039 | 0.039 | 0.039 | 2.124 | 2.829 | 3.629 | 5.484 | 6.369 | 6.699 | 6.909 | 7.084 | 7.284 | 7.569 | 7.779 | 7.999 | 8.204 | 8.434 | 8.639 | 8.829 | 9.034 | 9.244 | 9.449 | 9.659 | 9.859 | 10.099 | 10.304 | 10.504 | 10.714 | 10.929 | 11.149
Output Electricity Generation Capacity[crude oil es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Output Electricity Generation Capacity[heavy or residual fuel oil es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Output Electricity Generation Capacity[municipal solid waste es] : MostRecentRun | 1.76 | 1.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EPS coal | 217.868 | 213.66 | 203.8 | 194.91 | 187.85 | 162.885 | 153.406 | 144.438 | 131.266 | 118.898 | 113.115 | 111.509 | 108.3 | 106.901 | 101.024 | 98.5493 | 96.8406 | 95.8972 | 94.1442 | 93.4204 | 91.101 | 90.338 | 89.816 | 89.2704 | 88.7107 | 85.519 | 84.9376 | 84.3373 | 83.7118 | 83.0729 | 82.4172
Calibrated values
coal | 7000
nuclear | 7000

## Weighting
Method Using Data for Exiting Plant O&M Costs
O&M Costs | [11 empty] | Source: file InputData/cpi.xlsx
| Fixed O&M ($/MW) | Variable O&M ($/MWh)
EPS variable: | CCaMC-AFOaMCpUC-pre-ret | CCaMC-VOaMCpUC-pre-ret
hard coal | 17670.9204 | 3.6257
natural gas nonpeaker | 14089.5036 | 2.2125
nuclear | 155878.845 | 0.15231
hydro | 15512.0575 | 0
onshore wind | 35090.8193 | 0
solar PV | 30919.9039 | 0
solar thermal | 77011.1734 | 0
biomass | 138104.2651 | 6.9518
geothermal | 110371.5467 | 0
petroleum | 14089.5036 | 2.2125
natural gas peaker | 5074.8382 | 7.2956
lignite | 17670.9204 | 6.1423
offshore wind | 85436.8588 | 0
crude oil | 14089.5036 | 2.2125
heavy or residual fuel oil | 14089.5036 | 2.2125
municipal solid waste | 253749.8298 | 6.7523
Fuel Costs ($/Btu)
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Electricity Fuel Cost per Unit Energy[hard coal es] : MostRecentRun | 1.748e-06 | 1.7495e-06 | 1.7257e-06 | 1.7111e-06 | 1.7104e-06 | 1.6682e-06 | 1.6407e-06 | 1.6395e-06 | 1.6308e-06 | 1.6369e-06 | 1.6345e-06 | 1.6334e-06 | 1.6239e-06 | 1.6209e-06 | 1.6151e-06 | 1.6035e-06 | 1.5905e-06 | 1.5878e-06 | 1.5872e-06 | 1.585e-06 | 1.5892e-06 | 1.5857e-06 | 1.5766e-06 | 1.567e-06 | 1.5625e-06 | 1.5599e-06 | 1.5575e-06 | 1.5528e-06 | 1.5454e-06 | 1.5466e-06 | 1.5443e-06
Electricity Fuel Cost per Unit Energy[natural gas nonpeaker es] : MostRecentRun | 2.1716e-06 | 3.9828e-06 | 7.3562e-06 | 6.3348e-06 | 4.7854e-06 | 4.4496e-06 | 4.1889e-06 | 3.9281e-06 | 3.6674e-06 | 3.4056e-06 | 3.1449e-06 | 3.1878e-06 | 3.206e-06 | 3.2532e-06 | 3.2285e-06 | 3.2028e-06 | 3.1964e-06 | 3.1985e-06 | 3.2124e-06 | 3.2103e-06 | 3.2382e-06 | 3.2339e-06 | 3.2156e-06 | 3.2071e-06 | 3.1652e-06 | 3.1535e-06 | 3.1492e-06 | 3.1395e-06 | 3.1523e-06 | 3.1352e-06 | 3.1277e-06
Electricity Fuel Cost per Unit Energy[nuclear es] : MostRecentRun | 6.0869e-07 | 6.0719e-07 | 6.0815e-07 | 6.0987e-07 | 6.1083e-07 | 6.1255e-07 | 6.1341e-07 | 6.1524e-07 | 6.161e-07 | 6.1792e-07 | 6.1964e-07 | 6.206e-07 | 6.2232e-07 | 6.2414e-07 | 6.25e-07 | 6.2682e-07 | 6.2854e-07 | 6.295e-07 | 6.3122e-07 | 6.3305e-07 | 6.3477e-07 | 6.3659e-07 | 6.3831e-07 | 6.4013e-07 | 6.4195e-07 | 6.4367e-07 | 6.4549e-07 | 6.4721e-07 | 6.4903e-07 | 6.5075e-07 | 6.5258e-07
Electricity Fuel Cost per Unit Energy[hydro es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Fuel Cost per Unit Energy[onshore wind es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Fuel Cost per Unit Energy[solar PV es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Fuel Cost per Unit Energy[solar thermal es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Fuel Cost per Unit Energy[biomass es] : MostRecentRun | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06 | 2.028e-06
Electricity Fuel Cost per Unit Energy[geothermal es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Fuel Cost per Unit Energy[petroleum es] : MostRecentRun | 1.5246e-05 | 1.8575e-05 | 2.8105e-05 | 2.3201e-05 | 2.1832e-05 | 2.0462e-05 | 1.9093e-05 | 1.7724e-05 | 1.6355e-05 | 1.6476e-05 | 1.6479e-05 | 1.664e-05 | 1.6752e-05 | 1.6793e-05 | 1.689e-05 | 1.6979e-05 | 1.7135e-05 | 1.7306e-05 | 1.7392e-05 | 1.7451e-05 | 1.7631e-05 | 1.7708e-05 | 1.7746e-05 | 1.7936e-05 | 1.8164e-05 | 1.825e-05 | 1.8457e-05 | 1.8513e-05 | 1.8469e-05 | 1.8461e-05 | 1.8417e-05
Electricity Fuel Cost per Unit Energy[natural gas peaker es] : MostRecentRun | 2.1716e-06 | 3.9828e-06 | 7.3562e-06 | 6.3348e-06 | 4.7854e-06 | 4.4496e-06 | 4.1889e-06 | 3.9281e-06 | 3.6674e-06 | 3.4056e-06 | 3.1449e-06 | 3.1878e-06 | 3.206e-06 | 3.2532e-06 | 3.2285e-06 | 3.2028e-06 | 3.1964e-06 | 3.1985e-06 | 3.2124e-06 | 3.2103e-06 | 3.2382e-06 | 3.2339e-06 | 3.2156e-06 | 3.2071e-06 | 3.1652e-06 | 3.1535e-06 | 3.1492e-06 | 3.1395e-06 | 3.1523e-06 | 3.1352e-06 | 3.1277e-06
Electricity Fuel Cost per Unit Energy[lignite es] : MostRecentRun | 1.603e-06 | 1.6051e-06 | 1.5826e-06 | 1.5697e-06 | 1.5687e-06 | 1.5301e-06 | 1.5053e-06 | 1.5043e-06 | 1.4957e-06 | 1.5011e-06 | 1.499e-06 | 1.4979e-06 | 1.4893e-06 | 1.4871e-06 | 1.4817e-06 | 1.471e-06 | 1.4592e-06 | 1.456e-06 | 1.456e-06 | 1.4539e-06 | 1.4581e-06 | 1.4549e-06 | 1.4463e-06 | 1.4377e-06 | 1.4335e-06 | 1.4313e-06 | 1.4282e-06 | 1.4239e-06 | 1.4174e-06 | 1.4185e-06 | 1.4163e-06
Electricity Fuel Cost per Unit Energy[offshore wind es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Fuel Cost per Unit Energy[crude oil es] : MostRecentRun | 5.803e-06 | 1.011e-05 | 1.455e-05 | 1.381e-05 | 1.31e-05 | 1.239e-05 | 1.168e-05 | 1.097e-05 | 1.026e-05 | 1.041e-05 | 1.057e-05 | 1.079e-05 | 1.096e-05 | 1.108e-05 | 1.114e-05 | 1.125e-05 | 1.143e-05 | 1.156e-05 | 1.171e-05 | 1.175e-05 | 1.197e-05 | 1.211e-05 | 1.217e-05 | 1.238e-05 | 1.263e-05 | 1.27e-05 | 1.289e-05 | 1.288e-05 | 1.29e-05 | 1.294e-05 | 1.29e-05
Electricity Fuel Cost per Unit Energy[heavy or residual fuel oil es] : MostRecentRun | 1.344e-05 | 1.931e-05 | 3.426e-05 | 2.329e-05 | 2.112e-05 | 1.895e-05 | 1.678e-05 | 1.462e-05 | 1.245e-05 | 1.253e-05 | 1.261e-05 | 1.285e-05 | 1.292e-05 | 1.304e-05 | 1.306e-05 | 1.309e-05 | 1.308e-05 | 1.312e-05 | 1.326e-05 | 1.325e-05 | 1.343e-05 | 1.346e-05 | 1.342e-05 | 1.353e-05 | 1.354e-05 | 1.339e-05 | 1.358e-05 | 1.365e-05 | 1.368e-05 | 1.373e-05 | 1.373e-05
Electricity Fuel Cost per Unit Energy[municipal solid waste es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Rates
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Heat Rate by Electricity Fuel[hard coal es,preexisting retiring] : MostRecentRun | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000 | 10528000
Heat Rate by Electricity Fuel[natural gas nonpeaker es,preexisting retiring] : MostRecentRun | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100 | 10409100
Heat Rate by Electricity Fuel[nuclear es,preexisting retiring] : MostRecentRun | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000 | 10446000
Heat Rate by Electricity Fuel[hydro es,preexisting retiring] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Rate by Electricity Fuel[onshore wind es,preexisting retiring] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Rate by Electricity Fuel[solar PV es,preexisting retiring] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Rate by Electricity Fuel[solar thermal es,preexisting retiring] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Rate by Electricity Fuel[biomass es,preexisting retiring] : MostRecentRun | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140 | 9510140
Heat Rate by Electricity Fuel[geothermal es,preexisting retiring] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Rate by Electricity Fuel[petroleum es,preexisting retiring] : MostRecentRun | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700 | 10954700
Heat Rate by Electricity Fuel[natural gas peaker es,preexisting retiring] : MostRecentRun | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210 | 9214210
Heat Rate by Electricity Fuel[lignite es,preexisting retiring] : MostRecentRun | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500 | 11958500
Heat Rate by Electricity Fuel[offshore wind es,preexisting retiring] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Rate by Electricity Fuel[crude oil es,preexisting retiring] : MostRecentRun | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030 | 7319030
Heat Rate by Electricity Fuel[heavy or residual fuel oil es,preexisting retiring] : MostRecentRun | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400 | 10914400
Heat Rate by Electricity Fuel[municipal solid waste es,preexisting retiring] : MostRecentRun | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300 | 18510300
Expected Capacity Factors
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Expected Capacity Factors[hard coal es,preexisting retiring] : MostRecentRun | 0.44 | 0.49332 | 0.50041 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44
Expected Capacity Factors[natural gas nonpeaker es,preexisting retiring] : MostRecentRun | 0.54867 | 0.52055 | 0.50509 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142
Expected Capacity Factors[nuclear es,preexisting retiring] : MostRecentRun | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924 | 0.924
Expected Capacity Factors[hydro es,preexisting retiring] : MostRecentRun | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407 | 0.407
Expected Capacity Factors[onshore wind es,preexisting retiring] : MostRecentRun | 0.34788 | 0.34683 | 0.34581 | 0.34539 | 0.34523 | 0.34523 | 0.34419 | 0.34395 | 0.34404 | 0.34364 | 0.34365 | 0.34376 | 0.34399 | 0.34402 | 0.34374 | 0.34376 | 0.34377 | 0.3438 | 0.34378 | 0.34386 | 0.34392 | 0.34399 | 0.34403 | 0.34412 | 0.34416 | 0.34424 | 0.34427 | 0.34432 | 0.3444 | 0.34449 | 0.34456
Expected Capacity Factors[solar PV es,preexisting retiring] : MostRecentRun | 0.24018 | 0.23949 | 0.23857 | 0.23728 | 0.23618 | 0.23578 | 0.23452 | 0.23409 | 0.23385 | 0.23297 | 0.23248 | 0.23215 | 0.23203 | 0.23162 | 0.23072 | 0.23027 | 0.2298 | 0.22939 | 0.22887 | 0.22853 | 0.22818 | 0.22786 | 0.22748 | 0.22721 | 0.22686 | 0.22657 | 0.22619 | 0.22587 | 0.2256 | 0.22536 | 0.2251
Expected Capacity Factors[solar thermal es,preexisting retiring] : MostRecentRun | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206 | 0.206
Expected Capacity Factors[biomass es,preexisting retiring] : MostRecentRun | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865 | 0.865
Expected Capacity Factors[geothermal es,preexisting retiring] : MostRecentRun | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691 | 0.691
Expected Capacity Factors[petroleum es,preexisting retiring] : MostRecentRun | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056
Expected Capacity Factors[natural gas peaker es,preexisting retiring] : MostRecentRun | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133
Expected Capacity Factors[lignite es,preexisting retiring] : MostRecentRun | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758 | 0.758
Expected Capacity Factors[offshore wind es,preexisting retiring] : MostRecentRun | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488
Expected Capacity Factors[crude oil es,preexisting retiring] : MostRecentRun | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056
Expected Capacity Factors[heavy or residual fuel oil es,preexisting retiring] : MostRecentRun | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056 | 0.056
Expected Capacity Factors[municipal solid waste es,preexisting retiring] : MostRecentRun | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
Levelized Fixed O&M Costs + Output Costs
coal | 26.6129
natural gas nonpeaker | 27.7483
nuclear | 25.7687
hydro | 4.3508
wind | 11.515
solar | 14.6962
soalr thermal | 42.6759
biomass | 44.4642
geothermal | 18.2337
petroleum | 197.9491
natural gas peaker | 31.661
lignite | 27.9731
offshore wind | 19.9858
crude oil | 73.4061
heavy or residual fuel oil | 177.6233
municipal solid waste | 38.9377
Ratio of Levelized Fixed O&M Costs + Output Costs to Coal
coal | 100%
natural gas nonpeaker | 104.3%
nuclear | 96.83%
hydro | 16.35%
wind | 43.27%
solar | 55.22%
soalr thermal | 160.4%
biomass | 167.1%
geothermal | 68.51%
petroleum | 743.8%
natural gas peaker | 119%
lignite | 105.1%
offshore wind | 75.1%
crude oil | 275.8%
heavy or residual fuel oil | 667.4%
municipal solid waste | 146.3%

## ARpUIiRC
Annual Retirement per Unit Increase in Relative Cost MW/($/MWh)
hard coal | 7000
natural gas nonpeaker | 7298.6476
nuclear | 7000
hydro | 1144.3963
onshore wind | 3028.7818
solar PV | 3865.5383
solar thermal | 11225.0419
biomass | 11695.4305
geothermal | 4796.015
petroleum | 0
natural gas peaker | 0
lignite | 7357.7569
offshore wind | 5256.8659
crude oil | 0
heavy or residual fuel oil | 0
municipal solid waste | 10241.791